CONSTRUCTIION OF KAVETA-GINNERY (B7) ROAD – LOT 1

	[image: image1.jpg]



COUNTY GOVERNMENT OF KITUI

TENDER NAME: KAVETA TO GINNERY (B7) ROAD IMPROVEMENT, DRAINAGE WORKS AND KUNDA KINDU BUS PARK

KAVETA TO GINNERY (B7) ROAD IMPROVEMENT AND DRAINAGE WORKS
(LOT 1)

TENDER NO: CGoKTI/xxxxxxxxxxxxxx
VOLUME I: BID DOCUMENT 

APRIL 2020


	EMPLOYER:

Municipal Manager,
	ENGINEER:

Chief Officer

	Kitui Municipality,
	Ministry of Lands, Infrastructure, Housing and Urban Development

	County Government of Kitui.
	County Government of Kitui.

	P.O. Box 33-90200, KITUI. 
	P.O. Box 33-90200, KITUI. 


	TABLE OF CONTENTS
	PAGE NOS.

	SECTION 1: INVITATION TO BID
	3-5

	SECTION 2: FORM OF BID
	6-8

	SECTION 3: APPENDIX TO FORM OF BID
	9-12

	SECTION 4: FORM OF BID SECURITY
	13-15

	SECTION 5: INSTRUCTIONS TO BIDDERS
	16-34

	SECTION 6: BIDDERS QUALIFICATION & EVALUATION CRITERIA

	35-50

	SECTION 7: CONDITIONS OF CONTRACT
	51-102

	SECTION 8: SCHEDULES OF SUPPLEMENTARY INFORMATION
	103-119

	SECTION 9: FORM OF AGREEMENT
	120-122

	SECTION 10: FORM OF PERFORMANCE GUARANTEE AND ADVANCE PAYMENT GUARANTEE (UNCONDITIONAL)
	123-125

	SECTION 11: STANDARD SPECIFICATIONS
	126 - 127

	SECTION 12: SPECIAL SPECIFICATIONS
	128 - 220

	SECTION 13: BILLS OF QUANTITIES
	221 - 240

	
	

	
	

	
	

	
	

	
	


SECTION 1: INVITATION TO BID
TENDER NO. CGoKTI/xxxxxxxxxx – KAVETA TO GINNERY (B7) ROAD IMPROVEMENT, DRAINAGE WORKS AND KUNDA KINDU BUS PARK
The County Government of Kitui invites bids from eligible construction companies registered with the National Construction Authority (NCA) in Category NCA 4 and above for the KAVETA TO GINNERY (B7) ROAD IMPROVEMENT, DRAINAGE WORKS AND KUNDA KINDU BUS PARK to be funded Under Kenya Urban Support Program (KUSP) through County Government of Kitui  
SCOPE OF WORK 

The scope of works shall be as described in the bid documents.

QUALIFICATION FOR BIDDING 

Mandatory Requirements 

The following must be submitted together with the bid; 

1. Certified Copy of Certificate of Incorporation 

2. Certified Copy of Valid Registration Certificate with the National Construction Authority in roadworks category NCA 4 and above.

3. Certified copy of Valid National Construction Authority (NCA) Practicing License in category NCA 4 and above.

4. Copy of Valid Tax Compliance Certificate (Will be verified on the KRA TCC Checker)

5. Certified copy of Valid Single Business Permit

6. Certified copy of recent CR 12 form (Issued within the last 6 months from the Bid Opening Date) - This will be verified with the Registrar of Companies. 

7. Current Sworn Affidavit not more than 3 months from the Bid opening date for any pending litigation. 
8. Current NSSF and NHIF Certificates (Verifiable) 

9. Valid DOSH Certification for evidence of ongoing projects

10. Bid Bond (2% of bid price)
NOTE:  All Certification of Documents shall be original and executed by a Commissioner for Oaths or Notaries Public.

Other Requirements  

As specified in the respective Bid documents covering the following: - 

1. Similar previous experience where applicable. 

2. Professional and technical personnel.  

3. Current work load.  

4. Litigation history (provide sworn affidavit) should have been sworn within 3 months of the Bid opening date)

5. Eligibility 

a. Director(s) bidding under different companies for the same Bid shall be disqualified.
b. Only those bidders registered in the category as indicated in the Bid document shall bid for the Bid
c. Any form of canvassing will lead to disqualification 

Procurement shall be based on the post qualification method and the above details will be submitted with the priced bid. 

There shall be a mandatory pre-bid site visit and a Pre - Bid Conference as specified in the bid notice.

NOTE:  

Every Bidder shall be represented by one technical person with minimum qualification of Diploma in Civil Engineering. Each representative to bear an original letter from the company authorizing them to represent the company in the Pre-Bid Site Visit/Pre-Bid Conference.  

One (1) person shall only represent one (1) company. 

The letter shall be in the official company letter head giving name and ID/Passport No. of the representative who shall be required to present their Original Identification during the pre-bid site visit/Pre-Bid Conference. The letter shall be duly signed and bear an original company stamp. Photocopies or any other media shall not be accepted.

A certificate of attendance shall be issued, signed by the Municipal Manager and the Engineer, and shall be included in the completed bids.
Interested eligible candidates may obtain further information and inspect bid documents from the office of the Municipal Manager, Kitui County Government during normal working hours.

A complete set of bid documents may be obtained by interested bidders from the Kitui County Government website: www.kitui.go.ke or supplier.treasury.go.ke free of charge OR from the offices indicated in the table above during normal working hours upon payment of a non – refundable fee of Kshs. 1,000 (One thousand shillings only) in form of banker’s cheque only payable to Kitui County Government.

Completed bid documents are to be enclosed in plain sealed envelope clearly indicating the bid name and reference number and submitted to: -

Municipal Manger,

Kitui Municipality,
County Government of Kitui,

P.O. Box33 – 90200,

KITUI, KENYA.
so as to be received on or before, xxxxxxxxxxxxxxxxxxxxxxxxxxx
All interested bidders are required to continually check the Kitui County Government website: www.kitui.go.ke for any bid addenda or clarifications that may arise before submission date.

Bids will be opened immediately thereafter in the presence of Bidders/Representatives who wish to attend at Municipal Manager’s office. 
Municipal Manager,
For: Kitui County Government
SECTION 2: FORM OF BID

FORM OF BID

(NOTE: The Appendix forms part of the Bid. Bidders are required to fill all the blank spaces in this form of Bid and Appendix)

CONSTRUCTION OF KAVETA - GINNERY (B7) ROAD – LOT 1
TENDER NO xxxxxxxxxxxxxxxx
TO:

Municipal Manager,

Kitui Municipality,

County Government of Kitui.

P.O. Box 33-90200, KITUI.
Sir,

Having examined the Conditions of Contract, Specifications, Bill of Quantities, Drawings and Addenda Nos xxxxxxxx for the execution of the above-named works we, the undersigned, offer to construct and install such works and remedy any defects therein in conformity with the said Bill of Quantities, Conditions of Contract, Specifications, Drawings and Addenda for the sum of 

(Insert amount in words)

……………………………………………………………………………………………………

……………………………………………………………………………………………………

(Insert amount in figures)………………………………………………………………………

As specified in the Appendix to Bid or such other sums as may be ascertained in accordance with the said Conditions.

We undertake, if our bid is accepted, to commence the works within twenty-eight (28) days of receipt of the Engineer’s order to commence, and to complete and deliver the whole of the works comprised in the contract within the time stated in the Appendix to Bid.

If our bid is accepted we will, when required, obtain the guarantee of a Bank or other sureties (to be approved by you) to be jointly and severally bound with us in a sum not exceeding 10% of the above named sum for the due performance of the contract under the terms of a Bond to be approved by you. 

We agree to abide by this bid for the period of one twenty (120) days from the date fixed for receiving the same and it shall remain binding upon us and may be accepted at any time before the expiration of that period.

We understand that you are not bound to accept the lowest or any bid you may receive.

On the basis of our previous experience we are fully experienced and competent in the type of work included in this tender and we have adequate financial resources to carry out the works described within the period for completion. We are in a position to fulfil the contract for which we have tendered.

Dated this ………………………….. Day of 20 ……………..

Signature………………………………………in the capacity of……………………………...
Duly authorized to sign bids on behalf of

(Name of Tenderer) …………………………………….……………………………………….

(Address of Tenderer)………………………….……………………………………………….

(Name of Witness)…………………………………………………………..............................

(Signature of Witness)………………………..…………………………………………………

(Address of Witness)…………………………………………………………………...............

(Occupation of Witness)…………………………………………………………………………


SECTION 3: APPENDIX TO FORM OF BID

 APPENDIX TO FORM OF BID

 (This appendix forms part of the bid)

	CONDITIONS OF CONTRACT
	CLAUSE
	AMOUNT

	Bid Security (Bank Guarantee or Bid bond by an issued by an insurance approved by Public Procurement Regulatory Authority (PPRA) 
	 ITB 17.1
	Kshs. 1.8 Million.

	Employer
	1.1 (a) (i)
	Municipal Manager,

Kitui Municipality,

County Government of Kitui.

P.O. Box 33-90200, KITUI.

	Amount of Performance Security (Unconditional Bank Guarantee)
	10.1
	Ten per cent (10%) of BID Sum in the form of Unconditional Bank Guarantee 

	Program to be submitted
	14.1
	Not later than 14 (Fourteen) days after issuance of Order to Commence

	Cash flow estimate to be submitted
	14.3
	Not later than 14 (Fourteen) days after issuance of Order to Commence

	Minimum amount of Third-Party Insurance
	23.2
	Kshs. 2.5 million per occurrence with number of occurrences unlimited

	Period for commencement, from Engineer’s order to commence
	41.1
	Not later than 28 (Twenty-Eight) days after Notice of Order to Commence 

	Time for completion
	43.1
	Six (6) months

	Amount of liquidated damages
	47.1
	0.05% of the contract price per day

	Limit of liquidated damages
	47.1
	10% (ten per cent) of the contract price

	Defects Liability period
	49.1
	Six (6) months

	Maximum amount of Advance payment
	60.1
	Up to a maximum of Ten percent (10%) of the Contract Sum 

	Percentage of Retention
	60.3
	10% (Ten percent) of Interim Payment Certificates 

	Limit of Retention Money
	60. 3
	5 (five) percent of the Contract Price less Provisional Sums and Contingencies 

	Minimum amount of interim payment certificates
	60.2
	2.5 % of the Accepted Contract Amount.

	Time within which payment to be made after Interim Payment Certificate signed by Engineer
	60.10
	90 days

	Time within which payment to be made after Final Payment Certificate signed by Engineer
	60.10
	90 days

	Appointer of Arbitrator/Adjudicator
	67.3
	The Chartered Institute of Arbitrators (Kenya) 



	Notice to Employer and Engineer
	68.2
	The Employers address is:
Municipal Manager,

Kitui Municipality,

County Government of Kitui.

  P.O. Box 33-90200, KITUI.
The Engineer’s address is: 

Chief Officer

Ministry of Lands, Infrastructure, Housing and Urban Development

County Government of Kitui.

P.O. Box 33-90200, KITUI. 

	Constant for Price Adjustment Formula 
	70.3
	8 % (Eight per cent)

	Source of Indices 
	70.4
	Kenya National Bureau of Statistics 

	Weightings
	70.7
	To be submitted by the Contractor with his bid and these shall be those at 28 days prior to the latest date of submission of the bid. 


Signature of Bidder......................................Date ...................................

The items on the following pages are to be filled in by the bidder as part of its bid, except for the items marked*. 

Approximate


 *70.3 



[See table immediately below] Weightings for 
Price Adjustment 
Formulae 

	Description of index 
	% range of weighting 

	Fixed 
	8* 

	Labour 
	10 to 12 

	Fuels and Lubricants 
	15 to 20 

	Plant and Spares 
	30 to 35 

	Cement 
	15 to 20 

	Reinforcement and Steel products 
	5 to 8 

	Explosives 
	3 to 5 

	Bitumen and Bitumen Products 
	15 to 20 

	
	

	Total 
	100% 


As guidance to bidders and for the purpose of checking their submissions, the Employer has estimated and provided a range of acceptable weightings for related major construction inputs in accordance with potential rage of construction methodologies, based on estimated cost in a common currency. 

	Weightings and 70.3 

Indices 70.4 
	In the tables immediately below, bidders shall (a) indicate their amounts of local currency payment, (b) indicate their proposed source and base values of indices for the different foreign currency elements of cost, (c) derive their proposed weightings for local and foreign currency payment as indicated below, and (d) list the exchange rates used in the currency conversion. If payment is to be made in more than one foreign currency, the bidder shall complete a similar table of source indices for each currency. 



	
	From January 1, 1999, for the purposes of price adjustment, foreign currency inputs from sources in member countries of the European Monetary Union (EMU) shall be indexed in the related national source currency or in its euro equivalent, with appropriate exchange rate corrections for the currencies of payment. 


Table A. Local Currency

	Material Code
	Material
	Basic price of material
	Bidders related currency amount
	Bidders proposed weighting

	-
	Non-adjustable
	-
	-
	a: 0.35

	
	
	
	
	b:

	
	
	
	
	c:

	
	
	
	
	d:

	
	
	
	
	e:

	Total
	1.00


Signature of Bidder..................................................Date.....................

SECTION 4: FORM OF BID SECURITY
FORM OF BID SECURITY

Note: The bidder shall complete only this form of Bank guarantee. No other Form of Bid Bond or any other forms of security will be accepted. Bidders who fail to comply with this requirement will be disqualified.

WHEREAS [Name of bidder].

…………………………………………………………………………………………………………

……………………………………………………………… (herein after called “the Bidder”) 

has submitted his bid dated ………………….

For the CONSTRUCTION OF KAVETA - GINNERY (B7) ROAD – LOT 1
TENDER NO:  XXXXXXXXXXXXXXXXXX
hereinafter called “the bid”

KNOW ALL MEN by these presents that we [Name of Bank]

……………………………………………………………………………………………………………

……………………………………………………………………………………………………………

of [Name of Country]

……………………………………………………………………………………………………………

having our registered offices at

……………………………………………………………………………………………………………

(hereinafter called the Bank) are bound unto the Municipal Manager, Kitui Municipality, Kitui County Government hereinafter called “the Employer”) in the sum of

(in words Kshs)………………………………………………………………..………………………

(In figures Kshs)………………………………………………………………………………………

for which payment will be well and truly made to the said Employer the Bank binds itself, its successors and assigns by these presents.

SEALED with the common Seal of the said Bank this …………day of……….20…………………

THE CONDITIONS of this obligation are:

1. If the bidder withdraws his Bid during the period of bid validity specified by the Bidder on the Bid Form; or

2. If the Bidder refuses to accept the correction of errors in his bid; or

3. If the Bidder having been notified of the acceptance of his bid by the Employer during the period of Bid Validity

(i) Fails or refuses to execute the Form of Agreement in accordance with the Instructions to Tenderers when required or

(ii) Fails or refuses to furnish the Performance Security, in accordance with the Instructions to Bidders.

We undertake to pay to the Employer up to the above amount upon receipt of his first written demand, without the Employer having to substantiate his demand, provided that in his demand the Employer will note that the amount claimed by him is due to him owing to the occurrence of any of the above conditions, specifying the occurred condition or conditions.

This guarantee will remain in force up to and including twenty-eight (28) days after the date of expiration of the bid validity, as stated in the Instructions to Bidders.

At the request of the Employer the Bid validity period may be extended by mutual agreement between the Employer and the Bidder and we undertake to extend the validity of this surety accordingly without you having to inform us of such an extension of the Bid validity period if within this period the Bidder has been notified of the acceptance of his Bid. This Surety shall remain valid up to the time the Contract Agreement has been executed.

AUTHORIZED SIGNATURE OF THE BANK 

………………………………………………………………………………………………………….........

NAME OF SIGNATORY…………………………………………………DATE……………………

TITLE OF SIGNATORY………………………………………………………………………………

NAME OF THE WITNESS ……………………………………………………………………………

SIGNATURE OF THE WITNESS ……………………………………DATE ………………………

ADDRESS OF THE WITNESS ………………………………………………………………………

SECTION 5: INSTRUCTIONS TO BIDDERS (ITB)
[image: image2.emf]Table of Contents   A.   GENERAL   20   1.   Scope of Bid   20   2.   Source of Funds   20   3.   20   4.   Eligible Bidde rs   20   5.   Qualification of the Bidder   21   6.   One Bid per Bidder   22   7.   Cost of Bidding   22   8.   Site Visit   22   B.   BIDDING DOCUMENTS   23   9.   Content of Bidding Documents   23   10.   Clarification of Bidding Documents   24   11.   Amendment of Bidding Documents   24   C.   PREPARATION OF BIDS   25   12.   Language of Bid   25   13.   Documents Comprising the Bid   25   14.   Bid Prices   25   15.   Currencies of Bid and Payment   26   16.   Bid Validity   26   17.   Bid Sec urity   26   18.   No Alternative Offers   27   19.   Pre - Bid Meeting   27   20.   Format and Signing of Bid   27   D.   SUBMISSION OF BIDS   29   21.   Sealing and Marking of Bids   29   22.   Deadline for Submis sion of Bids   29   23.   Late Bids   29   24.   Modification and Withdrawal of Bids   29   E.   BID OPENING AND EVALUATION   31   25.   Bid Opening   31   26.   Process to Be Confidential   31   27.   Clarification of Bids   and Contacting the Employer   31   28.   Examination of Bids and Determination of Responsiveness   32   29.   Correction of Errors   32   30.   Evaluation and Comparison of Bids   32   31.   Preference for Domestic Bidders   33   F.   AWARD OF CONTRACT   34   32.   Award   34   33.   Employer’s Right to Accept Any Bid and to Reject Any or All Bids   34   34.   Notification of Award   34   35.   Signing of Agreement   34   36.   Performance Security   34  


	A. GENERAL



	1. Scope of Bid
	1.1 The Employer, as defined in the Conditions of Contract, Part II and Appendix to Form of Bid, hereinafter referred to as “the Employer,” wishes to receive bids for the construction of Works, as described in Section 1, Clause 102 of the Special Specifications (Location and extent of the works).

1.2 The successful bidder will be expected to complete the Works within the period stated in the Appendix to Form of Bid from the date of commencement of the Works.

1.3 Throughout these bidding documents, the terms “bid” and “tender” and their derivatives (“bidder/tenderer”, “bid/tendered,” “bidding/tendering,” etc.) are synonymous, and day means calendar day.  Singular also means plural.



	2. Source of Funds 
	2.1. The source of funding is World Bank (WB) Through Kenya Urban Support Programme (KUSP)

	3. 
	3.1. The Government requires that the bidders, suppliers, sub-contractors and supervisors observe the highest standard of ethics during the procurement and execution of such contracts. in this pursuit of this policy, the government; Defines for the purposes of this provision, the terms set forth below as follows:

(i) “corrupt practice” means the offering, giving, receiving, or soliciting of anything of value to influence the action of a public official in the procurement process or in the execution, and 

(ii) “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Employer, and includes collusive practices among bidders (prior to or after bid submission) designed to establish bid prices at artificial, non-competitive levels and to deprive the Employer of the benefits of free and open competition

 Will reject a proposal for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the Contract, and 

Will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a government contract if it at any times determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing, a Government financed contract.

	4. Eligible Bidders
	4.1. This invitation to bid is open to any bidder (including all members of a joint venture and all subcontractors of a bidder) meeting all two of the following requirements:

(a) A bidder shall not be affiliated with a firm or entity 

(i) That has provided consulting services related to the Works to either the Employer during the preparatory stages of the Works or of the Project of which the Works form a part,

(ii) That has been hired (or is proposed to be hired) by the Employer as an Engineer for the contract.

(b) A bidder shall have been post-qualified for the contract as notified by the Employer 

4.2. Bidders shall provide such evidence of their continued eligibility satisfactory to the Employer as the Employer shall reasonably request. 



	5. Qualification of the Bidder
	5.1. Bidders shall, as part of their bid:

(a) Submit a written power of attorney authorizing the signatory of the bid to commit the bidder; and

(b) Update any information submitted with their applications for prequalification, which has changes, and update in any case the information indicated in the Bidding Data, and continue to meet the minimum threshold criteria set out in the prequalification documents.

(c) As a minimum, bidders shall update the following information:

i. Evidence of access to lines of credit and availability of other financial resources

ii. Financial predictions for the current year and the two following years, including the effect of known commitments.

iii. Work commitments acquired since prequalification.

iv. Current litigation information, and

v. Availability of critical equipment.



	
	5.2. Bids submitted by a joint venture of two or more firms as partners shall comply with the following requirements:

a) 
The bid shall include all the information listed in Sub-Clause 4.1 above.

b) The bid and, in case of a successful bid, the Agreement shall be signed so as to be legally binding on all partners.

c) One of the partners shall be nominated as being in charge and this authorization shall be evidenced by submitting a power of attorney signed by legally authorized signatories of all the partners.

d) 
The partner in charge shall be authorized to incur liabilities and receive instructions for and on behalf of any and all partners of the joint venture and the entire execution of the contract including payment shall be done exclusively.

e) All partners of the joint venture shall be liable jointly and severally for the execution of the contract in accordance with the contract terms, and a statement to this effect shall be included in the authorization mentioned under Sub-clause 4.2 (c) above as well as in the bid and in the Agreement, in case of successful bid, and

(f)
A copy of the agreement entered into by the joint venture partners shall be submitted with the bid.

5.3. Bidders shall also submit proposals of work methods and schedule in sufficient details to demonstrate the adequacy of the bidders’ proposals to meet the technical specifications and the completion time referred to in Sub-clause 1.2 above.



	6. One Bid per Bidder
	6.1. Each bidder shall submit only one bid either by himself or as a partner in a joint venture. A bidder who submits or participates in more than one bid, other than alternatives pursuant to Clause 17 below, will be disqualified.



	7. Cost of Bidding


	7.1. The bidder shall bear all costs associated with the preparation and submission of its bid and the Employer will in no case be responsible or liable for those costs regardless of the conduct or outcome of the bidding process.



	8. Site Visit
	8.1. The bidder is advised to visit and examine the Site of Works and its surroundings and obtain for itself on its own responsibility all information that may be necessary for preparing the bid and entering into a contract for construction of the Works.  The costs of visiting the Site shall be at the bidder’s own expense.



	
	8.2. The bidder and any of its personnel or agents will be granted permission by the Employer to enter upon requisite premises and lands for the purpose of such visit, but only upon the express condition that the bidder, its personnel, and agents will release and indemnify the Employer and its personnel and agents from and against all liability in respect thereof, and will be responsible for death or personal injury, loss of or damage to property, and any other loss, damage, costs, and expenses incurred as a result of the inspection.



	
	8.3. The Employer may conduct a Site visit concurrently with the pre-bid meeting referred to in Clause 18.

	
	8.4. The bidder’s representative should be technically qualified with at least a degree in civil engineering or equivalent as determined by EBK. He must also be one of the key people listed in the schedule of key personnel.

	B. BIDDING DOCUMENTS



	9. Content of Bidding Documents
	9.1. The bidding documents are those stated below and should be read in conjunction with any Addenda issued if any in accordance with Clause 11 below:

1. Form of Bid

2. Appendix to Form of Bid

3. Bid Security

4. Instructions to Bidders

5. Bidding Data

6. Conditions of Contract, Part I

7. Conditions of Particular Application, Part II

8. Standard Specifications

9. Special Specifications

10. Form of Contract Agreement, Performance Guarantee [Unconditional] and Bank Guarantee for Advance Payment, Anti- Bribery Pledge form, Form of Advance Payment Disbursement Agreement, and Advance Payment Disbursement Schedule.

11. Bill of Quantities

12. Drawings

13. Tender addenda [tender notices]



	
	9.2. The bidder is expected to examine carefully all instructions, conditions, forms, terms, specifications and drawings in the bidding documents. Failure to comply with the requirements of bid submission will be at the bidder’s own risk. Bids that are not substantially responsive to the requirements of the bidding documents will be rejected.



	10. Clarification of Bidding Documents
	10.1. A prospective bidder requiring any clarification of the bidding documents may notify the Employer in writing or by cable (hereinafter, the term “cable” is deemed to include telex and facsimile) at the Employer’s address indicated in the Appendix to the Form of Bid. The Employer will respond to any request for clarification that he receives earlier than fourteen (14) days prior to the deadline for submission of bids. Copies of the Employer’s response will be posted to the Kitui County Government website and shall include a description of the inquiry but without identifying its source.



	
	

	11. Amendment of Bidding Documents
	11.1. At any time prior to the deadline for submission of bids, the Employer may amend the bidding documents by issuing Addenda.

11.2. Any Addendum thus issued shall be part of the bidding documents pursuant to Sub-clause 9.1 above and shall be communicated by posting the information in the website and or in writing through email or by cable to interested binders. 

11.3. Prospective bidders shall promptly acknowledge receipt of each Addendum through available and prescribed communication means and addresses. 

11.4. To give prospective bidders reasonable time in which to take an Addendum into account in preparing their bids, the Employer, in accordance with Clause 21.2, may extend as necessary the deadline for submission of bids. 




	C. PREPARATION OF BIDS



	12. Language of Bid
	12.1. The bid, and all correspondence and documents related to the bid exchanged by the Bidder and the Employer, shall be written in English Language. Supporting documents and printed literature furnished by the bidder may be in another language provided they are accompanied by an accurate translation of the relevant passages in the above stated language, in which case, for purposes of interpretation of the bid, the English Language shall prevail.



	13. Documents Comprising the Bid
	13.1. The bid submitted by the bidder shall comprise the following: Duly filled-in Form of Bid and Appendix to Form of Bid, Bid Security, Priced Bills of Quantities, Alternative Offers where invited, and any information or other materials required to be completed and submitted by bidders in accordance with the Instructions to Bidders. The documents in this bidding process shall be filled in without exception, subject to extensions thereof in the same format and to the provisions of Sub-clause 16.2 regarding the alternative forms of bid security.



	14. Bid Prices
	14.1. Unless stated otherwise in the bidding documents, the Contract shall be for the whole Works as described in Sub-clause 1.1, based on the unit rates and prices in the Bill of Quantities submitted by the bidder.

	
	14.2. The bidder shall fill in rates and prices for all items of the Works described in the Bill of Quantities. Items against which no rate or price is entered by the bidder will not be paid for by the Employer when executed and shall be deemed covered by the rates for other items and prices in the Bill of Quantities.

	
	14.3. All duties, taxes, and other levies payable by the Contractor under the Contract, or for any other cause, as of the date 28 days prior to the deadline for submission of bids, shall be included in the rates and prices and the total Bid Price submitted by the bidder.

	
	14.4. Unless otherwise provided in the Bidding Data and Conditions of Particular Application, the rates and prices quoted by the bidder are subject to adjustment during the performance of the Contract in accordance with the provisions of Clause 70 of the Conditions of Contract. The bidder shall furnish the indices and weightings in the Appendix to Form of Bid for the price adjustment formulae, and shall submit with its bid such other supporting information as required under Clause 70 of the Conditions of Contract. The Employer may require the bidder to justify its proposed weightings.

	15. Currencies of Bid and Payment
	15.1. Bids shall be priced in Kenya Shillings.

	16. Bid Validity
	16.1. Bids shall remain valid and open for acceptance for a period of 120 Days   from the specified date of bid opening stated under Clause 21 below.



	
	16.2. In exceptional circumstances, prior to expiry of the original bid validity period, the Employer may request that the bidders to extend the period of validity for a specified additional period. The request and the responses thereto shall be made in writing or by cable. A bidder may refuse the request without forfeiting its bid security. A bidder agreeing to the request will not be required or permitted to modify its bid, but will be required to extend the validity of its bid security for the period of the extension and in compliance with Clause 17 below in all respects.



	17. Bid Security
	17.1. The bidder shall furnish, as part of its bid, a Bid Security in the amount stipulated in the Appendix to the Form of Bid in the currency of the Employer’s country, or the equivalent amount in a freely convertible currency.

17.2. The bid security shall, at the bidder’s option, be in the form of a credit cheque, a letter of credit, or a bank guarantee from a reputable banking selected by the bidder and located in any eligible country. The format of the bank guarantee shall be in accordance with the form of bid security included in Section 7 of this bidding document; other formats may be permitted, subject to the approval of the Employer. Bid security shall remain valid for a period of 28 days beyond the original validity period for the bid, and beyond any period of extension subsequently requested under Sub-clause 16.2 above.

17.3. Any bid not accompanied by an acceptable bid security shall be rejected by the Employer as non-responsive. The bid security of a joint venture must be in the name of the joint venture submitting the bid.

17.4. The bid securities of unsuccessful bidders will be returned as promptly as possible, but not later than 28 days after the expiration of the period of bid validity.

17.5. The bid security of the successful bidder will be returned when the bidder has signed the Agreement and furnished the required performance security.

17.6. The bid security may be forfeited:

(a) If the bidder withdraws its bid, except as provided in Sub-clause 24.2 below

(b) If the bidder does not accept the corrections of its Bid Price, pursuant to Sub-clause 28.2 below.

(c) In the case of a successful bidder, if he fails within the specified time limit to

(i) Sign the Agreement, or

(ii) Furnish the required Performance Security.



	18. No Alternative Offers
	18.1. The bidder shall submit one offer, which complies fully with the requirements of the bidding documents. 

18.2. The bid submitted shall be solely on behalf of the bidder. A bidder who submits or participates in more than one bid will be disqualified.

18.3. A price or rate shall be entered in indelible ink against every item in the Bills of Quantities with the exception of items which already have Prime Cost or Provisional sums affixed thereto. The bidders are reminded that no “nil” or “included” rates or “lump-sum” discounts will be accepted. The rates for various items should include discounts if any. Bidders who fail to comply will be disqualified. 

	19. Pre-Bid Meeting
	19.1. The bidder’s designated representative is invited to attend a pre-bid meeting, which, if convened, will take place at the venue and time in the letter of Invitation to Bid.

19.2. The purpose of the meeting will be to clarify issues and to answer questions on any matter that may be raised at that stage.

19.3. The bidder is requested, as far as possible, to submit any questions in writing or by cable, to reach the Employer not later than one week before the meeting. It may not be practicable at the meeting to answer questions received late, but questions and responses will be transmitted in accordance with Sub-clause 18.4 below.

19.4. Minutes of the meeting, including the text of the questions raised and the responses given, together with any responses prepared after the meeting, will be posted in requisite media for information or transmitted without delay to all prospective bidders.  Any modification of the bidding documents that may become necessary as a result of the pre-bid meeting shall be made by the Employer exclusively through the issue of an Addendum pursuant to Clause 10.1 above and not through the minutes of the pre-bid meeting.

19.5. Non-attendance at the pre-bid meeting by a Bidder will be a cause for disqualification of his BID.

	20. Format and Signing of Bid
	20.1. The bidder shall prepare one original of the documents comprising the bid as described under Clause 9 of these Instructions to Bidders, bound with the section containing the Form of Bid and Appendix to Form of Bid, and clearly marked ‘ORIGINAL’. In addition, the bidder shall submit copies of the bid, in the number specified in the Bidding Data and Appendix to Form of Bid and clearly marked ‘COPIES’. In the event of discrepancy between them, the original shall prevail.

20.2. The original and all copies of the bid shall be typed or written in indelible ink (in the case of copies, photocopies are also acceptable) and shall be signed by a person or persons duly authorized to sign on behalf of the bidder, pursuant to Sub-clauses 4.1 (a) or 4.2 (c) above, as the case may be. All pages of the bid where entries or amendments have been made shall be initialed by the person or persons signing the bid.

20.3. The bid shall contain no alterations, omissions, or additions, unless such corrections are initialed by the person or persons signing the bid.




	D. SUBMISSION OF BIDS

	21. Sealing and Marking of Bids
	21.1. The bidder shall seal the original and each copy of the bid in separate envelopes, duly marking the envelopes as “ORIGINAL’ and ‘COPIES’. The envelopes shall then be sealed in an outer envelope.

21.2. The inner and outer envelopes shall:

(a) Be addressed to the Employer at the address provided in the Appendix to Form of Bid

(b) Bear the name and identification number of the Contract.

(c) Provide a warning not to open before the time and date for bid opening, as specified in the Letter of invitation to bid.

21.3. In addition to the identification required under Sub-clause 20.2 above, the inner envelopes shall indicate the name and address of the bidder to enable the bid to be returned unopened in case it is declared “late” pursuant to Clause 22.1 below, and for matching purposes under Clause 23 below.

21.4. If the outer envelope is not sealed and marked as above, the Employer will assume no responsibility for the misplacement or premature opening of the bid. If the outer envelope discloses the bidder’s identity, the Employer will not guarantee the anonymity of the bid submission, but this shall not constitute grounds for rejection of the bid.



	22. Deadline for Submission of Bids
	22.1. Bids must be received by the Employer at the address specified under Sub-clause 21.2, not later than the time and date stipulated in the Letter of invitation to Bid. 

22.2. The Employer may, in exceptional circumstances and at its discretion, extend the deadline for submission of bids by issuing an Addendum in accordance with Sub-clause 10.1 above, in which case all rights and obligations of the Employer and the bidders previously subject to the original deadline will thereafter be subject to the deadline as extended.



	23. Late Bids
	23.1. Any bid received by the Employer after the deadline for submission of bids prescribed under Sub-clause 22.1 will be returned to the bidder unopened.



	24. Modification and Withdrawal of Bids
	24.1. The bidder may modify, substitute, or withdraw its bid after bid submission, provided that written notice of the modification or withdrawal is received by the Employer prior to the deadline for submission of bids.

24.2. The bidder’s modification, substitution, or withdrawal notice shall be prepared, sealed, marked, and delivered in accordance with the provisions of Clause 21 above, with the outer and inner envelopes additionally marked ‘modification’ or “withdrawal,” as appropriate.

24.3. No bid may be modified by the bidder after the deadline for submission of bids, except in accordance with Sub-clause 28.2 below.

24.4. Any withdrawal of a bid during the interval between the deadline for submission of bids and expiration of the period of bid validity specified in Clause 17 may result in the forfeiture of the bid security pursuant to Sub-Clause...


	E. BID OPENING AND EVALUATION

	25. Bid Opening
	25.1. The Employer will open the bids, including withdrawals and modification made pursuant to Clause 24 above, in the presence of bidders’ designated representatives who choose to attend, at the time, date and location stipulated in the Letter of Invitation to Bid. The bidders’ representatives who would be present shall sign a register evidencing their attendance.

25.2. Envelopes marked “WITHDRAWAL” and ‘SUBSTITUTION’ shall be opened first, and the name of the bidder shall be read out. Bids for which an acceptable notice of withdrawal has been submitted pursuant to Clause 24 above shall not be opened.

25.3. The bidders’ names, the bid prices, including any alternative Bid Price or deviation, any discounts, bid modifications and withdrawals, the presence (or absence) of bid security, will be announced by the Employer at the opening. Further, other details as the Employer, at its discretion, may consider appropriate, shall also be announced and recorded. Subsequently, all envelopes marked ‘modification’ shall be opened and submission therein read out in appropriate detail. No bid shall be rejected at bid opening except for late bids pursuant to Clause 23 above.

25.4. Bids not opened and read out at bid opening shall not be considered further for evaluation, irrespective of the circumstances. In particular, any discount offered by a bidder which is not read out at the bid opening shall not be considered further for evaluation.

25.5. The Employer shall prepare minutes of the bid opening, including the information disclosed during the bid opening to those present in accordance with Sub-clause 25.3 above.

	26. Process to Be Confidential
	26.1. Information relating to the examination, clarification, evaluation, and comparison of bids, and recommendations for the award of a contract, shall not be disclosed to bidders or any other persons not officially concerned with such process until the award to the successful bidder has been announced. Any effort by a bidder to influence the Employer’s processing of bids or award decisions may result in the rejection of the bidder’s bid.



	27. Clarification of Bids and Contacting the Employer
	27.1. To assist in the examination, evaluation, and comparison of bids, the Employer may, at its discretion, ask any bidder for clarification of its bid, including breakdowns of unit rates. The request for clarification and the response shall be in writing or by cable, but no change in the price or substance of the bid shall be sought, offered, or permitted except as required to confirm the correction of arithmetic errors discovered by the Employer in the evaluation of the bids in accordance with Clause 28 below.

27.2. Subject to Sub-clause 26.1, no bidder shall contact the Employer on any matter relating to its bid from the time of the bid opening to the time the contract is awarded. If the bidder wishes to bring additional information to the notice of the Employer, he should do so in writing.

27.3. Any efforts by the bidder to influence the Employer in the Employer’s bid evaluation, the bid comparison or contract award decisions may result in the rejection of the bidder’s bid.



	28. Examination of Bids and Determination of Responsiveness
	28.1. Prior to the detailed evaluation of bids, the Employer will determine whether each bid (a) has been properly signed; (b) is accompanied by the required securities; (c) is substantially responsive to the requirements of the bidding documents as set out in the Bidding Documents and (d) provides any clarification and/or substantiation that the Employer may require to determine responsiveness pursuant to Sub-clause 28.2 below. Furthermore, the bidder shall, if required, provide substantiation that the Employer may require, pursuant to Sub-clause 14.5 above.

28.2. A substantially responsive bid is one that conforms to all the terms, conditions, and specifications of the bidding documents without material deviation or reservation. A material deviation or reservation is one (a) which affects in any substantial way the scope, quality, or performance of the Works; (b) which limits in any substantial way, inconsistent with the bidding documents, the Employer’s rights or the bidder’s obligations under the contract; or (c) whose rectification would affect unfairly the competitive position of other bidders presenting substantially responsive bids.

28.3. If a bid is not substantially responsive, it will be rejected by the Employer and may not subsequently be made responsive by correction or withdrawal of the non-conforming deviation or reservation.



	29. Correction of Errors
	29.1. No Correction Of Errors 


	30. Evaluation and Comparison of Bids
	30.1. The Employer will then evaluate and compare only the bids determined to be substantially responsive in accordance with Clauses 27 and 28. Any variation, deviation and alternative offers will be rejected and shall not be taken into account in bid evaluation. 

	
	30.2. If the bid, which results in the lowest Evaluated Bid Price is seriously unbalanced or front loaded in relation to the Engineer's estimate of the items of work to be performed under the contract, the Employer may require the bidder to produce detailed price analyses for any or all items of the Bills of Quantities, to demonstrate the internal consistency of those prices with the construction methods and schedule proposed. After evaluation of the price analyses, taking into consideration the schedule of estimated contract payments, the Employer may require that the amount of the Performance Security set forth in Clause 35 be increased at the expense of the bidder to a level sufficient to protect the Employer against financial loss in the event of default of the successful bidder under the contract.



	31. Preference for Domestic Bidders 


	31.1. This will be applicable for this bid.


	F. AWARD OF CONTRACT

	32. Award
	32.1. Subject to Clause 33 below, the Employer will award the Contract to the bidder whose bid has been determined to be substantially responsive to the bidding documents and who has offered the lowest Evaluated Bid Price pursuant to Clause 30 above, provided that such bidder has been determined to be (a) eligible in accordance with the provisions of Sub-clause 4.1 above and (b) qualified in accordance with the provisions of Clause 5 above.

	33. Employer’s Right to Accept Any Bid and to Reject Any or All Bids
	33.1. The Employer reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids, at any time prior to award of Contract, without thereby incurring any liability to the affected bidder or bidders or any obligation to inform the affected bidder or bidders of the grounds for the Employer’s action.


	34. Notification of Award
	34.1. Prior to expiration of the period of bid validity prescribed by the Employer, the Employer will notify the successful bidder in a letter stating that his bid has been accepted.  This letter (hereinafter and in the Conditions of Contract called the “Letter of Acceptance”) shall specify the sum that the Employer will pay the Contractor in consideration of the execution and completion of the Works and the remedying of any defects therein by the Contractor as prescribed by the Contract (hereinafter and in the Conditions of Contract called “the Contract Price”).

34.2. At the same time that the Employer notifies the successful bidder that his bid has been accepted, the Employer shall notify the other bidders that their bids have been unsuccessful and that their bid securities will be returned as promptly as possible, in accordance with subclause 17.4.

	35. Signing of Agreement
	35.1. At the same time that the Employer notifies the successful bidder that his bid has been accepted, the Employer will send the bidder the Agreement in the form provided in the bidding documents, incorporating all agreements between the parties.

35.2. Within 21 days of receipt of the Agreement, the successful bidder shall sign the Agreement and return it to the Employer, together with the required performance security.



	36. Performance Security
	36.1. After 21 days of receipt of the Letter of Acceptance from the Employer, the successful bidder shall furnish to the Employer a performance security in the form stipulated in the Conditions of contract. The form of performance security provided in Section 8 of the bidding documents shall be used.If it is stipulated in the Contract that the performance security is to be provided by the successful bidder in the form of a bank guarantee, it shall be issued either at the bidder’s option, by a bank located in the country of the Employer or by a foreign bank through a correspondent bank located in the country of the Employer, or (b) with the prior agreement of the Employer directly by a foreign bank acceptable to the Employer.

36.2. The successful bidder shall provide a performance security in the form of an Unconditional Bank Guarantee from a reputable bank located in Kenya.

36.3. Failure by the successful Bidder to lodge the required Performance Guarantee within 60 days of the receipt of the Letter of Acceptance shall constitute sufficient grounds for the annulment of the Award and forfeiture of the Bid Surety;

	37. Contract Effectiveness
	37.1. The Contract will be effective only upon signature of the Agreement between the Contractor and the Employer. 


37 BID QUESTIONNAIRE
Please fill in block letters 

Name of Contract: CONSTRUCTION OF KAVETA-GINNERY (B7) ROAD – LOT 1

TENDER NO. xxxxxxxxx
Full name of Bidder 

.......................................................…………………………………………… 

Full address of Bidder to which BID correspondence is to be sent (unless an agent has been appointed below). 

..................................................……………………………………………… 

Telephone number(s) of Bidder …………………………………………………………….. 

Fax number(s) of Bidder ……………………………………………………………………. 

Name of Bidder’s representative to be contacted on the matter of the BID during the BID period. 

..................................................……………………………………………… 

Detail of Bidder’s nominated agent (if any) to receive BID Notices. This is essential if Bidder does not have his registered address in Kenya (name, address, telephone and telex). 

..................................................……………………………………………… 

..................................................……………………………………………… 

..................................................……………………………………………… 

...................................... …………………………………... 

Date Signature of Bidder 

Make copy and deliver to: 

Municipal Manger,

Kitui Municipality,

County Government of Kitui,

P.O. Box33 – 90200,

KITUI, KENYA.

SECTION 6: BIDDERS QUALIFICATION & EVALUATION CRITERIA
 BIDDERS QUALIFICATION & EVALUATION CRITERIA

This Section contains all the factors, methods and criteria that the Employer shall use to evaluate applications. The information to be provided in relation to each factor and the definitions of the corresponding terms are included in the respective Application forms. 

Table of Contents


[image: image3.emf]3.1 Eligibility ................................ ................................ ................................ .....................   38   3.2 Historical Contract Non - Performance   ................................ ................................ .....   39   3.3 Financial Situation   ................................ ................................ ................................ ....   40   3.4 Experience   ................................ ................................ ................................ .................   41   3.5 Current Commitments   ................................ ................................ ..............................   43   3.6  Personnel Capability   ................................ ................................ ................................ .....   43    


	No. 
	Subject 
	Requirement 
	[image: image4.png]



Single Entity 
	Joint Venture
	Documentation 

	
	
	
	
	All Parties Combined 
	Each Party 
	One Party 
	Submission Requirements

	3.1 Eligibility 
	

	3.1.1 
	Eligibility
	Nationality in accordance with Sub-Clause 4.1. 


	Must meet requirement 
	Existing or intended JV must meet requirement 
	Must meet requirement 
	N /A 
	Section 7, Schedule 1 



	3.1.2 
	Conflict of interest 
	No conflicts of interest in Sub-Clause 4.2. 


	Must meet requirement 
	Existing or intended JV must meet requirement 
	Must meet requirement 
	N /A 
	Section 7, Schedule 1 



	3.1.3 
	Employer Ineligibility 
	Not having been declared ineligible by the Employer, as described in Sub-Clause 4.3. 
	Must meet requirement 
	Existing JV must meet requirement 
	Must meet requirement 
	N /A 
	Section 7, Schedule 1 

	3.1.4 
	Incorporation & Registration 
	Pursuant to subclause 4.1 the following shall be provided; Certified copies of; 

· Certificate of Incorporation to show that the applicant is a registered company and legally authorized to do business in Kenya.  
· Proof of registration with the NCA Category NCA 4 and above
· Tax Compliance Certificate  
· VAT Registration Certificate  
· PIN number  
Certification must be by a commissioner of oaths.
	Must meet requirement 
	Must meet requirement 
	Must meet requirement 
	N /A 
	Section 7, Schedule 1 



	No. 
	Subject 
	Requirement 
	[image: image5.png]



Single Entity 
	Joint Venture
	

	
	
	
	
	All Parties Combined 
	Each Party 
	One Party 
	

	3.2 Historical Contract Non-Performance 
	

	3.2.1 
	History of Non- Performing Contracts 
	Non-performance of a contract did not occur within the last five (5) years prior to the deadline for application submission based on all information on fully settled disputes or litigation. A fully settled dispute or litigation is one that has been resolved in accordance with the Dispute Resolution Mechanism under the respective contract, and where all appeal instances available to the applicant have been exhausted. 
	Must meet requirement by itself or as party to past or existing JV 
	N /A 
	Must meet requirement by itself or as party to past or existing JV 
	N /A 
	Section 7, Schedule 7

	3.2.2 
	Pending Litigation 
	All pending litigation shall in total not represent more than Fifty percent (50%) of the Applicant's net worth and shall be treated as resolved against the Applicant. 
	Must meet requirement by itself or as party to past or existing JV 

[image: image6.png]


 
	N /A 
	Must meet requirement by itself or as party to past or existing JV 
	N /A 
	Section 7, Schedule 10 




	No. 
	Subject 
	Requirement 
	[image: image7.png]



Single Entity 
	Joint Venture 
	

	
	
	
	
	All Parties Combined 
	Each Party 
	One Party 
	

	3.3 Financial Situation 
	

	3.3.1 
	Financial Performance 
	Submission of audited financial statements or if not required by the law of the applicant's country, other financial statements acceptable to the Employer, for the last five [5] years to demonstrate: 

a)  The current soundness of the applicant’s financial position and its prospective long-term profitability, and  
 b)  Capacity to have and meet the construction cash flow of minimum KShs. 50 Million or equivalent Working Capital.  
	Must meet requirement 

(a) Must meet requirement 

(b) Must meet requirement 
	N /A 

(a) N / A 

(b) Must meet requirement 
	Must meet requirement

(a) Must meet requirement

(b) N / A
	N /A 

(a) N / A 

(b) N / A 
	Section 7, Schedule 9 



	3.3.2 
	Average Annual Construction Turnover 
	Minimum average annual construction turnover of Kshs. 300 Million [Three Hundred million], calculated as total certified payments received for contracts in progress or completed, within the last three [(3)] years 


	Must meet requirement 
	Must meet requirement 
	Must meet ((100-50)/(n-1)) % of the requirement where n= number of joint venture members 


	Must meet fifty (50%) percent of the of the requirement 


	Section 7, Schedule 9 



	No. 
	Subject 
	Requirement 
	[image: image8.png]



Single Entity 
	Joint Venture
	

	
	
	
	
	All Parties Combined 
	Each Party 
	One Party 
	

	3.4 Experience 
	

	3.4.1 
	General Construction Experience 


	Experience under construction contracts in the role of contractor, subcontractor, or management contractor for at least the last Seven [7] years prior to the applications submission deadline 
	Must meet requirement  
	N /A  
	Must meet requirement 


	N /A  
	Section 7, Schedule 7 



	3.4.2 (a) 
	Specific Construction Experience
	Participation as contractor, management contractor or subcontractor, in at least two (2) contracts within the last five (5) years, each with a value of at least Kshs. 100 Million (One hundred million), that have been successfully and substantially completed and that are similar to the proposed works. The similarity shall be based on the physical size, complexity, methods/technology or other characteristics as described in Section 6, Scope of Works  


	Must meet requirement 
	Must meet requirement 
	N/A 
	Must meet requirement
	Section 7, Schedule 7 



	No. 
	Subject 
	Requirement 
	[image: image9.png]



Single Entity 
	Joint Venture
	

	
	
	
	
	All Parties Combined 
	Each Party 
	One Party 
	

	
	
	b) For the above or other contracts executed during the period stipulated in 3.4.2 (a) above, a minimum construction experience in the following key activities: 

(i)  Earthworks: 0.3 million m3 per year:  
(ii)  Asphalt concrete: 6,000m3 per year  
(iii)  Drainage culverts, slabs Channels, U drains: 2000 m per year 
(iv)  Concrete Works for bridges: 3,000 m3 per year.  
(v)  Stabilized Subbase/Base: 3,000m3 per year.  

(vi) Repair & Re-seal Projects 

     (Vii) Repair & rehabilitation of    bitumen roads. 

(Viii)  New Construction to bitumen standards. 
	Must meet requirement  
	Must meet requirement  
	
	Must meet requirement  
	Section 7, Schedule 7 



	3.4.2

(b)
	Work Methodology 


	Submission of a brief work methodology in accordance with subclause 5.3 


	Should demonstrate understanding of the scope of works and other general requirements 

	Should demonstrate understanding of the scope of works and other general requirements 


	N/A 


	N/A 


	Section 7, Schedule 11 



	No. 
	Subject 
	Requirement 
	[image: image10.png]



Single Entity 
	
	Joint Venture

	
	
	
	
	All Parties Combined 
	Each Party 
	
	One Party 

	
	3.5 Current Commitments 

	3.5.1 
	On-going contracts 


	The total value of outstanding works on the on-going contracts should meet the Requirement.

The Maximum number of current projects with the County should not exceed three (3). 
	Must meet requirement  
	Must meet requirement  
	N/A  
	
	N /A  

	
	3.6 Personnel Capability

	3.6.1
	
	The site staff shall possess minimum levels set below NB: Attachment of CVs and certified copies of Annual Practicing Licenses (for Engineers) and Academic Certificates for all staff is mandatory;
	
	
	
	
	

	(a)
	Site Agent


	Qualification: BSc. Civil Eng. and/or equivalent from a recognised institution.

Be Registered Professional Eng. by EBK 

General Experience: 15 years.

Specific Experience in similar works: 10 years 

Specific Experience as manager of similar works: 5 years.
	Must meet requirement  
	Must meet requirement  
	N/A


	N/A
	Must meet requirement  

	
	Dep. Site Agent/ Site Engineer 
	Qualification = BSc. Civil Eng. 

General Experience = 8 yrs. 

	
	
	
	
	

	
	Senior Foreman 


	Specific Experience = 5 Yrs. 

Qualification = H.N.D. Civil Eng. 

General Experience = 7 yrs. 

Specific Experience = 5 Yrs. 
	
	
	
	
	

	
	Site Surveyor 


	Qualification = Diploma. Survey 

General Experience = 7 yrs. 

Specific Experience = 5 Yrs. 
	
	
	
	
	

	
	Foremen
	Qualification = Dip. Civil Eng. 

General Experience = 6 yrs. 

Specific Experience = 4 Yrs. 
	
	
	
	
	

	
	Safety Officer 


	Qualification = Certificate in Safety 

General Experience= 3yrs 
	
	
	
	
	

	
	Sociologist 


	Qualification = Diploma in Sociology or relevant Field 

General Experience=3yrs 
	
	
	
	
	

	
	Environmental Officer
	Qualification = Bachelor’s degree in Environmental Sciences/ related field General Experience=3yrs 


	
	
	
	
	


7 Schedules of the Major Items of Plant to be used on the Proposed Contract

The Bidder must indicate the core plant and equipment considered by the company to be necessary for undertaking the project together with proof of ownership. (* Mandatory minimum number of equipment required by the Employer for the execution of the project that the bidder must make available for the Contract).

	Item No. 
	Equipment Details 
	Minimum Number Required for the Contract Execution 
	No of Equipment Owned by the Bidder 
	No. of equipment to be hired/purchased by the Bidder 
	No. of equipment to be made available for the Contract by the Bidder 

	1
	General Plants 
Primary/Secondary Crusher Unit/Power Screen Min capacity – 60t/hr. 

Concrete batching plant Min Cap 20 m3/hr 

Asphalt Concrete batching plant 
	
	
	
	

	2
	Bituminous Plants 
Bitumen Pressure distributor

Asphalt concrete paver 
	1 

1
	
	
	

	3
	Compactors 
Vibrating compaction plate 300 mm wide 

Vibrating compaction plate 600 mm wide 
	1 

1
	
	
	

	4
	Mobile Compressors 
· Single tool (1.8 m3/min) 

· Two tool (2.8 – 7.3 m3/min) 

· Four tool (11.3 – 25.3 m3/min) 

· Medium rock drill (1.5 m3/min) 

· Heavy rock drill (2.4 m3/min) 
	1

1

1 

1

1
	
	
	

	5
	Concrete Equipment 
· Mobile concrete mixers 

· Truck mounted mixers 

· Concrete vibrators 
	2

Optional

2
	
	
	

	6
	Diesel Generators 
· Diesel generators (15 – 200Kva) 
	1
	
	
	


	Item No. 
	Equipment Details 
	Minimum Number Required for the Contract Execution 
	No of Equipment Owned by the Bidder 
	No. of equipment to be hired/purchased by the Bidder 
	No. of equipment to be made available for the Contract by the Bidder 

	7
	Transport (Tippers, dumpers, water tankers) 
· 4X2 tippers payload 7 – 12 tonnes 

· 6X4 tippers payload 16 – 20 tonnes 

· 8X4 tippers payload 16 – 20 tonnes 

· Articulated trailers 

· Dump trucks 

· Flatbed lorries 

· Water tankers (18,000 – 20,000 lts. capacity) 
	5 

3 

4 

2 

5 

1 

2 
	
	
	

	8
	Earth – Moving Equipment 
· Tractor dozers with dozer attachment (D6-D9 equivalent) 

· Tractor loaders 

· Wheeled loaders 

· Motor scrappers 

· Motor graders (93 - 205kW) 

· Trench excavator 


	2

Optional

3

Optional

2

2
	
	
	

	Item No. 
	Equipment Details 
	Minimum Number Required for the Contract Execution 
	No of Equipment Owned by the Bidder 
	No. of equipment to be hired/purchased by the Bidder 
	No. of equipment to be made available for the Contract by the Bidder 

	9
	Excavators 
· Hydraulic crawler mounted (7 – 10 tonnes) – 0.25 – 0.4 m3 SAE bucket. 

· Hydraulic crawler mounted (10 – 16 tonnes) – 0.40 – 0.60 m3 SAE bucket. 

· Hydraulic wheel mounted (7 – 10 tonnes) – 0.25 – 0.4 m3 SAE bucket. 

· Hydraulic wheel mounted (10 – 16 tonnes) – 0.40 – 0.6 m3 SAE bucket. 

· Hydraulic wheel mounted back loader (7 – 10 tonnes) – 0.25 – 0.4 m3 SAE bucket. 
	1

1

1

1

1
	
	
	

	10
	Rollers 
· Self-propelled single drum vibrating (various types) 

· Pneumatic rubber tyre (1-2 tonnes/wheel) 

· Sheep’s foot roller 

· Double drum vibrating pedestrian rollers 
	2 

1 

1 

2 
	
	
	


We hereby certify that notwithstanding the list of plant detailed above, we will provide sufficient, suitable and adequate plant in good working order for the successful completion of works. 

………………………………… ………                             ……………………….

(Signature of Contractor)                                   (Date)
EVALUATION CRITERIA 

Three stages will be considered; 

STAGE 1: MANDATORY REQUIREMENTS
	No. 
	Requirement 
	Responsive Or Non-Responsive 

	1 
	Attach a copy of KRA PIN certificate (confirmable) 
	

	2 
	Attach a copy of valid tax compliance certificate (confirmable) 
	

	3 
	Attach a copy of certificate of incorporation/ certificate of business name registration 
	

	4 
	Attach a copy of current CR12/ 13 for the last 6 months 

(No more than one company with the same director/directors will be accepted. Breach of this leads to automatic disqualification.) 
	

	5 
	Attach valid single business permit/trading license 
	

	6 
	Attach a copy of current registration certificate with NCA 4 and above in Road works (confirmable) 
	

	7 
	Attach current NSSF and NHIF certificate 
	

	8 
	Attach a copy of litigation history of the company authored by commissioner of oaths 
	

	9 
	Attach duly signed and stamped pretender site visit certificate by the Municipal Engineer 
	

	10 
	Attach Kshs. 1.8 Million Valid bid Security (Bank Guarantee or Bid bond issued by an insurance approved by Public Procurement Regulatory Authority (PPRA) valid for 120 days (confirmable)
	

	11 
	Attach duly filled confidential business questionnaire/S33 
	

	12 
	Duly filled and signed form of tender 
	

	13 
	Attach valid DOSH certification evidence for ongoing or complete projects (payment receipts will be admissible) 
	

	14 
	One (1) ORIGINAL and a COPY of the original properly bound document and MUST be paginated/pages be sequentially numbered. In case of any conflict between original and copy, original will prevail. 
	

	15
	Duly filled and signed self-declaration form.
	


NOTE: Items 3, 4, 5, 7, 13 and 15 above MUST be certified by a commissioner of  oaths 

BIDDERS WHO FAIL TO MEET THE MANDATORY REQUIREMENTS SHALL NOT PROCEED TO THE NEXT STAGE.
STAGE 2: TECHNICAL EVALUATION CRITERIA
	SECTION 2A: TECHNICAL EVALUATION ROAD WORKS (80 MARKS) 

	No. 
	Parameter 
	Maximum Score 
	Award 

	1
	Relevant Experience 
	15 
	

	
	Experience as prime contractor in the Construction of at least three (3) projects of similar nature and complexity equivalent to the works 
	
	

	
	a) Completion certificates (3 no. each 5 marks) 


	
	

	2 
	Key Equipment 
	30 
	

	
	a) Bitumen Pressure distributor/hand pump sprayer (2 marks) 
	
	

	
	b) Asphalt concrete paver (2 marks) 
	
	

	
	c) Self-propelled single drum vibrating (various types) (2marks) 
	
	

	
	d) Pneumatic rubber tyre (1-2 tonnes/wheel) (2 marks) 
	
	

	
	e) Sheep’s foot roller (2 marks) 
	
	

	
	f) Double drum vibrating pedestrian roller (2 marks) 
	
	

	
	g) Tandem Roller(double drum) (2 marks) 
	
	

	
	h) Excavator(crawler tracked) (2 marks) 
	
	

	
	i) Trench excavator(backhoe) (2 marks) 
	
	

	
	j) Motor grader (93 - 205kW) (2 marks) 
	
	

	
	k) Water tankers (18,000 – 20,000 lts. capacity) (2 marks) 
	
	

	
	l) Tippers (16 – 20 tonnes) (2 marks) 
	
	

	
	m) Vibrating compaction plate 600 mm wide (2 marks) 
	
	

	
	n) Mobile concrete mixers (2 marks) 
	
	

	
	o) Concrete vibrators (2 marks) 
	
	

	
	NB-Proof of ownership must be provided i.e. logbooks and serial numbers. No hiring/leasing will be accepted.

Give location and proof of availability of the equipment for view.

	
	

	3 
	Key Personnel attach academic certificates, curriculum vitae and Letter from employer / commissioner of oaths showing proof of the years experienced. 
Attach letter of employment and a proof of current presence in the company. 

	25 
 
	

	
	a) Site Agent- BSc. Civil Engineering with 10 years general experience and 8 years specific experience (4 marks) 
	
	

	
	b) Dep. Site Agent/ Site Engineer- BSc. Civil Engineering with 8 years general experience and 5 years specific experience (3 marks) 
	
	

	
	c) Senior Foreman- HND Civil Engineering with 7 years general experience and 5 years specific experience (3 marks) 
	
	

	
	d) Site Surveyor- HND Survey with 7 years general experience and 5 years specific experience (3 marks) 
	
	

	
	e) Foremen- Diploma Civil Engineering 6 years general experience and 4 years specific experience (3 marks) 
	
	

	
	f) Health and Safety Officer (diploma/certificate as applicable)- with 3 years general experience (3 marks) 
	
	

	
	g) Environment officer- Degree in Environmental Sciences/relevant field- with 3 years general experience (3 marks) 
	
	

	
	h) Sociologist (diploma in sociology/community development- with 3 years general experience (3 marks) 
	
	

	4
	Work Methodology 
	5 
	

	
	Proposed program (Work methodology and schedule) (5marks) 
	
	

	5
	Preference of Works 
	5 
	

	
	Local Preference (For bidders with valid Business Permit from Kitui County). Attach a valid Business Permit (5 marks) 
	
	

	
	Total A 
	80 
	

	SECTION 2B: TECHNICAL EVALUATION FINANCIAL (20 MARKS)

	
	Financial Capacity 
Must have handled a project of at least equivalent amount. 
	20 
	

	
	a) Audited Accounts- financial capability of the firm based on information provided in the last 3 years audited account (1 mark for each year audited i.e. 3 marks total) 
	
	

	
	b) Current Ratio = Current Assets 

Current Liabilities 

A ratio of 1 and above (3 marks) 
	3
	

	
	c) Bank’s letter of credit worthiness for an amount of at least 20% of the tendered sum- verifiable (8 marks) 
	8 
	

	
	d)Annual turnover in the last 2 years shall be over Ksh 150 million 
(3 marks) 
	3 
	

	
	e) Bank statements (last six months to 31th January 2020) 

The statement must be genuine. (3 marks) 


	3
	

	
	TOTAL B
	20 
	

	
	TOTAL (A+B)
	100
	


	
	


· Only bidders who score a minimum of 70% of the technical score (A+B) above shall be evaluated in stage 3. 
Stage 3: RECOMMENDATION 
To be consider for award. The lowest responsive evaluated bidder shall be the one who satisfies section 86 sub section 1 item (a) of the Public Procurement and Assets Disposal Act 2015 which states: 

86. (1) The successful tender shall be the one who meets any one of the following as specified in the tender document 
(a) the tender with the lowest evaluated price; 
This must be read in the full understanding of section 79 sub section 1 which states: 
79. (1) A tender is responsive if it conforms to all the eligibility and other mandatory requirements in the tender documents. 

NB: The procuring entity will conduct due diligence to verify information submitted by the bidders. Any form of mis-information shall be interpreted as conjecture and will lead to automatic non responsiveness of the bid.
SECTION 7: CONDITIONS OF CONTRACT

SECTION 7A: CONDITIONS OF CONTRACT PART I: GENERAL CONDITIONS OF CONTRACT
The Conditions of Contract, Part I: General Conditions shall be those forming Part I of the “Conditions of Contract for Works of Civil Engineering Construction,” fourth edition 1987, reprinted in 1992 with further amendments, prepared by the Fédération Internationale des Ingénieurs-Conseils (FIDIC). These Conditions are subject to the variations and additions set out in Part II hereof entitled “Conditions of Particular Application.”.


SECTION 7B: CONDITIONS OF CONTRACT PART II: CONDITIONS OF PARTICULAR APPLICATION

The following Conditions of Particular Application shall supplement the General Conditions of Contract. Whenever there is a conflict, the provisions herein shall prevail over those in the General Conditions of Contract. The Particular Condition is preceded by the corresponding clause number of the General Conditions to which it relates. 
Table of Contents

58DEFINITIONS AND INTERPRETATION


581.1
Definitions


581.6
Gender Specific Words


59ENGINEER AND ENGINEER’S REPRESENTATIVE


592.1
Engineer’s Duties and Authority


59ASSIGNMENT AND SUBCONTRACTING


594.1
Subcontracting


60CONTRACT DOCUMENTS


605.1
Language and Law


605.2 
Priority of Contract Documents


606.6
Metric Units


616.7
Intent of Drawings and Specifications


616.8
Design, Drawings and Specifications Prepared by the Contractor


616.9
Submissions of Designs and Drawings


616.10
As-Built Drawings


617.4
Drawings for Temporary Works


627.5
Size of Drawings


627.6
Submission to the Engineer


62GENERAL OBLIGATIONS


628.1
Contractors General Responsibilities


628.3
General Requirements


6310.1
Performance Security


6410.2
Period of Validity of Performance Security


6410.3
Claims under Performance Security


6410.4
Cost of Performance Security


6411.1
Inspection of Site


6511.2
Access to Data


6514.1
Programme to be Submitted


6714.2
Revised Programme


6714.3
Cash Flow Estimate to be Submitted


6815.1
Contractor’s Superintendence


6815.2
Contractor’s Agent or Representative


6816.2
Engineer at Liberty to Object


6816.3
Language Ability of Superintending Staff


6816.4
Employment of Local Personnel


6817.1
Setting Out


6917.2
Notice to Engineer


6919.1
Safety, Security and Protection of the Environment


7120.4
Employer’s Risks


7121.1
Insurance of Works and Contractor’s Equipment


7221.2
Scope of Cover


7221.4
Exclusions


7221.5
Insurance of Goods


7223.1
Third Party Insurance (Including Employer’s Property)


7223.2
Minimum Amount of Insurance


7325.1
Evidence of Terms of Insurance


7325.5
Source of Insurance


7325.6
Insurance Notices


7325.7
Insurance in Kenya


7325.8
Notification to Insurers


7326.2
Compliance with Statutes, Regulations


7326.3
Inspection and Audit by the Funding Agency


7428.2
Royalties


7429.2
Passage and Control of Traffic


7429.3
Reinstatement and Compensation for Damage to Persons or Property


7429.4
Protection of Existing Works and Services


7529.5
Protection of Survey Beacons


7530.2
Transport of Contractor’s Equipment or Temporary Works


7530.5
Complying with State Laws and Regulations


7630.6
Effects of other Concurrent Construction Projects


76LABOUR


7634.2
Labour Regulations


7634.3
Engagement of Local Labour


7634.4
Rates of Wages and Conditions of Labour


7634.5
Repatriation of Labour


7634.6
Housing for Labour


7734.7
Accident Prevention Officer


7734.8
Health and Safety


7734.9
Life Saving Appliances and First Aid Equipment


7734.10
Measures against Insect and Pest Nuisance


7734.11
Epidemics


7834.12
Burial of the Dead


7834.13
Supply of Foodstuffs


7834.14
Supply of Water


7834.15
Alcoholic Liquor or Drugs


7834.16
Arms and Ammunition


7834.17
Festivals and Religious Customs


7834.18
Disorderly Conduct


7834.19
Records of Labour


7934.20
Trade Unions


7934.21
Default in payment of Wages


7934.22
Breach and Removal from List


7934.23
Observance by Subcontractors


7935.2
Maintenance of Records


7935.3
Reporting of Accidents


79MATERIALS, PLANT AND WORKMANSHIP


7936.1
Quality of Materials, Equipment, Supplies, Plant, and Workmanship


80COMMENCEMENT AND DELAYS


8041.1
Commencement of Works


8041.2
Definition of Commencement


8042.1
Possession of Site and Access Thereto


8042.4
Possession of Site and Access thereto


8045.1
Restriction on Working Hours


8145.2
Overtime Hours


8147.2
Reduction of Liquidated Damages


8147.3
Currency of Liquidated Damages


81DEFECTS LIABILITY


8149.2
Completion of Outstanding Work and Remedying Defects


8249.5
Defects Liability Period Replacements


82ALTERATIONS, ADDITIONS AND OMISSIONS


8252.1
Valuation of Variation


8252.2
Power of Engineer to Fix rates


8352.3
Daywork


83PROCEDURE FOR CLAIMS


8353.1 Notice of Claims


83CONTRACTOR’S EQUIPMENT, TEMPORARY WORKS AND MATERIALS


8354.1
Contractor’s Equipment, Temporary Works and Materials


8354.2
Employer not Liable for Damage


8354.5
Conditions of Hire of Contractor’s Equipment


8354.9
Contractor’s Responsibilities for Licenses


8454.10
Equipment and Plant


84MEASUREMENT


8455.1
Quantities


8455.2
Bill of Quantities with no Rates


8456.1
Works to be Measured


8557.1
Method of Measurement


85PROVISIONAL SUMS


8558.4
Prime Cost Sum


85NOMINATED SUBCONTRACTORS


8559.5
Certification of Payment to Nominated Subcontractors


86CERTIFICATES AND PAYMENTS


8660.1
Advance Payment


8760.2
Interim Payment Certificate


8860.3
Final Account and Final Payment Certificate


8860.4
Payment of Certificates


8960.5
Retention Money


8960.6
Currency of Payment


8960.6
Overdue Payments


8960.8
Correcting and Withholding


8960.9
Completion by Sections


8960.10
Statement at Completion


9060.11
Final Statement


9060.12
Discharge


9060.13
Final Payment Certificate


9160.14
Cessation of Employer’s Liability


9162.1
Defects Liability Certificate


91REMEDIES


9163.1
Default of Contractor


9163.2
Valuation of Date of Expulsion


9163.3
Valuation of Date of Expulsion


9263.4
Assignment of Benefit of Agreement


9263.5
Corrupt or Fraudulent Practices


92SPECIAL RISKS


9265.2
Special Risks


9265.4
Projectile, Missile


9365.9
Special Risks


93SETTLEMENT OF DISPUTES


9367.1
Dispute Review Expert


9467.2
Amicable Settlement


9467.3
Arbitration


9467.4
Failure to Comply with Recommendations


94NOTICES
…
.

9468.1
Notices to Contractor


9468.2
Notices to Employer and Engineer


94DEFAULT OF EMPLOYER


9469.1
Default of Employer


9569.3
Payment on Termination


9569.4
Contractor’s Entitlement to Suspend Work


95CHANGES IN COST AND LEGISLATION


9570.1
Price Adjustment


9570.2
 Other Changes in Cost


9570.3
Adjustment Formulae


9670.4
Sources of indices and weightings


9670.5
Base, Current and Provisional Indices


9770.6
Adjustment after completion


9770.7
Weightings


9770.8
Subsequent Legislation


97CURRENCY AND RATES OF EXCHANGE


9772.2
Currency Proportions


9772.4
Substantial Changes in Currency Requirements


98ADDITIONAL CLAUSES


9873.1
Foreign Taxation


9873.2
Local Taxation


9873.3
Income Tax on Staff


9873.4
Duties on Contractor’s Equipment


9973.5
Declaration against Waiver


9973.6
Employer’s Officials


9974.1
Illegal Payments


9975.1
Termination of Contract for Employer’s Convenience


10076.1
Restriction on Eligibility


10077.1
Joint and Several Liability


10078.1
Details to be Confidential


10078.2
Drawings and Photographs of the Works


10079.1
Official Visitors


10080.1
Substantial Completion of the Works


10181.1
Monthly Site Meetings


10181.2
Minutes of Site Meetings


10182.1
Legal Provisions


10183.1
Noise and Disturbance


10283.2
Pollution


CONDITIONS OF CONTRACT PART II (CONDITIONS OF PARTICULAR APPLICATION)

NOTES:

The Conditions of Particular Application (Conditions of Contract, Part II) modify and compliment like-numbered clauses in the General Conditions of Contract (Conditions of Contract, Part I). Both parts shall be read together, with the Conditions of Particular Application prevailing in case of conflict or discrepancy. Clauses of the General Conditions of Contract not specifically modified and supplemented shall remain in effect.

DEFINITIONS AND INTERPRETATION

1.1
Definitions

(i) The “Employer” shall be The Municipal Manager, Kitui Municipality, Kitui County Government. 
(ii) The “Engineer” shall be the Chief Officer, Ministry of Lands, Infrastructure, Housing and Urban Development, Kitui County Government, or any other competent person appointed by the Employer, and notified to the Contractor, to act in replacement of the Engineer. 

(iii) Insert in line 2 after “the Bill of Quantities”, the following,” the rates entered by the Contractor (whether or not such rate be employed in computation of the Contract Price)”. 

(iv) The word “Tender” and its derivatives are synonymous with the word ‘Bid,’ and its derivatives, and the words ‘Tender Documents’ with ‘Bidding Documents’. The words “Appendix to Tender” and the words “Appendix to Bid” shall have the same meaning as the words ‘Appendix to the Form of Bid’.” 

Add the following paragraph at the end of Subclause 1.1 (f) (vii): 

The aforesaid includes lands waters, river beds and other places on, under, in through which the Works are to be carried out including all offices, workshops or places where materials are to be stored or used for the purposes of the Contract. It also includes quarries; borrow pits, stock pile areas and spoil areas” 

Add Subclause 1.1 (g) (v):

Dates shall be construed in accordance with the Gregorian Calendar. 

Add the following Subclause 1.6: 

1.6
Gender Specific Words 

Wherever in the Contract Documents the word ‘man’ or ‘men’ is used directly or as a suffix it means ‘woman’ or ‘women’ also. The Word ‘he’ includes ‘she’ also. 

ENGINEER AND ENGINEER’S REPRESENTATIVE

2.1
Engineer’s Duties and Authority

With reference to Sub-Clause 2.1(b): Add the following

The Engineer shall obtain specific approval of the Employer before taking any of the following actions specified in the General Conditions of Contract: 

(i) Consenting to the sub-letting of any part of the Works under Clause 4.  
(ii) Certifying additional cost determined under Clause 12.

(iii) Determining an extension of time under Clause 44.

(iv) Issuing a variation under Clause 51.

(v) Certifying payment if the Contract Price will be exceeded.

(vi) Authorizing the use of provisional sums in excess of the monetary limit for variations 

(vii) Issuing any Taking-over Certificate.

(viii) Certifying additional payment/costs under Clause 65; 

(ix) Issuing a Defects Liability Certificate under Clause 62 (j) Fixing rates or prices under Clause 52. 

Notwithstanding the provisions set out above, to obtain approval of the employer, if in the opinion of the Engineer, an emergency occurs affecting the safety of life or of the Works or of adjoining property, he may, without relieving the Contractor of any of his duties and responsibilities under the Contract, instruct the Contractor to execute all such work or to do all such things as may, in the opinion of the Engineer, be necessary to abate or reduce the risk. The Contractor shall forthwith comply, despite the absence of approval of the Employer, with any such instruction of the Engineer. The Engineer shall determine an addition to the Contract Price, in respect of such instruction, in accordance with Clause 52 and shall notify the Contractor accordingly, with a copy to the Employer.”

ASSIGNMENT AND SUBCONTRACTING 

4.1
Subcontracting 

Delete the second and third sentence and substitute: 

No single subcontract may be for more than 10 percent of the Contract Price nor shall the sum of all subcontracts exceed 25 percent of the Contract price. No one subcontractor may be awarded subcontracts to a total value greater than 10 percent of the Contract Price. All subcontracts greater than 2 percent of the Contract Price are to have the prior consent of the Engineer. The Contractor shall however, not require such consent for purchases of materials or to place contracts for minor details or for any part of the Works of which the manufacturer or supplier is named in the Contract. Any such consent shall not relieve the Contractor from any liability or obligation under the Contract and he shall be responsible for the acts, defaults and neglects of any subcontractor, his agents, servants or workmen as fully as if they were the acts, defaults or neglects of the Contractor, his agents, servants or workmen. 

Add the following: The Engineer should satisfy whether: 

(a) The circumstances brought out warrant such subcontracting; and 

(b) The subcontractors so proposed for the Work possess the necessary experience, qualifications and equipment for the job proposed to be entrusted to them in proportion to the quantum of work to be subcontracted.

If the contractor proposes payments to be made directly to that subcontractor, this should be subject to specific authorization by the Contractor so that such consent does not relieve him from any liability or obligations under the contract. 

CONTRACT DOCUMENTS 

5.1
Language and Law 

(a) The language governing this Contract shall be English. 

The “Ruling Language” which shall be used to interpret this Contract shall be English. Communication between the Contractor and Engineer or Engineer’s representative shall be in English. 

(b) The laws applicable to this Contract shall be the laws of the Republic of Kenya. Except to the extent otherwise provided by the Contract, the Kenyan courts shall have exclusive jurisdiction to hear and to determine all actions and proceedings in connection with and arising out of the Contract and the Contractor shall submit to the jurisdiction of Kenyan courts for the purpose of any such actions and proceedings. 

5.2 
Priority of Contract Documents 

Delete the documents listed as (1) to (6) and substitute with the following: 

(1) 
The Contract Agreement (if completed)  
(2)
The Letter of Acceptance  
(3) 
Minutes of Pre-Contract Award Discussion  
(3) 
Bid and Appendix to Form of Bid  
(4) 
The Conditions of Contract, Part II; Conditions of Particular Application  
(5) 
The Conditions of Contract, Part I; General Conditions of Contract  
(6) 
The Special Specifications  
(7) 
The Standard Specifications for Road and Bridge Construction, Ministry of Transport and Communications, 1986  
(8)
Clarifications and Rectifications accepted by the Employer  
(9)
The Drawings  
(10)
The priced Bill of Quantities  
(11) Schedules and other documents forming part of the Contract.  
Add to Clause 6 the following Subclauses 6.6 to 6.10: 

6.6
Metric Units  
All units used in the Contract shall be metric and for measurement of angles the 360 degrees circles systems shall be used.

6.7
Intent of Drawings and Specifications 

The intent of Drawings and Specifications is to describe the details for the complete construction and maintenance of the Works which the Contractor undertakes to perform in accordance with the terms of the Contract. Where the Drawings or Specifications describe portions of the Works in general terms, but not in complete detail, it is understood that only materials and workmanship of the first quality are to be used. First quality refers to the quality as approved by the Engineer. 

Unless otherwise specified, the Contractor shall furnish all labour, material, tools, equipment and incidentals, and do all the work involved in executing the Contract in a satisfactory and workman-like manner. 

6.8
Design, Drawings and Specifications Prepared by the Contractor 

No payment will be made to the Contractor for undertaking any kind of design work, preparation of drawings and specification, other than that specifically required by the terms of the Contract. Payment for design work, preparation of drawings and specifications, specifically required by the terms of the Contract shall be deemed to be included in the Rates and Lump Sums entered in the Bill of Quantities. 

6.9
Submissions of Designs and Drawings  
All detailed working drawings/shop drawings, design calculations and fabrication drawings for Temporary Works (such as formwork, staging, scaffolding, specialized constructional, handling and launching equipment and the like) as well as bar bending and cutting schedules for reinforcement, material lists for structural fabrication including detailed drawings for templates, end anchorage and temporary support details for pre-stressing cables shall be prepared by the Contractor at his own cost and forwarded in triplicate to the Engineer at least six weeks in advance of actual constructional requirements. The Engineer will check and return one copy of the same for the Contractor’s use with amendments, if any, noted in red ink. Such approval shall not relieve the Contractor of any of his responsibilities in connection with temporary works.  The Contractor will supply four copies of the approved drawings for the Engineer’s use. The cost of preparing all such items of work shall be deemed to have been included in the respective rates/prices quoted by the Contractor in the Bill of Quantities.  
6.10
As-Built Drawings  
On completion of the Works, the Contractor shall arrange to furnish to the Employer two (2) bound sets of all "As Built" drawings for every component of the Works at his own cost, all such copies being on A3 hardcopy prints and digitized copy (2 No.) in a Compact Discs (CDs) of quality approved by the Engineer or his Representative. The Taking-over Certificate of the Works, as per the provisions of Clause 48.1 herein, shall not be issued by the Engineer in the event of the Contractor's failure to furnish the aforesaid "As Built" drawings for the entire works.”  Add to Clause 7 the following Subclauses 7.4 to 7.6:  
7.4
Drawings for Temporary Works 

Drawings for Temporary works to be carried out by the Contractor shall be submitted to the Engineer for approval. 

Working drawings of concrete structures consisting of such details as may be reasonably required for the successful execution of the work and which are not included in the plans furnished by the Employer, shall be prepared by the Contractor. Three sets of working drawings shall be submitted to the Engineer for approval 

7.5
Size of Drawings 

All drawings submitted by the Contractor shall bound in an A3 book of drawings. The drawings shall be numbered and dated, and shall include the title of the Contract at the bottom of the drawing followed by the title of the drawing. All drawings shall have the appropriate scales drawn on them and notes shall be in English. All amendments to such drawings shall be noted and dated on the drawing. 

7.6
Submission to the Engineer

Whenever the Contractor is required to submit to the Engineer proposals, details, drawings, calculations information, literature, materials, test report and certificates, the Engineer will consider each submission and, if appropriate, will reply to the Contractor in accordance with the relevant provision of the Conditions of Contract. Unless a defined period of time is stated in the contract, each submission shall be made by dates to be agreed with the Engineer having regard to the approved programme and the need to give the Engineer adequate time to consider each submission. The approval of the Engineer of any submission shall not relieve the Contractor of his responsibilities under the Contract. 

GENERAL OBLIGATIONS 

Add to Subclause 8.1 the following: 

8.1
Contractors General Responsibilities 

Add to Subclause 8.1 the following: 

(a) Within 28 days after receipt of the Engineer’s Order to Commence the Works, the Contractor shall establish an office at the Site duly equipped for the Contractor’s representative and his superintending personnel.  The Contractor shall maintain this office throughout the Contract period. The said office shall be the legal domicile of the Contractor, and all correspondence sent to this office shall be deemed to have been sent to the Contractor’s head office.  
(b) A foreign Contractor or a Kenya-foreign joint venture, if not registered in Kenya under the applicable laws of Kenya, shall undertake registration upon receipt of the Letter of Acceptance and prior to signing of the Contract.  Add to Clause 8 the following Subclause 8.3:  
8.3
General Requirements 

(a) Materials delivered to the site by Contractor or materials made available or supplied by the Employer shall be used solely for the execution of the Works. 

(b) The Contractor shall minimize the pollution of and disturbance of lands, roads and other places on and around the Site. No trees or other vegetation shall be removed except to the extent necessary for the works. 

(c) The Contractor shall comply with the current Government regulations with regard to the transport, storage and use of explosives and radio-active materials and use of radio communication equipment. 

(d) The Contractor shall take all reasonable precautions: 

(i) In connection with any rivers, streams, waterways, drains, water courses, lakes and the like to prevent as a consequence of the works, silting, erosion of beds and banks and pollution of the water that may adversely affect the quality or appearance thereof or cause injury or death to human, animal or plant life.  
(ii) In connection with underground water resources, including percolating water, to prevent any interference as a consequence of the work with the supply to or abstraction from such sources and to prevent pollution of water that may adversely affect the quality thereof. 

(e) The Contractor shall provide, maintain and remove on completion of the Works, settling lagoons and other facilities to minimize pollution due to the Contractor’s operations including but not limited to quarrying, aggregate washing, concrete mixing and grouting. 

(f) The Contractor shall provide, maintain and remove on completion of the Works, fencing around the site installations including housing, camps, offices and laboratories, providing free access to the Employer, the engineer, other Contractors and any other persons entitled to such access and provide appropriate security measures on such access roads. 

(g) All buildings erected by the Contractor upon the site and camp sites, and the layout of the buildings and the sites, shall comply with the Laws of the country and all local By-laws in so far as they are applicable. 

(h) The Contractor shall be absolutely and solely responsible for the safety and security of Temporary Works including, but not limited to, all work yards, pilings, staging, dams, coffer dams, trenches, fencing or other works and for the Plant and Contractor’s Equipment in connection therewith which may be erected or provided for the execution of the Contract Works. 

(i) This provision shall be applicable to all temporary Works, Plant and Contractor’s Equipment whenever provided and erected by the Contractor or his Subcontractor(s) for the purpose of or in connection with the Contract Works.  
(j) The contractor shall keep in close contact with the police, Labour officers and all other officials as appropriate regarding their requirements for the control of workmen, restricted area permits or other matters and shall provide all assistance and facilities which may be required by such officials in the execution of their duties.  
10.1
Performance Security 

Replace the text of Subclause 10.1 with the following: 

The Contractor shall provide security for his proper performance of the Contract to the Employer within 28 days after the receipt of the Letter of Acceptance. The Performance Security shall be as stipulated in the Appendix to the Form of Bid. The Performance Security shall normally be in the currency or currencies requested for payment by the Contractor and in the same proportions as those requested for payment in the Contract. The Contractor shall notify the Engineer when providing the Performance Security to the Employer. 

The Performance Security shall be a bank guarantee which shall be issued either: 

(a) By a bank located in Kenya or a foreign bank through a correspondent established and reputable bank located in Kenya or; 

Without limitation to the provisions of the preceding paragraph, whenever the Engineer determines an addition to the Contract Price as a result of a change in cost and/or legislation or as a result of a variation amounting to more than 25 percent of the portion of the Contract Price payable in a specific currency, the Contractor, at the Engineer’s written request, shall promptly increase the value of the Performance Security in that currency by an equal percentage. 

The performance security of a joint venture shall be in the name of the joint venture. 

10.2
Period of Validity of Performance Security 

The performance security shall be valid until a date 28 days from the date of issue of the Taking-Over Certificate for the last section in case of partial handover. The security shall be returned to the Contractor within 28 days of expiration. 

10.3
Claims under Performance Security 

Delete sub-clause 10.3 

Add the following Subclause 10.4: 

10.4
Cost of Performance Security 

The cost of complying with the requirements of this clause shall be borne by the Contractor. 

11.1
Inspection of Site 

Add the words “and the Contractor shall be deemed to have based his tender on all the aforementioned” after the words “affect his tender”. Delete the last paragraph completely and replace with the following: The Employer in no way guarantees completeness nor accuracy of the soil, materials, subsurface and hydrological information made available to the Contractor at the time of bidding or at any other time during the period of the Contract, and the Contractor shall be responsible for ascertaining for himself all information as aforesaid for the execution of Works and his bid shall be deemed to have been priced accordingly. 

Add a new Subclause 11.2: 

11.2
Access to Data 

Data made available by the Employer in accordance with Subclause 11.1 shall be deemed to include data listed elsewhere in the Contract as open for inspection at the address stipulated in Appendix to the Form of Bid. 

14.1
Programme to be Submitted 

Delete Subclause 14.1 and replace with the following: 

The time within which the Programme shall be submitted shall be twenty-eight (28) days. This detailed Programme shall be based upon the programme submitted by the Contractor as part of his bid and shall, in no material manner, deviate from the said programme. 

The Contractor shall allow in his Programme for the following 11 public holidays per calendar year in Kenya upon which the Contractor shall not be permitted to work: 

· New Year’s Day (1st January)  
· Good Friday  
· Easter Monday  
· Labour Day (1st May)  
· Madaraka Day (1st June)  
· Idd-Ul-Fitr  
· Moi Day (10th October)
· Mashujaa Day (20th October)  
· Jamhuri Day (12th December)  
· Christmas Day (25th December)  
· Boxing Day (26th December) 

The Contractor should also allow per calendar year for a further two (2) unspecified public holidays which may be announced by the Government of Kenya with no prior notification, and upon which he shall not be permitted to work. 

The Programme shall be submitted in two copies in the form of a Critical Path Method Network (CPM Network) showing the order of procedure and description of the construction methods and arrangements by which he proposes to carry out the Works. In addition, the aforesaid critical path programme should be supplemented by: 

(i) A Gantt/time-bar chart detailing each construction activity, showing for each construction activity; the periods of construction activity planned; the percentage completion anticipated per month; the total estimated quantity of work; the average monthly production planned, and 

(ii) A detailed work method statement in respect of each construction activity. It should also be supplemented by a time-bar chart of the same programme. The programme shall be coordinated with climatic, groundwater and other conditions to provide for the completion of the works in the order and by the time specified. The Programme shall be revised at quarterly intervals and should include a chart of the principal quantities of the forecast for execution monthly. 

The detailed work method statement of each particular construction activity shall list by category/type and quantity the labour, skilled labour, supervisors, plant, equipment and materials to be employed on the particular construction activity; together with: the estimated average daily production anticipated, the estimated equipment availability and utilization factor anticipated and a detailed step description of the way in which resources are to be utilized to achieve the required rate of construction/production. 

The Contractor’s attention is particularly drawn to the need to familiarize himself with customs procedures in connection with importation and to allow sufficient time in its programme for these to be completed. 

During the execution of Works, the Contractor shall submit to the Engineer detailed particulars of any proposed amendments to the arrangements and methods submitted in accordance to the foregoing. 

If details of the Contractor’s proposals for Temporary Works are required by the Engineer for his own information the Contractor shall submit such detail within fourteen days of being requested to do so. 

The various operations pertaining to the Works shall be carried out in such a progressive sequence so as to achieve a continuous and consecutive output of fully completed road works inclusive of bridge works and culverts within the time limits specified in the Contract. 

The Contractor shall, wherever required by the Engineer, also provided in writing for information a detailed description of the arrangements and methods which the Contractor proposes to adopt for the execution of any particular part of the Works as directed by the Engineer. 

Progress reporting by the Contractor should be supported on a monthly basis with an up-to-date analysis of the progress including a statement on items which are or are about to become critical to the Progress of Works, along with proposals on how the Contractor intends to address the situation. 

The consent by the Engineer on any programme shall have no contractual significance other than that the Engineer would be satisfied if the work is carried out according to such programme, and that the Contractor undertakes to carry out the work in accordance with the programme, nor shall it limit the right of the Engineer to instruct the Contractor to vary the programme should circumstances make this necessary. The above shall not be taken to limit the right of the Contractor to claim for damage or extension of time to which he may be fairly entitled to in terms of the General Conditions of the Contract for delay or disruption of his activities. 

Notwithstanding the General Conditions of Contract Clause 14.1, the programme to be submitted for the execution of the Works shall, in addition to the programme of pure construction activities, include an alleviation programme for Site staff and labour in respect of Sexually Transmitted Disease (STD) including HIV/AIDS. The STD and HIV/AIDS alleviation programme shall indicate when, how and what cost the Contractor plans to satisfy the requirements of Subclause 19.1 herein and the related Technical Specifications. For each component, the programme shall detail the resources to be provided or utilized and any related sub-contracting proposed. The programme shall also include provision of a detailed cost estimate with supporting documentation. 

14.2
Revised Programme 

Add the following at the end of this subclause: 

The Contractor shall, when instructed by the Engineer, amend, correct or modify the Programme of the Works so as to take into account any delays and/or advances and modifications designs or for other reasons considered necessary by the Engineer. 

If, during the progress of the work, the quantities of work performed per month fall below those shown in the Programme, or if the sequence of operations is altered, or if the Programme is deviated from in any other way, the Contractor shall, within two weeks after being notified by the Engineer, submit a revised Programme necessary to ensure completion of the Works or any part thereof within the Time for Completion, or any extended time granted pursuant to Clause 43 and Clause 44 of the General Conditions of Contract or so as to take into account any delays or advances or for other reasons considered necessary by the Engineer without prejudice to the Employer’s right under Clause 63 of the General Conditions of Contract. 

Any proposal to increase the tempo of work must be accompanied by positive steps to increase production by providing more labour and plant on Site, or by using the available labour and plant in a more efficient manner. 

Should the Employer request and the Contractor undertake to finish the whole or part of the Works ahead of the time originally required by the Contract, payment for accelerating the work shall only be made if agreed to beforehand in writing and according to the terms of such agreement. 

If the Programme is to be revised by reason of the Contractor falling behind his Programme, he shall produce a revised Programme showing the modifications to the original Programme to complete the Works within the time as defined in Clause 43 of the General Conditions of Contract. 

The Employer shall have the right to withhold payment at any time if the Contractor fails to submit the contractual construction programmes in accordance with Subclause 14.1 above or revise construction programmes due to his negligence, failure or omission. 

14.3
Cash Flow Estimate to be Submitted 

The time limit within which a detailed cash flow estimate is to be submitted shall be twenty-eight (28) days. 

In preparing the estimates, the Contractor shall make provision for Advance payment, repayment of advance, retention, payment for services provided by the Employer and timing implications of Clause 60 Certificates and Payments. A schedule of Payments for both local and foreign currency expected to be made to the Contractor by the Employer, shall be provided. 

The cash flow estimate submitted with the bid shall be revised each time the construction Programme is submitted, and revised, under Subclauses 14.1 and 14.2 above 

15.1
Contractor’s Superintendence 

Add the following at the end of the first paragraph of Subclause 15.1: 

The Contractor shall, within seven (7) days of receipt of the Engineer’s Order to Commence the Works, inform the Engineer in writing, the name of the Contractor’s representative and the anticipated date of his arrival on Site. 

15.2
Contractor’s Agent or Representative 

Add the following Subclause 15.2: 

The Contractor’s agent or representative on the Site shall be an Engineer registered by the Engineer’s Registration Board of Kenya in accordance with the Laws of Kenya cap. 530 or have equivalent status approved by the Engineer and shall be able to read, write and speak English fluently. 

16.2
Engineer at Liberty to Object 

At the end of this clause add “by a competent substitute approved by the Engineer at the Contractor’s own expense”.

Add the following Subclauses 16.3 and 16.4: 

16.3
Language Ability of Superintending Staff 

A reasonable proportion of the Contractor’s superintending staff shall have a working knowledge of the language specified in the Appendix to Form of Bid pursuant to Subclause 5.1(a), or the Contractor shall have available on site at all times a number of competent interpreters, as required by the Engineer, to ensure proper transmission of instructions and information. 

16.4
Employment of Local Personnel 

The Contractor is encouraged to the extent practicable and reasonable, to employ staff and labour with appropriate qualifications who are Kenyan citizens. 

17.1
Setting Out 

The following additional paragraph shall apply to the provisions of the Subclause 17.1: 

(d) The checking of all the setting-out of the proposed works relative to existing ground features, to be undertaken prior to the commencement of fabrication of structural steel works for superstructures. This preparation is to include providing the facility for the Engineer to undertake a timely check on this setting-out and alerting the Engineer to any likely problems foreseen. 

The contractor shall give to the Engineer not less than 48 hours of notice of his intention to set out or give layout for any part of the works so that timely assignment can be made for checking the same. 

Add the following new Subclause 17.2: 

17.2
Notice to Engineer 

The Contractor shall give to the Engineer not less than 48 (Forty-eight) hours’ notice of his intention to set out or give levels for any part of the works so that timely arrangement may be made for checking or issuing instructions. He shall indicate therein by which date the information, if any, is required by him.” 

19.1
Safety, Security and Protection of the Environment 

Add Subclauses 19.1 (d), (e), (f), (g), (h), (i), (j), (k), (l) and (m) and the subsequent text as follows: 

(d) Notwithstanding the Contractor’s obligation under Subclauses 19.1 (a), (b) and (c) of the Conditions of Contract, the Contractor shall carry out, without limitation, the following measures with a view to reducing or eliminating adverse environmental effects by the site Works: 

(i) All quarries, borrow pits, diversions and detours shall be filled and landscaped, as far as practical, to their original condition after extraction of construction material.  
(ii) Soil erosion and sedimentation due to the surface runoff or water from culverts or other drainage structures should be avoided by putting in place proper erosion control measures.  
(iii) Long traffic diversion roads shall be avoided so as to minimize the effect of dust on the surrounding environment. In any case, all diversions shall be kept damp to reduce dust.  
(iv) Haulage routes shall be kept as short as possible and watered as necessary.  
(v) Spillage of oil, fuel, and lubricants shall be avoided. If spilt, they shall be collected and disposed of in such a way that there do not adversely affect the natural environment.  
(vi) Rock blasting near settlement areas shall be properly coordinated with the relevant officers of the Kenya government in an attempt to minimize levels of noise pollution and community interference. 

(e) The formulation and enforcement of an adequate safety programme shall be the obligation of the Contractor with respect to all the works under this Contract, regardless of whether performed by the Contractor or his Subcontractors. The Contractor shall, within 14 days after commencement of the Works, meet the Engineer to present and discuss his plan for the establishment of such safety measures as may be necessary to provide against accidents, unsafe acts, and so forth.  Within 28 days after commencement of the Works, the Contractor shall submit a written safety, security and environmental protection programme to the Engineer covering the overall works and based on the laws and regulations of Kenya. In addition, he shall prepare special safety programmes for blasting and handling of explosives as may be stipulated in the Specifications. 

(f) The Contractor shall take all due precautions to avoid soil and water contamination by spillage of oil, grease, fuel and paint in the equipment yard, workshop or the site of works. Lubricants should be recycled. 

(g) The Contractor shall install pollution control device in his asphalt plant.  
(h) The Contractor shall implement re-plantation and grading of steep slopes in quarries and borrow pits to prevent disfiguration of landscape. 

(i) The Contractor shall implement compensatory afforestation plan to counteract destruction of vegetation when required to do so by the Engineer. The Contractor shall pay proper attention to the aspect of borrow pit drainage to prevent formation of stagnant pools of water and incidence of mosquito vectors. All borrow pits will be provided with efficient drains which shall be connected to the natural outfalls. 

(j) Notwithstanding implementation of any other provision contained in the Conditions of Contract, the failure on the part of the Contractor or his staff in the cases listed below will be considered default on the part of the Contractor and will attract the terms of Subclause 63.1 for remedies. 

· Poor sanitation and solid waste in the workers’ camp 

· Possible transmission of communicable diseases, including HIV/AIDS, between local people and the Contractor’s workers 

· Poaching by the Contractor’s workers Illegal invasion of indigenous people by the Contractor’s labour. 

(k) All lights provided by the Contractor shall be screened so as not to interfere with any signal light on the railways or with any traffic or signal lights of any local or other authority. 

(l) The Contractor shall be deemed to be in possession of, and ensure that the Contractor’s personnel are fully aware of, relevant safety regulations. 

(m) The Contractor shall ensure that all equipment, tools and other items used in accomplishing the Works, whether purchased, rented or otherwise provided by the Contractor are in safe, sound and good condition for performing the intending function. 

Notwithstanding the terms of Clause 19.1 of the General Conditions of Contract, the Contractor shall throughout the contract (including the Defects Liability Period): 

(i) Conduct Information, Education and Consultation (IEC) campaign, at least every other month, addressed to all the Site staff and labour (including all Contractor’s Employees, all Subcontractors and Consultant’s employees, and all truck drivers and crew marketing deliveries to Site) and to the immediate local communities, concerning the dangers and impact of Sexually Transmitted Diseases (STD) in general and HIV/AIDS in particular;  
(ii) Provide male or female condoms for all Site staff and labour as appropriate; and 

(iii) Provide for STD and HIV/AIDS professional screening, diagnosis, counselling and full treatment (except that in the case of HIV/AIDS cases treatment shall be limited to referral to a dedicated national or regional HIV/AIDS programme) of all Site staff and labour. 

Amend Subclause 20.4 to read as follows: 

20.4
Employer’s Risks 

The Employer’s risks are: 

(a) Insofar as they directly affect the execution of the Works in Kenya where the Permanent Works are to be executed: 

(i) War and hostilities (whether war be declared or not), invasion, act of foreign enemies  
(ii) Rebellion, revolution, insurrection, or military or usurped power, or civil war 

(iii) Ionizing radiations or contamination by radio activity from any nuclear fuel, or from any nuclear waste from the combustion of nuclear fuel, radioactive toxic explosive or other hazardous properties of any explosive nuclear assembly or nuclear component thereof;  
(iv) Pressure waves caused by aircraft or other aerial devices travelling at sonic or supersonic speeds.

(v) Riot, commotion or disorder, unless solely restricted to the employees of the Contractor or of his Subcontractors and arising from the conduct of the Works 

(b) Loss or damage due to the use or occupation by the Employer of any section or part of the Permanent Works, except as may be provided for in the Contract  
(c) Loss or damage to the extent that it is due to the design of the Works, other than any part of the design provided by the Contractor or for which the Contractor is responsible, and 

(d) Any operation of the forces of nature (insofar as it occurs on the Site) which an experienced contractor: 

(i) Could not have reasonably foreseen, or 

(ii) Could reasonably have foreseen, but against which he could not reasonably have taken at least one of the following measures: 

i. Prevent loss or damage to physical property from occurring by taking appropriate measures, or 

ii. Insure against such loss or damage.” 

21.1
Insurance of Works and Contractor’s Equipment 

Delete the first sentence of this clause and replace with the following: 

“Prior to commencement of the Works the Contractor shall, without limiting his or the Employer’s obligations and responsibilities under Clause 20, insure to the satisfaction of the Employer.” 

Add the following words at the end of subparagraph (a) and immediately before the last word of subparagraph (b):

“it being understood the insurance shall provide for compensation to be payable in the types and proportions of the currencies required to rectify the loss or damage incurred.”

In Subclause 21.1(b), delete the words “or as may be specified in Part II of these Conditions”. 

21.2
Scope of Cover 

(a) Delete the words “from the start of Work at the Site” and substitute with the words “from the first working day after the commencement date”

Add the following Subclause 21.2 (c): 

(b) It shall be the responsibility of the Contractor to notify the insurance company of any change in the nature and extent of the Works and to ensure the adequacy of the insurance coverage at all times during the period of the Contract. 

Amend Subclause 21.4 to read as follows: 

21.4
Exclusions

There shall be no obligation for the insurances in Subclause 21.1 to include loss or damage caused by the risks listed under Subclause 20.4 subparagraphs (a) (i) to (v) above.

Add the following Subclause 21.5:

21.5
Insurance of Goods

The Contractor shall insure or cause to be insured all imported goods financed out of the proceeds of the Contract against marine and other hazards incidental to the acquisition, transportation and delivery thereof to the place of use or installation and where appropriate against all usual risks pertaining to the construction of the Works.

23.1
Third Party Insurance (Including Employer’s Property)

Add the following at the beginning of this Subclause:

Prior to commencement of the Works …

23.2
Minimum Amount of Insurance

Add the following at the end of this subclause:

… with no limits to the number of occurrences

25.1
Evidence of Terms of Insurance

Insert the words “as soon as practicable after the respective insurances have been taken out but, in any case,” before the words “prior to the start of Work at the Site”

Add the following Subclauses 25.5 to 25.8:

25.5
Source of Insurance

The Contractor shall be entitled to place all insurance relating to the Contract (including, but not limited to, the insurance referred to in Clauses 21, 23, and 24) with insurers from any eligible source country which has been determined to be acceptable to the Employer.

25.6
Insurance Notices

Each policy of insurance effected by the Contractor for the purpose of the Contract shall include a provision to the effect that the Insurer shall have a duty to give notice in writing to the Contractor and Employer of the date when a premium becomes payable not more than thirty (30) days after the giving of such notice.

25.7
Insurance in Kenya

The risks against which the Contractor is obliged to insure under the Contract shall be insured through established and reputable companies approved by the Employer and located in Kenya and any cover against risks which the Contractor may enjoy shall be insured in Kenya by an approved Kenyan Insurance Company in respect of the Contractor’s obligations under the Contract.

25.8
Notification to Insurers

It shall be the responsibility of the Contractor to notify the insurers under any of the insurances referred or event which by the terms of such insurances are required to be so notified and the Contractor shall indemnify and keep indemnified the Employer against all losses, claims, demands, proceedings, costs, charges and expenses whatsoever arising out of or in consequence of any default by the Contractor in complying with the requirements of this subclause whether as a result of avoidance of such insurance or otherwise.

Add the following Subclauses 26.2 and 26.3

26.2
Compliance with Statutes, Regulations

The Employer will repay or allow to the Contractor all such sums as the Engineer shall certify to have been properly payable and paid by the Contractor in respect of such fees, provided always that, without prejudice to Subclause 26.1, nothing contained in this sub clause shall be deemed to render the Employer liable to all claims which may be considered to fall within the provisions of Subclause 22.1.

26.3
Inspection and Audit by the Funding Agency

The Contractor shall permit the funding agency to inspect the Contractor’s accounts and records relating to the performance of the Contract and to have them audited by auditors appointed by the agency, if so, required by the agency.

28.2
Royalties

Add the following at the end of Subclause 28.2:

The Contractor shall also be liable for all payments or compensation, if any, that are levied in connection with the dumping of part or all of any such material.”

Add the following Subclauses 29.2 to 29.5:

29.2
Passage and Control of Traffic

The Contractor's attention is drawn to Specifications covering the Passage and Control of Traffic and in particular to the requirement for the submission of a detailed Programme for Passage of Traffic as required following the award of the Contract.

In case any operation connected with traffic which necessitates diversion, obstruction or closure of any road, railway or any other right of way, the approval of the Engineer or the Engineer’s Representative and the concerned authorities shall be obtained well in advance by the Contractor.

29.3
Reinstatement and Compensation for Damage to Persons or Property

The Contractor shall reinstate all properties whether public or private which are damaged in consequence of the construction and maintenance of the Works to a condition at least equal to that prevailing before his first entry on them.

If in the opinion of the Engineer the Contractor shall have failed to take reasonable and prompt action to discharge his obligations in the matter of reinstatement, the Engineer will inform the Contractor in writing of his opinion, in which circumstances, the Employer reserves the right to employ others to do the necessary work of reinstatement and to deduct the cost thereof from any money due or to become due to the Contractor.

The Contractor shall promptly refer to the Employer all claims, which may be considered to fall within the provisions of Clause 22.1.

29.4
Protection of Existing Works and Services

The Contractor shall acquaint himself with the position of all existing services, such as sewers, surface water drains, cables for electricity, data and telephone, telephone and lighting poles, water mains, and the like before commencing any excavation or other works likely to affect the existing services.

The Contractor will be held liable for all damage to roads, irrigation ditches, mains pipes, electric cables, lines or services of any kind caused by him or his subcontractors in the execution of the Works. The Contractor must make good any damage without delay and, if necessary, carry out any further work ordered by the Engineer or Engineer’s Representative, all at the Contractor’s cost. Where work is to be carried out in the vicinity of overhead power lines, the Contractor shall ensure that all persons working in such areas are aware of the relatively large distance that high voltage electricity can “short” to earth when crane, or other large masses of steel, are in the vicinity of power lines. The Contractor’s attention is drawn to appropriate standards which gives safe clearances for the various voltages.

The Contractor shall be held responsible for damage to existing works or services, and shall indemnify the Employer against any claims in this respect (including consequential damages). The Contractor shall be responsible for the reinstatement of the services, so affected, to the satisfaction of the Engineer.

In all cases where such works or services are exposed, they shall be properly shored, hung up or otherwise protected. Special care must be exercised in filling and compaction of the grounds under mains and cable. The exposed water meters, stopcock boxes and similar items shall be left uncovered.

As soon as any such existing works or services or structures are encountered on, over, under, in or through the Site during the performance of the Contract, the Contractor shall make a record of the location and description of such service or structure and shall send the same forthwith to the Engineer.

Installations adjacent to the Works shall be kept securely in place until the work is completed and shall then be made as safe and permanent as before.

Notwithstanding the foregoing requirements,
and without reducing the Contractor’s responsibility, the Contractor shall inform the Engineer immediately if any existing works or services are located, exposed or damaged.

29.5
Protection of Survey Beacons

The Contractor shall not remove, damage, alter or destroy in any way plot beacons. Should the Contractor consider that any beacons will be interfered with by the Work he shall notify the Engineer who, if he considers it necessary, will make arrangements for the removal and replacement of the beacons.

30.2
Transport of Contractor’s Equipment or Temporary Works

Add the following at the end of this subclause.

If it is found necessary for the Contractor to move one or more loads of heavy constructional plant and equipment, materials or pre-constructed units of work over roads, highways, bridges on which such oversized and overweight items are not normally allowed to be moved, the Contractor shall obtain prior permission from the concerned authorities. Payments for complying with the requirements, if any, for protection of or strengthening of the roads, highways or bridges shall be made by the Contractor and such expenses shall be deemed to be included in his Contract Price.

Add the following Subclauses 30.5 and 30.6.

30.5
Complying with State Laws and Regulations

Nothing contained above shall excuse the Contractor or any of his Subcontractor(s) from complying with state laws regulating traffic on highways and bridges.
30.6
Effects of other Concurrent Construction Projects

The Contractor shall be deemed to have fully familiarized himself with planned construction operations or any other concurrent construction projects in Kenya which may have any material effect on the Contractor’s own operations. In particular, the Contractor shall be deemed to have allowed for the effects of other concurrent construction contract(s) on any necessary transportation operations in connection with the Contract(s).

LABOUR

Add the following Subclauses 34.2 to 34.23

34.2
Labour Regulations

The Contractor and his Subcontractors shall, at all times, during the Contract period abide fully by the governing local laws and regulations.

The Contractor shall be responsible for making all arrangements for and shall bear all costs relating to recruitment, obtaining of all necessary visas, permits or other official permission for movements of staff and labour.

34.3
Engagement of Local Labour

The Contractor is encouraged to the extent practicable and reasonable to employ staff and labour with the required qualifications and experience from sources within Kenya, particularly in the vicinity of the Site.

34.4
Rates of Wages and Conditions of Labour

The Contractor shall pay rates of wages and observe conditions of labour not less favourable than those established for the trade or industry where the work is carried out. In the absence of any rates of wages or conditions of labour so established, the Contractor shall pay rates of wages and observe conditions of labour which are not less favourable than the general level of wages and conditions observed by other employers whose general circumstances in the trade or industry in which the Contractor is engaged are similar.

34.5
Repatriation of Labour

The Contractor shall be responsible for the return to the place where they were recruited or to their domicile of all such persons as he recruited and employed for the purposes of or in connection with the Contract, and shall maintain such persons as are to be so returned in a suitable manner until they shall have left the site or, in the case of persons who are not nationals of and have been recruited outside the Republic of Kenya shall have left Kenya or the site, as appropriate.

34.6
Housing for Labour

Save insofar as the Contract otherwise provides, the Contractor shall provide and maintain such accommodation and amenities as he may consider necessary for all his staff and labour, employed for the purposes of or in connection with the Contract, including all fencing, water supply (both for drinking and other purposes), electricity supply, sanitation, cookhouses, fire prevention and fire-fighting equipment, cookers, refrigerators, furniture, and other requirements in connection with such accommodation or amenities. On completion of the Contract, unless otherwise agreed with the Employer, the temporary camps or housing provided by the Contractor shall be removed and the site reinstated to its original condition, all to the approval of the Engineer.

34.7
Accident Prevention Officer

The Contractor shall have on his staff on Site an officer dealing only with questions regarding the safety and protection against accidents of all staff and labour. This officer shall be qualified for this work and shall have the authority to issue instructions and shall take protective measures to prevent accidents.

34.8
Health and Safety

Due precautions shall be taken by the Contractor, and at his own cost, to ensure the safety of his staff and labour and, in collaboration with and to the requirements of the local health authorities, to ensure that medical staff, first aid equipment and stores, sick bay and suitable ambulance services are available at the camps, housing, and on the Site at all times throughout the period of the Contract and that suitable arrangements are made for the prevention of epidemics and for all necessary welfare and hygiene requirements. Workers shall always be transported using vehicles that meet the current transport regulations.

34.9
Life Saving Appliances and First Aid Equipment

The Contractor shall provide and maintain upon the Works sufficient, proper and efficient life-saving appliances and first-aid equipment to the approval of the Engineer. The appliances and equipment shall be available for use at all times.

34.10
Measures against Insect and Pest Nuisance

The Contractor shall at all times take the necessary precautions to protect all staff and labour employed on the Site from insect nuisance, rats, and other pests and reduce the dangers to health and the general nuisance caused by the same. The Contractor shall provide his staff and labour with suitable prophylactics for the prevention of malaria, and shall take steps to prevent the formation of stagnant pools of water. He shall comply with all the regulations of the local health authorities in these respects and shall in particular arrange to spray thoroughly with approved insecticide all buildings erected on the Site. Such treatment shall be carried out at least once a year or as instructed by the Engineer. The Contractor shall warn his staff and labour of the dangers of bilharzias and wild animals.

34.11
Epidemics

In the event of any outbreak of illness of an epidemic nature, the Contractor shall comply with and carry out such regulations, orders, and requirements as may be made by the Government or the local medical or sanitary authorities for the purpose of dealing with and overcoming the same.

34.12
Burial of the Dead

The Contractor shall make any necessary arrangements for the transport, to any place as required for burial, of any of his expatriate employees or members of their families who may die in Kenya. The Contractor shall also be responsible, to the extent required by the local regulations, for making any arrangements with regard to burial of any of his local employees who may die while engaged upon the Works.

34.13
Supply of Foodstuffs

The Contractor shall arrange for the provision of a sufficient supply of suitable food at reasonable prices for all his staff, labour, and subcontractors for the purposes of or in connection with the Contract.

34.14
Supply of Water

The Contractor shall, so far as is reasonably practicable, having regard to local conditions, provide on the Site an adequate supply of drinking and other water for the use of the Engineer and his staff, the Contractor's staff and labour.

34.15
Alcoholic Liquor or Drugs

The Contractor shall not, otherwise than in accordance with the Statutes, Ordinances, and Government Regulations or Orders for the time being in force, import, sell, give, barter, or otherwise dispose of any alcoholic liquor or drugs, or permit or suffer any such importation, sale, gift, barter, or disposal by his subcontractors, agents, staff, or labour.

34.16
Arms and Ammunition

The Contractor shall not give, barter, or otherwise dispose of, to any person or persons, any arms or ammunition of any kind or permit or suffer the same as aforesaid.

34.17
Festivals and Religious Customs

The Contractor shall, in all dealings with his staff and labour, have due regard to all recognised festivals, days of rest, and religious and other customs.

34.18
Disorderly Conduct

The Contractor shall at all times take all reasonable precautions to prevent any unlawful, riotous, or disorderly conduct by or among his staff and labour and take all reasonable precautions for the preservation of peace and protection of persons and property in the neighbourhood of the Works against the same.

34.19
Records of Labour

The Contractor shall keep proper wages books, in the language stipulated in the Appendix to the Form Bid, pursuant to Sub-Clause 5.1 (a) showing the time worked and wages paid to all employees in and about the execution of the Works, together with such other records as are required by any Statute, Ordinance, Law, Regulation or Bye-Law in force in Kenya governing the employment of labour. He shall be bound, whenever required, to produce such wages books and other records for the inspection of any persons authorized by the Engineer.

34.20
Trade Unions

The Contractor shall recognize the freedom of his employees to be members of trade unions.

34.21
Default in payment of Wages

In the event of default in payment of wages of any workmen employed on the Contract, and if a claim thereafter is filed in the office of the Engineer and satisfactory proof thereof is furnished, the Employer shall be notified forthwith and may, failing payment of such claim by the Contractor, arrange the payment out of monies at any time payable under the Contract and the amount so paid shall be deemed payment to the Contractor under the Contract.

34.22
Breach and Removal from List

Should the Contractor or any subcontractor be found to be in breach of any of the provisions of Clause 34, the Employer may recommend to the Government for his removal from the list of approved Contractors.

34.23
Observance by Subcontractors

The Contractor shall be responsible for the observance by his subcontractor of the foregoing provisions.

Add the following Subclauses 35.2 and 35.3:

35.2
Maintenance of Records

The Contractor shall maintain such records and make such reports concerning safety, health and welfare of persons and damage to property as the Engineer may prescribe from time to time.

35.3
Reporting of Accidents

The Contractor shall report to the Engineer details of any accident as soon as possible after its occurrence. In the case of any fatality or serious accident, the Contractor shall, in addition, notify the Engineer immediately by the quickest available means. The Contractor shall also notify the relevant authority (ies) whenever such report is required by the law of Kenya.

MATERIALS, PLANT AND WORKMANSHIP

Rename Subclause 36.1 as below.

36.1
Quality of Materials, Equipment, Supplies, Plant, and Workmanship

Add the following paragraph at the end of this subclause.

The Contractor is encouraged, to the extent practicable and reasonable, to use materials, Contractor’s Equipment, Plant, and supplies from sources within Kenya.

COMMENCEMENT AND DELAYS

41.1
Commencement of Works

Replace the words “as soon as reasonably possible “with the words “on Site within 28 days”.

Add the following subclause:

41.2
Definition of Commencement

For the purposes of this subclause, the Works shall be deemed to have commenced when all of the following conditions are satisfied:

The approved competent and authorized agent or representative of the Contractor is resident in the project area and is giving his whole time to the superintendence of the Works.

The provision by the Contractor of evidence that all insurances required by the Contract are in force.

The Contractor has an established an office in the project area with postal address for receipt of correspondence.

The principal items of constructional plant have been brought to Site and put to work in the execution of the permanent Works.

42.1
Possession of Site and Access Thereto

At the end of Subclause 42.1, add the following:

The Contractor shall bear all costs and charges for such lands as the Contractor may reasonably require for camps, offices, workshops, diversion roads, borrow pits, and quarries and any additional facilities outside the site required by him for the purpose of works.

Add the following subclause:

42.4
Possession of Site and Access thereto

The Contractor shall not enter any part of the Site until he has requested and received permission to do so from the Employer or the Engineer.

The Contractor shall not use any portion of the Site for any purpose not connected with the Works.

45.1
Restriction on Working Hours

Delete Subclause 45.1 and substitute with the following:

If the Contractor requests for permission to work by day and night and if the Engineer shall grant such permission, the Contractor shall not be entitled to any additional payment for so doing.

All such work at night shall be carried out without unreasonable noise or other disturbance and the Contractor shall indemnify the Employer from and against any liability for damages on account of noise or other disturbance created while carrying out night work and from against all claims, demands, proceeding, costs, charges and expenses whatsoever in regard or in relation to such liability. In addition, the Contractor shall be required to provide, for any work carried out by night or recognized days of rest, adequate lighting and other facilities, so that the work is carried out safely and properly.

45.2
Overtime Hours

Working hours shall be observed by the Contractor as stipulated in the Labour Laws of Kenya. However, when deemed necessary to expedite the Works, overtime, night time or holiday working may be allowed by the Engineer in accordance with the provisions of Subclause 46.1. The Contractor, in these cases, shall pay all costs of the Engineer and his staff for such overtime, night time or holiday working at site as stipulated under Subclause 46.1 of the General Conditions of Contract.

47.2
Reduction of Liquidated Damages

The following supplements this subclause.

There shall be no reduction in the amount of liquidated damages in the event that a part or a section of the Works within the Contract is certified as completed before the whole of the Works comprising that Contract.

No bonus for early completion of the Works shall be paid to the Contractor by the Employer.

The sum stated in the Appendix to Form of Bid as liquidated damages shall be increased by a sum equivalent to any amount payable by the Employer to the Contractor under clause 70.1 in respect of an increase in costs in such period that would not have been incurred by the Contractor if the Works had been completed by the due date for completion prescribed by Clause 43.

Add the following Subclause 47.3:

47.3
Currency of Liquidated Damages

Liquidated damages shall be paid by the Contractor to the Employer in the types and proportions of currencies as shall be payable to the Contractor under the Contract.

DEFECTS LIABILITY

49.2
Completion of Outstanding Work and Remedying Defects

Add at the end of this subclause the following sentence:

Any work ordered to be executed under this subclause shall be carried out at a time and in a manner as directed by the Engineer so as to interfere as little as possible with the operations of the Employer or of other contractors and no extension(s) of the defects liability period will be allowed for the execution of this work.

Add Subclause 49.5 as follows:

49.5
Defects Liability Period Replacements

The provisions of this clause shall apply to all replacements or renewals of Plant and equipment to be provided with respect to the utilities under the Contract, carried out by the Contractor to remedy defects and damages as if the replacements and renewals had been taken over on the date they were completed. The Defects Liability Period for the Works shall be extended by a period equal to the period during which the Works cannot be used by reason of the defect or damage. If only part of the Works is affected the Defects Liability Period shall be extended only for that part.

ALTERATIONS, ADDITIONS AND OMISSIONS

52.1
Valuation of Variation

Add the following final sentences to this subclause:

The agreement, fixing or determination of any rates or prices as aforesaid shall include any foreign currency and the proportion thereof.

Where the Contract provides for the payment of the Contract Price in more than one currency, and varied work is valued at, or on the basis of, the rates and prices set out in the Contract, payment for such varied work shall be made in the proportions of various currencies specified in the Appendix to Form of Bid for payment of the Contract Price. Where the Contract provides for payment of the Contract Price in more than one currency, and new rates or prices are agreed, fixed, or determined as stated above, the amount or proportion payable in each of the applicable currencies shall be specified when the rates or prices are agreed, fixed, or determined, it being understood that in specifying these amounts or proportions the Contractor and the Engineer (or, failing agreement, the Engineer) shall take into account the actual or expected currencies of cost (and the proportions thereof) of the inputs of the varied work without regard to the proportions of various currencies specified in the Appendix to Form of Bid for payment of the Contract Price.

52.2
Power of Engineer to Fix rates

Add a final sentence to the first paragraph as follows:

Where the Contract provides for the payment of the Contract Price in more than one currency, the amount or proportion payable in each of the applicable currencies shall be specified when the rates or prices are agreed, fixed, or determined as stated above, it being understood that in specifying these amounts or proportions the Contractor and the Engineer (or, failing agreement, the Engineer) shall take into account the actual or expected currencies of cost (and the proportions thereof) of the inputs of the varied work without regard to the proportions of various currencies specified in the Appendix to Form of Bid for payment of the Contract Price.

52.3
Daywork

Add the following at the end of this subclause:

The Work so ordered shall immediately become part of the Works under the Contract. The Contractor shall, as soon as practicable after receiving the Daywork Order from the Engineer undertake the necessary steps for due execution of such Work. Prior to commencement of any work to be done on a Daywork basis, the Contractor shall give a notice to the Engineer stating the exact time of such commencement.

PROCEDURE FOR CLAIMS

53.1 Notice of Claims

Add the following at the end of this subclause:

The Contractor shall also state the references of the Contract Clauses and Subclauses on which he has based his claims.

CONTRACTOR’S EQUIPMENT, TEMPORARY WORKS AND MATERIALS

For the purpose of these subclauses, the term “Equipment” shall be read as “Contractor’s Equipment” where the context so requires.

54.1
Contractor’s Equipment, Temporary Works and Materials

Amend Subclause 54.1 as follows:

Line 5; add “written” between “the” and “consent”.

Add a final sentence to this subclause as follows:

The Contractor shall every month give to the Engineer a statement showing the amount of plant and Contractor’s equipment, which has been brought to the Site.

54.2
Employer not Liable for Damage

Delete this subclause entirely.

54.5
Conditions of Hire of Contractor’s Equipment

Delete this subclause entirely.

Add Subclauses 54.9 and 54.10 as follows:

54.9
Contractor’s Responsibilities for Licenses

The Contractor shall obtain his own information with regard to the granting of import and export licenses for materials, equipment and plant. The Contractor shall bear all expenses for Plant, Materials, Equipment and Maintenance required for the completion and maintenance of the works and shall be deemed to have satisfied himself with regard to all his liabilities under the laws and regulations governing the granting of these licenses. The Contractor shall ensure that requests for import and export licenses are submitted in sufficient time to clear all formalities before the said licenses are required.

54.10
Equipment and Plant

The Contractor shall identify each piece of his equipment, other than hand tools, by means of an identification number plainly stenciled or stamped on the equipment at a conspicuous location, and shall furnish to the Engineer a list giving the description of each piece of equipment and its identification number. In addition, the make, model number and empty gross weight of each unit of compaction equipment shall be plainly stamped or stenciled in a conspicuous place on the unit. The gross weight shall be either the manufacturer’s rated weight or the scale weight. The make, model, serial number and manufacturer’s rated capacity of each scale shall be clearly stamped on the load-receiving element and its indicator or indicators. All meters shall be similarly identified, rated and marked.

MEASUREMENT

55.1
Quantities

Add the following to this subclause:

The quality and quantity of the Work included in the Contract Price shall be deemed to be that which is set out in the Contract Bill of Quantities. The Bill of Quantities, unless otherwise expressly stated therein, shall be deemed to have been prepared in accordance with the principles of the latest edition of the Civil Engineering Standard Method of Measurement.

Any error in description or in quantity or any omission of items from the Contract Bill of Quantities or Specifications shall not vitiate this Contract but shall be corrected and deemed to be a variation required by the Engineer. Subject to the foregoing, any error whether arithmetical or not in the computation of the Contract Price shall be deemed to have been accepted by the parties hereto.

The Contract Price shall not be adjusted or altered in any way whatsoever otherwise than in accordance with the express provisions of these conditions.

Add the following new sub clause:

55.2
Bill of Quantities with no Rates

Any item of Work described in the Bill of Quantities for which no rate or price has been entered in the Contract shall be considered as included in other rates and prices in the Contract and will not be paid for separately by the Employer.

56.1
Works to be Measured

Delete Subclause 56.1 and replace with the following:

The Contractor shall prepare and submit to the Engineer all necessary field notes and other records taken and computations made for the purpose of quantity measurements, of which the forms shall be approved by the Engineer, for the monthly progress payment under Clause 60. The measurement of work quantities made by the Contractor shall be verified and certified by the Engineer based on the above mentioned documents.

The Contractor shall furnish all personnel, equipment and materials to make such surveys and computations as necessary to determine the quantities of work performed. Unless otherwise prescribed in the specifications or the drawings, all measurements for payment shall be made by the dimensions, lines and grades as shown on the drawings or by direct survey of which the methods shall be approved by the Engineer.

The documents submitted for measurement and payment shall become the property of the Employer and shall be used to the extent necessary to determine the monthly progress payment to be made to the Contractor under the Contract. Direct survey, if conducted, shall be subject to checking and verification by the Engineer and all errors in the said survey work and related computations as found during such checking shall be immediately corrected by the Contractor.

In case of any disagreement on an item of measurement, the Engineer’s opinion will prevail during the assessment of the statement for monthly interim payments. Should the Contractor consider himself entitled to any form of claim with respect to the disagreement in measurement, the procedure for such is detailed under Clause 53 of the Conditions of Contract.

57.1
Method of Measurement

Delete this subclause and substitute with the following:

The Works shall be measured net with deductions made in accordance with the principles of the latest edition of the Civil Engineering Standard Method of Measurement. All measurements shall be given in metric (SI) units.

PROVISIONAL SUMS

Add the following Subclause 58.4:

58.4
Prime Cost Sum

Wherever an item in the Bill of Quantities has been referred to as a “P.C. Sum” (Prime Cost Sum), that item shall be construed as a Provisional sum and the provisions of Subclauses 58.1 to 58.3 will apply.

NOMINATED SUBCONTRACTORS

59.5
Certification of Payment to Nominated Subcontractors

Add the following paragraph at the end of Subclause 59.5:

If the Engineer desires to secure final payment to any nominated subcontractor before final payment is due to the Contractor and if such subcontractor has satisfactorily indemnified the Contractor against any latent defects, the Engineer may, in an interim certificate, include an amount to cover the said final payment, and thereupon the Contractor shall pay to such nominated subcontractor the amount so certified. Upon such final payment, the amount named in the Appendix to Form of Bid as Limit of Retention Money shall be reduced by the sum which bears the same ratio to the amount as does the subcontract and subcontractor shall be discharged from all liability for the Work, materials or goods executed or supplied by such subcontractor under the Contract to which the payment relates.

CERTIFICATES AND PAYMENTS

Delete Subclauses 60.1 to 60.10 entirely and substitute with the following:

60.1
Advance Payment

In the event that an Advance Payment is granted, the following shall apply:

(a) On signature of the Contract, the Contractor shall at his request, and without furnishing proof of expenditure, be entitled to an advance of up to maximum of 10% (ten percent) of the original amount of the Contract Sum. The advance shall not be subject to retention money.

(b) No advance payment may be made before the Contractor has submitted proof of the establishment of deposit or of a directly liable guarantee satisfactory to the Employer in the amount of the advance payment. The guarantee shall be in the same currency as the advance.

(c) Amortization of the advance shall be effected by deductions from monthly interim payments.

(d) Amortization of the lump sum advance shall be made by deductions from the Interim payments and where applicable from the balance owing to the Contractor.

The amortization shall begin when the amount of the sums due under the Contract reaches 20% of the original amount of the Contract. It shall have been completed by the time 80% of this amount is reached.

The amount to be amortized by way of successive deductions shall be calculated by means of the formula:

	R
	=
	A (X1 – X11)

	
	
	80 – 20

	Where:
	

	R
	=
	Amount to be amortized

	A
	=
	Amount of the advance which has been granted

	X1
	=
	Amount of proposed cumulative payments as a percentage of the

	
	
	original amount of the Contract.  This figure will exceed 20% but

	
	
	not exceed 80%.

	X11 =
	Amount of the previous cumulative payments as a percentage of

	
	
	the original amount of the Contract. This figure will be below 80% but not less than 20%.




With each amortization, the counterpart of the directly liable guarantee may be reduced accordingly.

60.2
Interim Payment Certificate

The Contractor shall submit to the Engineer, in the manner required by the Engineer after the end of each month a statement showing the estimated total value of permanent Work properly executed and materials or goods for permanent works brought to Site up to the end of the previous month (if the value shall justify the issue of an interim certificate) together with any adjustments under Clause 70 and any outstanding claims and sums the Contractor considers may be due to him. The Contractor shall amend or correct his estimate as directed by the Engineer and the latter shall not accept it until he is satisfied that it is fair and reasonable. With respect to the said materials and goods, no payment for them shall be made unless:

(i) The materials are in accordance with the specifications for the Works.

(ii) The materials have been delivered to Site and are properly stored and protected against loss, damage or deterioration.

(iii) The Contractor’s record of the requirements, orders, receipts and use of materials are kept in a form approved by the Engineer, and such records are available for inspection by the Engineer.

(iv) The Contractor has submitted a statement of his cost of acquiring and delivering the materials and goods to the Site, together with such documents as may be required for the purpose of evidencing such cost.

(v) The materials are to be used within a reasonable time.

The Contractor will be paid on the certificate of the Engineer the amount due to him on account of the estimated total value of the permanent Work executed up to the end of the previous month together with such amount (not exceeding 75% of the value) as the Engineer may consider proper on account of materials and goods for permanent Work delivered by the Contractor on Site and in addition, such amount as the Engineer may consider fair and reasonable for any Temporary Works for which separate amounts are provided in the Bill of Quantities, all of which shall be subject to a retention of the percentage named in the Appendix to Form of Bid until the amount retained (hereinafter and in all Contract documents called the “Retention Money”) shall reach the “Limit of Retention Money” named in the said Appendix to the Form of Bid. Provided always that no interim certificate shall be issued for a sum [such sum always being the net amount thereof after all deductions for retention etc) less than that named in the

Appendix to Form of Bid as “Minimum Amount of Interim Certificate” at one time.

Within 14 days after receiving a statement from the Contractor as aforesaid, and subject to the Contractor having made such further amendments and corrections as the Engineer may require, the Engineer shall issue a Certificate of Payment to the Employer showing the amount due, with a copy to the Contractor.

The Engineer shall not unreasonably withhold certifying an Interim Payment Certificate and where there is a dispute regarding an item for payment, the Engineer may delete this disputed item from the Interim Payment Certificate and certify the remainder for payment provided the said payment is in accordance with the preceding paragraph. In cases of difference in opinion as to the value of any item, the Engineer’s view shall prevail.

60.3
Final Account and Final Payment Certificate

As soon as possible after the issue of Taking - Over Certificate or the termination of the Contract and not later than the time of issue of Defects Liability Certificate, the Contractor shall prepare and submit to the Engineer (with a copy to the Employer), a Statement of Final Account showing in detail the total value of work done in accordance with the Contract together with all sums paid in previous payments. Within thirty (30) after receipt of such further information as may be reasonably required from the Contractor for its verification, the Engineer shall check the said statement, prepare and submit a Final Payment Certificate to the Employer (with a copy to the Contractor).

The Final Payment Certificate shall state:

(a) The (final) total value of all Work executed in accordance with the Contract

(b) After giving credit to the Employer for all amounts previously paid to the Contractor, the balance, if any, due from the Employer to the Contractor or the Contractor to the Employer, as the case may be.

Unless the Contractor notifies the Engineer of his objection to the Final Payment Certificate within twenty-eight [28] days of delivery thereof, he shall be deemed to have agreed that he accepts the total Contract Price as set out in the Final Payment Certificate as full settlement for all work executed under the Contract including any claims, variations and omissions thereof.

However, a Final Certificate of Payment shall not be conclusive:

(i) To the extent that fraud or dishonesty relates to or affects any matter dealt with in the Certificate, or

(ii) If any arbitration or court proceedings under the Contract have been commenced by either party before the expiry of 90 days after the issue of the Final Certificate of Payment.

60.4
Payment of Certificates

Payment upon each of the Engineer’s Certificates for Interim Payments shall be made by the Employer within the time stated in the Appendix to Form of Bid from the date of the Engineer’s signature and issue of each Certificate of Payment to the Employer.

Payment upon the Engineer’s Final Payment Certificate shall be made by the Employer within the time stated in the Appendix to Form of Bid from the date of issue of the Final Certificate of Payment signed by the Engineer and countersigned by the Contractor or his authorized agent or representative.

Payments to the Contractor by the Employer shall be made in the currencies in which the Contract Price is payable into a bank account or accounts nominated by the Contractor.

Making of a payment by the Employer shall be considered to have been duly executed on the day that the Employer has issued a cheque.

60.5
Retention Money

One half of the retention money shall become due upon the issue of a Taking – Over Certificate and shall be paid to the Contractor when the Engineer shall certify in writing that the last section of the whole of the Works has been substantially completed and the other half shall be paid to the Contractor after the expiration of the Defects Liability Period and the issue of a Certificate under Clause 62. Provided always that if such time there shall remain to be executed by the Contractor any Works ordered during such period pursuant to Clauses 49 and 50 thereof, the Employer shall be entitled to withhold payment [until the completion of such Works] of so much of the second half of the Retention Money as shall in the opinion of the Engineer represent the Costs of the Works so remaining to be executed. Provided further that in the event of different Defects Liability Periods having become applicable to different parts of the Works pursuant to clause 48 hereof the expression “expiration of the Defect Liability Period” shall for the purpose of this subclause be deemed to mean the expiration of the latest of such periods.

60.6
Currency of Payment

The Contract price shall be stated in Kenya Shillings. All payments to the Contractor shall be made in Kenya shillings.

60.6
Overdue Payments

Unless otherwise stated in the Appendix to the Form of Bid interest shall be paid on the overdue amounts and the interest to be paid shall be based on the rates of the Central Bank of Kenya 28 days prior to the opening of the bids.

60.8
Correcting and Withholding

The Engineer may by any interim certificate or through the final account make any correction or modification to any previous certified sum and shall have authority, if any work or part thereof is not being carried out to his satisfaction, to omit or reduce the value of such work in any Interim Payment Certificate.

60.9
Completion by Sections

If a Taking-Over Certificate shall be issued for any section or part of the Works separately, the payments herein provided for on or after issue of such a Certificate shall be made in respect of such section or part and references to the Contract Price shall mean such part of the Contract Price as shall in the absence of agreement be apportioned thereto by the Engineer.

60.10
Statement at Completion

Not later than 14 days after the issue of the Taking-Over Certificate in respect of the whole of the works, the Contractor shall submit to the Engineer a statement at completion showing in detail and n a form approved by the Engineer:

(a) The final value of all work executed in accordance with the Contract up to the date stated in such Taking-Over Certificate.

(b) Any further sums which the Contractor considers to be due; and

(c) An estimate of amounts, which the Contractor considers, will become due to him under the Contract.

Estimated amounts at Completion shall be shown separately in the Statement. The Contractor shall amend and correct the Statement as directed by the Engineer who shall issue a Certificate at Completion to be processed in accordance with Subclause 60.4.

60.11
Final Statement

Not later than 56 days after the issue of the Defects Liability Certificate, the Contractor shall submit to the Engineer for consideration a draft final statement with supporting documents showing in detail and in the form approved by the Engineer:

The final value of all work executed in accordance with the Contract, and

Any further sums which the Contractor considers to be due to him.

If the Engineer disagrees with or cannot verify any part of the draft final statement, the Contractor shall submit such further information as the Engineer may reasonable require and shall make such changes in the draft as may be required.

60.12
Discharge

Upon submission of the Final Statement, the Contractor shall give to the Employer, with a copy to the Engineer, a written discharge confirming that the total of the Final Statement represents full and final settlement of all monies due to the Contractor arising out of or in respect of the Contract. Provided that such discharge shall become effective only after payment under the Final Payment Certificate issued pursuant to Subclause 60.14 has been made and the Performance Security referred to in Subclause 10.1 has been returned to the Contractor.

60.13
Final Payment Certificate

Upon acceptance of the Final Statement as given in Subclause 60.12, the Engineer shall prepare a Final Payment Certificate which shall be delivered to the Contractor’s authorized agent or representative for his signature. The Final Payment Certificate shall state:

(a) The final value of all work executed in accordance with the Contract

(b) After giving credit to the Employer for all amounts previously paid by the Employer, the balance, if any, due from the Employer to the Contractor or the Contractor to the Employer as the case may be

Final Certificate shall be issued for any sum due to the Contractor even if such is less than the sum named in the Appendix to the Form of Bid.

60.14
Cessation of Employer’s Liability

Unless the Contractor notifies the Engineer of his objection to the Final Certificate within 14 (fourteen) days of delivery thereof he shall be deemed to have agreed that he accepts the total Contract Price as set out in the Final Certificate as full settlement for all work executed under the Contract including any variations and omissions thereof.

62.1
Defects Liability Certificate

Delete the last sentence of this subclause beginning “Provided that the issue………in Sub-Clause 60.3”.

REMEDIES

63.1
Default of Contractor

Delete the last paragraph of this subclause and substitute with the following:

then the Employer may, after giving 14 days’ notice to the Contractor, enter upon the Site and expel the Contractor there from without thereby avoiding the Contract, or releasing the Contractor from any of his obligations or liabilities under the Contract, or affecting the rights and powers conferred on the Employer or the Engineer by the Contract, and may himself complete the Works or may himself complete the work or may employ any other contractor to complete the Works. The Employer or such other contractor may use for such completion so much of the Contractor’s Equipment, Plant, Temporary Works and materials, which have been deemed to be reserved exclusively for the execution of the Works, under the provisions of the Contract, as he or they may think proper, and the Employer may, at any time, sell any of the said Contractor’s Equipment, Temporary Works and unused Plant and materials and apply the proceeds of sale in or towards the satisfaction of any sums due or that may become due to him from the Contractor under the Contract.”

63.2
Valuation of Date of Expulsion

Modify the heading of Subclause 63.2 by substituting “Valuation at Date of Termination” for “Valuation at Date of Expulsion.” In Subclause 63.2, delete the word “termination” on the second and fifth lines and substitute “expulsion”.

63.3
Valuation of Date of Expulsion

Modify the heading of Subclause 63.3 by substituting “Payment after Expulsion” for “Payment after Termination.” In Subclause 63.3, delete the words “terminates the Contractor’s employment” on the first line and substitute “shall enter and expel the Contractor”.

63.4
Assignment of Benefit of Agreement

In Subclause 63.4, delete the word “termination” on the second line, and substitute “expulsion”.

Add the following at the end of this subclause:

But on the terms that a supplier or subcontractor shall be entitled to make any reasonable objection to any further assignment thereof by the Employer and the Employer may pay the supplier or subcontractor for any such materials supplied or Works executed under such agreement, whether the same be assigned as aforesaid or not, before or after the said determination, the amount due by such arrangement in so far as it has not already been paid by the Contractor.

Add the following subclause 63.5:

63.5
Corrupt or Fraudulent Practices

If in the judgment of the Employer the Contractor has engaged in corrupt or fraudulent practices, in competing for or in executing the Contract, then the Employer may, after having given 14 days’ notice to the Contractor, terminate the Contractor’s employment under the Contract and expel him from the Site, and the provisions of Clause 63 shall apply as if such expulsion had been made under Subclause 63.1.

For the purpose of this Subclause:

“corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.

“fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Borrower, and includes collusive practice among bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive the Employer of the benefits of free and open competition.

SPECIAL RISKS

Subclause 65.2 is amended to read as follows:

65.2
Special Risks

The Special Risks are the risks defined under paragraph (a), subparagraphs. (i) to

of Subclause 20.4 of the Conditions of Contract”.

65.4
Projectile, Missile

Delete “whenever and wherever occurring” under line 2 and add “on or near the site” after “explosive of war” under line 3.

Add Subclause 65.9 as follows:
65.9
Special Risks

In the event of the Employer unilaterally ordering the final cessation of performance of the Contract for reasons not specified elsewhere in the Conditions of Contract the Contract shall be considered to be frustrated and the Contractor shall be indemnified as provided for under Clause 65.1.

In the event of the Employer ordering the adjournment of the Contract before or after commencement of the Works for reasons not specified elsewhere in the Conditions of Contract, the Contractor shall be entitled to indemnity for any injury which he may have suffered as a consequence of such adjournment.

The Engineer shall award the Contractor payment of such sum as in his opinion shall be reasonable giving regard to all material and relevant factors including the Contractor’s on costs and overheads, and the nature of the instruction to adjourn the Contract.

SETTLEMENT OF DISPUTES

67.1
Dispute Review Expert

“If a dispute of any kind whatsoever arises between the Employer and the Contractor in any connection with, or arising out of, the Contract or the execution of the works, whether during the execution of the works or after their completion and whether before or after repudiation or other termination of the Contract including any dispute as to any opinion, instruction, determination, certificate or valuation of the Engineer, the matter in dispute shall, in the first place, be referred in writing to the Engineer, with a copy to the other party. Such reference shall state it is made pursuant to this clause. No later than 28 (twenty-eight) day after the day on which he received such reference the Engineer shall give notice of his decision to the Employer and the Contractor. Such decision shall state it is made pursuant to this clause.

Unless the Contract has already been repudiated or terminated, the Contractor shall, in every case, continue to proceed with the works with all due diligence and the Contractor and the Employer shall give effect forthwith to every such decision of the Engineer unless and until the same shall be revised, as hereinafter provided, in an Amicable Settlement, Adjudicator’s or Arbitrator’s award.

If either the Employer or the Contractor be dissatisfied with the any decision of the Engineer, or if the Engineer fails to give notice of his decision on or before the 28th (twenty eighth) after the day on which he received the reference, then either the Employer or the Contractor may, on or before the 28th (twenty eighth) day after the day on which he received notice of such decision, or on or before the 28th (twenty eighth) day after the day on which the said period of 28 days expired, as the case may be, give notice to the other party, with a copy for information to the Engineer, of his intention to commence Adjudication, as hereinafter provided, as to the matter in dispute. Such notice shall establish the entitlement of the party giving the same to commence Adjudication, as hereinafter provided, as to such dispute; no adjudication in respect thereof may be commenced unless such notice is given.

If the Engineer has given notice of his decision as to a matter in dispute to the Employer and the Contractor and no notice of intention to commence adjudication as to such dispute has been given by either the Employer or the Contractor on or before the twenty eighth day after the day on which the parties received notice as to such decision from the Engineer, the said decision shall become final and binding upon the Employer and the Contractor. “

67.2
Amicable Settlement

which inter allia states that

“Where notice to of intention to commence adjudication as to a dispute has been given in accordance with subclause 67.1, the parties shall attempt to settle such dispute amicably before the commencement of Adjudication; provided that, unless the parties otherwise agree, Adjudication may be commenced on or after the 14th (fourteenth) day after the day on which notice of intention to commence adjudication of such dispute was given, even if an attempt at amicable settlement thereto has been made.”

67.3
Arbitration

"Any dispute which has proceeded to Arbitration shall be settled under the Arbitration Laws of the Republic of Kenya. For the purposes of this sub clause, the Arbitrator shall be persons to be agreed upon between the parties or failing agreement to be nominated on the application of either party by the appointee designated in the Appendix to Form of Bid for the purpose and any such referee shall be deemed to be a submission to arbitration within the meaning of the Arbitration Laws of the Republic of Kenya.

67.4
Failure to Comply with Recommendations

Delete the entire sub clause

NOTICES

68.1
Notices to Contractor

Add the following at the end of this subclause:

Notwithstanding the foregoing, the Contractor shall either maintain an address close to the Works or appoint an agent residing close to the Works for the purpose of receiving notices to be given to the Contractor under the terms of the Contract. This obligation shall be terminated upon the issue of the Certificate of Completion.

68.2
Notices to Employer and Engineer

Delete the words “nominated for that purpose in Part II of these Conditions” in this subclause and substitute with “given in the Appendix to Form of Bid”.

DEFAULT OF EMPLOYER

Under Subclause 69.1, 69.4 and 69.5, substitute “Subclause 60.4 for “Subclause 60.10”.

69.1
Default of Employer

In Subclause 69.1 (a), delete the words “28 days” in the second sentence and substitute with the words “60 days”.

Delete Subclause 69.1 (d).

69.3
Payment on Termination

Delete from “, but in addition to the payments specified...” to the end of the

Subclause.

69.4
Contractor’s Entitlement to Suspend Work

Delete the words ’28 days’ and substitute with ’60 days”.

Delete sub-clause 69.4 (b) and substitute with the following:

the amount of such cost, which shall be added to the Contract Price. However, the costs due to idle time for plant, equipment and labour shall not be included in the said costs and shall be borne by the Contractor.

Add to Subclause 69.4 as follows:

Without prejudice to the Contractor’s entitlement to interest under Subclause 60.7 (of these Conditions of Particular application) and to terminate under Subclause 69.1, the Contractor may suspend work or reduce the rate of work within 56 days after notification by the Foreign Funding Agency to the Kenya Government that the Financier has suspended disbursements from its loan, which finances in whole or in part the execution of the Works.

CHANGES IN COST AND LEGISLATION

Delete Clause 70 in its entirety, and substitute by 70.1 – 70.8 (inclusive):

70.1
Price Adjustment

“The amounts payable to the Contractor, in various currencies pursuant Sub-Clause 60.1, shall be adjusted in respect of the rise or fall in the cost of labour, Contractor’s Equipment, Plant, materials, and other inputs to the Works, by applying to such amounts the formulae prescribed in this Clause.
70.2
 Other Changes in Cost

To the extent that full compensation for any rise or fall in costs to the Contractor is not covered by the provisions of this or other Clauses in the Contract, the unit rates and prices included in the Contract shall be deemed to include amounts to cover the contingency of such other rise or fall of costs. 

70.3
Adjustment Formulae

The adjustment to the Interim Payment Certificates in respect of changes in cost and legislation shall be determined from separate formulae for each of the currencies of payment and each of the types of construction work to be performed and Plant to be supplied. The formulae will be of the following general type: 

[image: image11.emf]


 
130 



 



Construction of Upperhill – Mbagathi Link Roads  
Tender No.: KURA/DEV/HQ/231/2015-2016 
Bid Document 



69.3 Payment on Termination 



Delete from “, but in addition to the payments specified...” to the end of the 
Subclause. 



69.4 Contractor’s Entitlement to Suspend Work 



Delete the words ’28 days’ and substitute with ’60 days”. 
 
Delete sub-clause 69.4 (b) and substitute with the following: 
 
the amount of such cost, which shall be added to the Contract Price.  However, the 
costs due to idle time for plant, equipment and labour shall not be included in the 
said costs and shall be borne by the Contractor. 
 
Add to Subclause 69.4 as follows: 
 
Without prejudice to the Contractor’s entitlement to interest under Subclause 60.7 
(of these Conditions of Particular application) and to terminate under Subclause 
69.1, the Contractor may suspend work or reduce the rate of work within 56 days 
after notification by the Foreign Funding Agency to the Kenya Government that the 
Financier has suspended disbursements from its loan, which finances in whole or 
in part the execution of the Works.  
 
 



70          CHANGES IN COST AND LEGISLATION 



 
 Delete Clause 70 in its entirety, and substitute by 70.1 – 70.8 (inclusive): 



 
70.1Price 
Adjustment 



“The amounts payable to the Contractor, in various currencies pursuant to 
Sub-Clause 60.1, shall be adjusted in respect of the rise or fall in the cost 
of labour, Contractor’s Equipment, Plant, materials, and other inputs to the 
Works, by applying to such amounts the formulae prescribed in this 
Clause. 
 



70.2 Other 
Changes in Cost 



To the extent that full compensation for any rise or fall in costs to the 
Contractor is not covered by the provisions of this or other Clauses in the 
Contract, the unit rates and prices included in the Contract shall be 
deemed to include amounts to cover the contingency of such other rise or 
fall of costs. 
 



70.3 Adjustment 
Formulae 



The adjustment to the Interim Payment Certificates in respect of changes 
in cost and legislation shall be determined from separate formulae for 
each of the currencies of payment and each of the types of construction 
work to be performed and Plant to be supplied. The formulae will be of 
the following general type: 
 



¸
¹
·



¨
©
§�¸



¹
·



¨
©
§�¸



¹
·



¨
©
§�¸



¹
·



¨
©
§�¸



¹
·



¨
©
§�¸



¹
·



¨
©
§� 



RSo
RSng



Co
Cnf



Bo
Bne



Fo
Fnd



Eo
Enc



Lo
LnbApn  



  
Where: 
 
pn is a price adjustment factor to be applied to the amount in each specific 











Where:

pn is a price adjustment factor to be applied to the amount in each specific currency for the payment of the work carried out in the subject month, determined in accordance with Sub-Clause 60.1 (d), and with Sub-Clauses 60.1 (e) and (f), where such variations and Daywork are not otherwise subject to adjustment;

A is a constant, specified in the Appendix to Bid, representing the nonadjustable portion in contractual payments;

b, c, d, etc., are weightings or coefficients representing the estimated proportion of each cost element (labour, materials, equipment usage, etc.) in the Works or sections thereof, net of Provisional Sums, as specified in the Appendix to Bid;

Ln, En, Fn, Bn, Cn and RSn are the current cost indices or reference prices of the cost elements in the specific currency for month “n,” determined pursuant to Sub-Clause 70.5, applicable to each cost element; and

Lo, Eo, Fo, Bo, Co and RSo are the base cost indices or reference prices corresponding to the above cost elements at the date specified in Sub-Clause 70.5.

If a price adjustment factor is applied to payments made in a currency other than the currency of the source of the index for a particular indexed input, a correction factor Zo/Zn will be applied to the respective component factor of pn for the formula of the relevant currency. Zo is the number of units of currency of the country of the index, equivalent to one unit of the currency of payment on the date of the base index, and Zn is the corresponding number of such currency units on the date of the current index.

70.4
Sources of indices and weightings

“The sources of indices shall be those listed in the Appendix to Bid, as approved by the Engineer. Indices shall be appropriate for their purposeand shall relate to the Contractor’s proposed source of supply of inputs on the basis of which his Contract Price and expected foreign currency requirements shall have been computed. As the proposed basis for price adjustment, the Contractor shall have submitted with his bid the tabulation of Weightings and Source of Indices in the Appendix to Bid, which shall be subject to approval by the Engineer.

70.5
Base, Current and Provisional Indices

The base cost indices or prices shall be those prevailing on the day 28 days prior to the latest date for submission of bids. Current indices or prices shall be those prevailing on the day 28 days prior to the last day of the period to which a particular Interim Payment Certificate is related. If at any time the current indices are not available, provisional indices as determined by the Engineer will be used, subject to subsequent correction of the amounts paid to the Contractor when the current indices become available.

70.6
Adjustment after completion


If the Contractor fails to complete the Works within the time for completion prescribed under Clause 43, adjustment of prices thereafter until the date of completion of the Works shall be made using either the indices or prices relating to the prescribed time for completion, or the current indices or prices, whichever is more favourable to the Employer, provided that if an extension of time is granted pursuant to Clause 44, the above provision shall apply only to adjustments made after the expiry of such extension of time.

70.7
Weightings 

The weightings for each of the factors of cost given in the Appendix to Bid shall be adjusted if, in the opinion of the Engineer, they have been rendered unreasonable, unbalanced or inapplicable as a result of varied or additional work already executed or instructed under Clause 51 or for any other reason.

70.8
Subsequent Legislation

If, after the date 28 days prior to the latest date for submission of bids for the Contract, there occur in the country in which the Works are being or are to be executed changes to any National or State Statute, Ordinance, Decree, or other Law or any regulation or by-law of any local or other duly constituted authority, or the introduction of any such State Statute, Ordinance, Decree, Law, regulation or by-law which causes additional or reduced cost to the Contractor, other than under the preceding sub-clauses of this clause, in the execution of the Contract, such additional or reduced cost shall, after due consultation with the Employer and the Contractor, be determined by the Engineer and shall be added to or deducted from the Contract Price and the Engineer shall notify the Contractor accordingly, with a copy to the Employer. Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same shall already have been taken into account in the indexing of any inputs to the Price Adjustment Formulae in accordance with the provisions of Sub-Clauses 70.1 to 70.7.”

CURRENCY AND RATES OF EXCHANGE

72.2
Currency Proportions

Delete the words from “prevailing, as determined by the Central Bank...” to the end of the subclause and substitute with “stated by the Contractor in the standard forms, included with his Original Bid.”

Add Subclause 72.4 as follows:

72.4
Substantial Changes in Currency Requirements

The foreign and local currency portions of the Contract Price shall be amended by agreement between the Employer and the Contractor to reflect any substantial changes in the expected foreign and local currency requirements of the Contractor during the execution of the Works, provided that:

(a) The Contractor shall inform the Employer and the Engineer whenever any such substantial change occurs; or

(b) The Engineer may recommend a review of such expected requirements if in his judgement there is evidence of a change in the country of the origin of materials, Plant, or services to be provided under the Contract which should result in any substantial change of such expected requirements.

ADDITIONAL CLAUSES

73.1
Foreign Taxation

The prices bid by the Contractor shall include all taxes, duties, and other charges imposed outside Kenya on the production, manufacture, sale, and transport of the Contractor’s Equipment, Plant, materials, and supplies to be used on or furnished under the Contract, and on the services performed under the Contract.

73.2
Local Taxation

The prices bid by the Contractor shall include all customs duties, import duties, business taxes, and income and other taxes that may be levied in accordance with the laws and regulations, being on the date 28 days prior to the latest date for submission of bids, in Kenya, on the Contractor’s Equipment, Plant, materials, and supplies (permanent, temporary and consumables) acquired for the purpose of the Contract and on the services performed under the Contract. Nothing in the Contract shall relieve the Contractor from his responsibility to pay any tax that may be levied in Kenya on profits made by him in respect of the Contract.

73.3
Income Tax on Staff

The Contractor’s staff and labour will be liable to pay personal income taxes in Kenya in respect of such of their salaries and wages as are chargeable under the laws and regulations for the time being in force, and the Contractor shall perform such duties in regard to such deductions thereof as may be imposed on him by such laws and regulations.

73.4
Duties on Contractor’s Equipment

Notwithstanding the provisions of Subclause 73.2, the Contractor’s Equipment, including essential spare parts therefore, imported by the Contractor for the sole purpose of executing the Contract shall not be temporarily exempt from the payment of import duties and taxes upon initial importation.

A copy of the bond or bank guarantee endorsed by the customs authorities shall be provided by the Contractor to the Employer upon the importation of individual items of Contractor’s Equipment and spare parts. Upon export of individual items of Contractor’s Equipment or spare parts, or upon completion of the Contract, the Contractor shall prepare, for approval by the customs authorities, an assessment of the residual value of the Contractor’s equipment and spare parts to be exported, based on the depreciation scale(s) and other criteria used by the customs authorities for such purposes under the provisions of the applicable law. Import duties and taxes shall be due and payable to the customs authorities by the Contractor on:

(a) The difference between the initial imported value and the residual value of the Contractor’s Equipment and spare parts to be exported; and

(b) The initial imported value of that Contractor’s Equipment and spare parts remaining in Kenya after completion of the Contract.

Upon payment of such dues within 28 days of being invoiced, the bond or bank guarantee shall be reduced or released accordingly; otherwise the security shall be called in the full amount remaining.

For equipment imported by the Contractor for the sole use of the Engineer and which will revert to the ownership of the Employer, import duties and taxes shall be paid upon initial importation.

73.5
Declaration against Waiver

The condoning by the Employer of any breach or breaches by the Contractor or any authorized subcontractor of any of the stipulations and Conditions contained in the Contract shall in no way prejudice or affect or be construed as a waiver of the Employer’s rights, powers and remedies under the Contract in respect of any breach or breaches as aforesaid.

73.6
Employer’s Officials

No official of the Employer or the Engineer or the Engineer’s Representative or anyone of their respective staffs or their employees shall be in any way personally bound or liable for the acts or obligations of the Employer under the Contract or answerable for default or omission in the observance or performance of any of the acts, matters or things which are herein contained.

74.1
Illegal Payments

If the Contractor, or any of his Sub-Contractors, agents or servants gives or offers to give to any person any payment, gift, gratuity or commission as an inducement or reward for doing or forbearing to do any action in relation to the Contract or any other contract with the Employer, or for showing or forbearing to show favour or disfavour to any person in relation to the Contract or to any other contract with the Employer, then the Employer may enter upon the Site and the Works and expel the Contractor and the provisions of Clause 63 hereof shall apply as if such entry and expulsion had been made pursuant to that Clause.

75.1
Termination of Contract for Employer’s Convenience

The Employer shall be entitled to terminate this Contract at any time for the Employer’s convenience after giving 56 days prior notice to the Contractor, with a copy to the Engineer. In the event of such termination, the Contractor:

(a) Shall proceed as provided in Subclause 65.7, and

(b) Shall be paid by the Employer as provided in Subclause 65.8.

76.1
Restriction on Eligibility

(a) Any Plant, materials, or services which will be incorporated in or required for the Works, as well as the Contractor’s Equipment and other supplies, shall have their origin in any of the countries and territories eligible under the Foreign Financier’s Rules for Procurement.

(b) For the purposes of this clause, ‘origin’ means the place where the materials and equipment were mined, grown, produced, or manufactured or from which the services are provided.

(c) The origin of goods and services is distinct from the nationality of the supplier.

77.1
Joint and Several Liability

If the Contractor is a joint venture of two or more persons, all such persons shall be joint and severally bound to the Employer for the fulfilment of the terms of the Contract and shall designate one of such persons to act as a leader with authority to bind the joint venture. The composition or the constitution of the joint venture shall not be altered without the prior consent of the Employer.

78.1
Details to be Confidential

The Contractor shall treat the details of the Contract as private and confidential, save insofar as may be necessary for the purposes thereof, and shall not publish or disclose the same or any particulars thereof in any trade or technical paper or elsewhere without the previous consent in writing of the Employer or the Engineer. If any dispute arises as to the necessity of any publication or disclosure for the purpose of the Contract the same shall be referred to the Employer whose determination shall be final.

78.2
Drawings and Photographs of the Works

The Contractor shall not disclose details of drawings furnished to him and works on which he is engaged without the prior approval of the Engineer in writing. No photograph of the work or any part thereof or equipment employed thereon shall be taken or permitted by the Contractor to be taken by any of his employees or any employees of his Subcontractors without the prior approval of the Engineer in writing and no such photographs shall be published or otherwise circulated without the approval of the Engineer in writing.

79.1
Official Visitors

The Contractor shall at all times when authorized by the Engineer give free and undisputed access of all facilities to any authorized employee of the Kenya Government or other authorized person wishing to view or inspect any part of the Site or Works or the materials therein.

80.1
Substantial Completion of the Works

The Contractor shall note that the Engineer reserves the right to certify the Works to be “substantially completed” in accordance with the provisions of Clause 48 of the General Conditions of Contract, unless the following portions of the Works are completed according to the Specifications:

(a) Works up to and including the bituminous wearing courses,

(b) All drains and drainage structures including bridges

(c) Construction of the shoulders,

(d) Finishing of medians and slopes of cuts and fills and

(e) Reinstatement and environmental treatment of quarries and borrow pits.

81.1
Monthly Site Meetings

The Contractor or his authorised representative shall attend monthly meetings on the site with representatives of the Employer and the Engineer at dates and times to be determined by the Engineer. Such meetings will be held for evaluating the progress of the Contract and for discussion of matters pertaining to the Contract which any of the parties represented may wish to raise. Such meetings are not intended for discussing matters concerning the normal day-to-day running of the Contract.

The Contractor shall prepare and submit to the Resident Engineer one week before the meeting a monthly report in the format approved by the Engineer giving all the information and details regarding its accomplishment against the prevailing approved programme.

81.2
Minutes of Site Meetings

Agreements recorded in the Minutes of the Site Meetings are binding to all parties, if objections to the minutes have not been given in due time.

The Minutes of the Site Meetings shall be issued within 7 days and shall be numbered consecutively. Minutes shall be deemed to have been received by the Contractor unless the Contractor gives notice at the following meeting that the Minutes were not received.

Any objections to the Minutes of the Site Meetings shall at the latest be raised at the succeeding Site Meeting or presented to the Engineer in writing not later than 2 weeks after the meeting. If the Contractor at this time has not received the Minutes of the Site Meeting, the objection must be given in writing to the Engineer not later than 2 working days after the subsequent receipt of the said Minutes.

82.1
Legal Provisions

The Contractor shall keep himself fully conversant with the latest enactment’s, provisions and regulations of all legislative and statutory bodies, and, in all respects and at all times, shall comply with such enactment’s, provisions and regulations in regard to executing the Contract.

83.1
Noise and Disturbance

All works shall be carried out without unreasonable noise and disturbance. The Contractor shall indemnify and keep indemnified the Employer from and against any liability for damages on account of noise or other disturbances created while or in carrying out the work and from and against all claims, demands, proceedings, damages, costs, charges and expenses whatsoever in regard to or in relation to such liability.

83.2
Pollution

Subject, and without prejudice, to any other provision of the Contract and the law of the land and its obligations as applicable, the Contractor shall take all reasonable precautions in connection with:

(a) The rivers, streams, waterways, drains, water-course, lakes, reservoirs and the like to prevent:

(i) Silting

(ii) Erosion of their beds and banks, and

(iii) Pollution of the water so as to affect adversely the quality or appearance thereof or cause injury or death to animal and plant life.

(b) The underground water resources including percolating water to prevent:

(i) Any interference with the supply to or obstruction from such sources, and

(ii) Pollution of the water which may adversely affect the quality thereof.

The Contractor shall further comply with any and all laws, rules and regulations of governmental agencies having jurisdiction which now exist or which may be promulgated during the course of the works contracted for herein, relating to the control, regulation and prevention of pollution. Not by way of limitation of the foregoing, but in furthermore thereof, the Contractor shall use the highest prevailing and approved standards of care and diligence to prevent and to take care of all waste, oil, water and other waste materials that may accumulate and be caused by the Contractor’s operations and performance of this Contract so as to prevent pollution of any nature or kind resulting from the Works performed under this Contract.

SECTION 8: SCHEDULE OF SUPPLEMENTARY INFORMATION
SCHEDULE OF SUPPLEMENTARY INFORMATION

CONTENTS

105SCHEDULE 1: CONFIDENTIAL BUSINESS QUESTIONAIRE


107SCHEDULE 2: FORM OF WRITTEN POWER OF ATTORNEY


108SCHEDULE 3: CERTIFICATE OF BIDDER’S VISIT TO SITE


109SCHEDULE 4: SCHEDULE OF BASIC RATES OF MATERIALS


111SCHEDULE 5: MAJOR ITEMS OF CONSTRUCTION PLANT AND EQUIPMENT


112SCHEDULE 6: KEY PERSONNEL


113SCHEDULE 7: SCHEDULE OF ROAD-WORKS CARRIED OUT BY THE TENDERER IN THE LAST FIVE YEARS.


114SCHEDULE 8: SCHEDULE OF ONGOING PROJECTS


115SCHEDULE 9: FINANCIAL STANDING


116SCHEDULE 10: SCHEDULE OF LOCAL LABOUR BASIC RATES


117SCHEDULE 11: DETAILS OF SUBCONTRACTORS


118SCHEDULE 12: OTHER SUPPLEMENTARY INFORMATION


119SCHEDULE 13: WORK METHODOLOGY




SCHEDULE 1: CONFIDENTIAL BUSINESS QUESTIONAIRE

You are requested to give the particulars indicated in Part 1 and either Part 2 (a). 2(b) or 2 (c) whichever applies to your type of business.

You are advised that it is a serious offence to give false information on this Form.

Part 1 - General:

Business Name:............................................................................................

Location of business premises: ..........................Country/Town..............................

Plot No............................................................Street/Road....................................
Postal Address....................................... Tel No.............................................

Nature of Business...........................................................................................

Current Trade License No............................. Expiring date..................................

Maximum value of business which you can handle at any time: Kshs. ...........................

Name of your bankers....................................................................................

Branch.....................................................................................................

Part 2 (a) – Sole Proprietor:

Your name in full...................................................................Age....................

Nationality...............................Country of Origin.......................................

*Citizenshipdetails.....................................................................................

Part 2 (b) – Partnership: 

Give details of partners as follows: 


Name


Nationality

Citizenship Details

shares
1
………………….

…………………..

……………………..

………….

2
………………….

…………………..

……………………..

………….

3
………………….

…………………..

……………………..

………….

Part 2(c) – Registered Company: 

Private or public...............................................................................................

State the nominal and issued capital of the Company

Nominal Kshs.................................................................................................

Issued Kshs.....................................................................................................

Give details of all directors as follows: 


Name


Nationality

Citizenship Details

shares
1
………………….
              …………………..
……………………..

………….

2
………………….
              …………………..
……………………..

………….

3
………………….
              …………………..
……………………..

………….

4
………………….
              …………………..
……………………..

………….

Part 2(d) – Interest in the Firm:

Is there any person/persons in Kitui County Government who has interest in this firm? 

Yes/No............ (Delete as necessary)

I certify that the information given above is correct. 

(Signature) .................................


(Date) .............................
* Attach proof of citizenship.

* Attach certified copy of Form CR12 (Issued within 6 Months). 

SCHEDULE 2: FORM OF WRITTEN POWER OF ATTORNEY

The Bidder shall state here below the name(s) and address of his representative(s) who is/are authorized to receive on his behalf correspondence in connection with the Bid.

……………………………………………………………………………………………………………

(Name of Bidder's Representative in block letters)

…………………………………………………………………………………………………………

(Address of Bidder's Representative)

……………………………………………………………………………………………………………

 (Signature of Bidder's Representative)

Alternate:

………………………………………………………………………………………………………….

 (Name of Bidder's Representative in block letters)

…………………………………………………………………………………………………………

 (Address of Bidder's Representative)

……………………………………………………………………………………………………………

 (Signature of Bidder's Representative)

*To be filled by all Bidders.

Note:

Attach certified copy of Identification Documents for Signatories. 

SCHEDULE 3: CERTIFICATE OF BIDDER’S VISIT TO SITE

This is to certify that 

[Name/s]……………………………………………………………………………………………….

………………………………………………………………….........................................................

Being the authorized representative/Agent of [Name of bidder]

…………………………………………………………………………………………………..............

…………………………………………………………………………………………………..............

…………………………………………………………………………………………………..............

Participated in the organized inspection visit of the site of the works for the CONSTRUCTION OF KAVETA-GINNERY (B7) ROAD – LOT 1 held on
……………………….…..day of……………………………..………………………..20……………

Signed…………………………………………………………………………………………………...

 (Employer’s Representative)

………………………………………………………


……………………………

(Name of Employer’s Representative)

(Designation)

NOTE: This form is to be completed at the time of the organized site visit.

SCHEDULE 4: SCHEDULE OF BASIC RATES OF MATERIALS

(Ref: Conditions of Contract Part II, Clause 70)

	Item No. 
	Description 
	Country of Origin 
	Name of Supplier 
	unit 
	Transportation Cost from Source/Origin 
	Price (Kshs) 

	
	
	
	
	
	Mode 
	Cost (Kshs)
	

	1
	Cut-back Bitumen MC 30in bulk 
	 
	 
	Litre 
	 
	 
	 

	2
	Cut-back Bitumen MC 30in drums 
	 
	 
	Litre 
	 
	 
	 

	3
	Bitumen 80/100 in bulk 
	 
	 
	Kg 
	 
	 
	 

	4
	Bitumen 80/100 in drums 
	 
	 
	Kg 
	 
	 
	 

	5
	Bitumen Emulsion K1-60 in bulk 
	 
	 
	Litre 
	 
	 
	 

	6
	Bitumen Emulsion K1-60 in drums 
	 
	 
	Litre 
	 
	 
	 

	7
	Cut-back Bitumen MC 70in bulk 
	 
	 
	Litre 
	 
	 
	 

	8
	Cut-back Bitumen MC 70in drums 
	 
	 
	Litre 
	 
	 
	 

	9
	Petrol, Regular Grade 
	 
	 
	Litre 
	 
	 
	 

	10
	Petrol, Premium/ super Grade 
	 
	 
	Litre 
	 
	 
	 

	11
	Automotive Diesel Fuel 
	 
	 
	Litre 
	 
	 
	 

	12
	Industrial Diesel Oil 
	 
	 
	Litre 
	 
	 
	 

	13
	Kerosene Fuel 
	 
	 
	Litre 
	 
	 
	 

	14
	Cement 
	 
	 
	Tonne 
	 
	 
	 

	15
	Flex beam Guardrail 
	 
	 
	Metre 
	 
	 
	 

	16
	Gabion Mesh 
	 
	 
	M2 
	 
	 
	 

	17
	Reinforcing Steel 
	 
	 
	Tonne 
	 
	 
	 

	18
	Lime 
	 
	 
	Tonne 
	 
	 
	 


…………………………………………………..



…………………………

(Signature of Tenderer)




   (Date)

The prices inserted above shall be those prevailing 28 days before the submission of Bids and shall be quoted in Kenya Shillings using the exchange rates specified in the Appendix to Form of Bid. 

Prices of imported materials to be quoted CIF Mombasa or Nairobi, as appropriate, depending on whether materials are imported by the Bidder directly or through a local agent. 

Transportation costs for imported materials to be quoted from Mombasa or Nairobi as appropriate to midpoint of CONSTRUCTION OF KAVETA-GINNERY (B7) ROAD – LOT 1 depending on whether materials are imported directly by the Bidder or through a local agent. 
Bidder to attach quotations from suppliers dated no earlier than 28 days before closing date for submission of bids.
SCHEDULE 5: MAJOR ITEMS OF CONSTRUCTION PLANT AND EQUIPMENT

	Date
of Arrival on Project (Days after commence)
	

	Power Rating
	

	Owned/ Leased/ Imported
	

	Source
	

	Estimated CIF

Mombasa Value

(If to be Imported)
	

	Capacity 

t or m cu
	

	New or Used
	

	Year of Manufacture
	

	No. 

of each
	

	Description Type, Model, Make
	


The Tenderer shall enter in this schedule all major items of plant and equipment which he proposes to bring to site. Only reliable plant in good working order and suitable for the work required of it shall be shown on this Schedule.

I certify that the above information is correct.


………………………………………..




……………………………

(Signature of Tenderer)







(Date)

SCHEDULE 6: KEY PERSONNEL

	DESIGNATION
	NAME/ 

NATIONALITY
	EDUCATION
	GENERAL EXPERIENCE

(YRS)
	SPECIFIC EXPERIENCE
(YRS)

	Headquarters
	 
	 
	 
	 

	Partner/Director or other key staff (give designation)
	
	
	
	

	Site Office
	 
	 
	 
	 

	Site Agent
	
	
	
	

	Deputy Site Agent/Site Engineer

	
	
	
	

	Site Surveyor

Senior Foreman 

Health and Safety Officer
	
	
	
	

	Environmental officer
	
	
	
	

	Sociologist
	
	
	
	

	Other Key Staff
Foremen

(i) Earthworks

(ii) Asphalt Concrete

(iii) Drainage

	
	
	
	


Note: The Tenderer shall list in this schedule the key personnel he will employ from the Contractor’s headquarters and from the Contractor’s site office to direct and execute the work together with their qualifications, experience, position held and nationality in accordance with Clause 15.2 and 16.3 of the Conditions of Contract Part II (where required, use separate sheets to add extra data for column 4). Attach the CV’s of the key personnel.


I certify that the above information is correct.

   …………………………….





…………………………..

(Signature of Tenderer)





(Date)
SCHEDULE 7: SCHEDULE OF ROAD-WORKS CARRIED OUT BY THE TENDERER IN THE LAST FIVE YEARS.
	DESCRIPTION OF WORKS
	EMPLOYER AND ADDRESS
	VALUE OF WORKS (KSHS) *
	YEAR STARTED
	YEAR COMPLETED

	
	
	
	
	


I certify that the above works were successfully carried out by me and that the above works are correct.

   ……………………………



…….............…………………………

(Signature of Tenderer)




(Date)

Bidder to attach project completion certificates. Value in KShs using Central Bank of Kenya mean exchange rate at a reference date 7 days before date of tender opening.

SCHEDULE 8: SCHEDULE OF ONGOING PROJECTS

	DESCRIPTION
	EMPLOYER ADDRESS
	DATE OF COMMENC- EMENT
	DATE OF COMPLETION
	VALUE OF WORKS (KSHS)
	VALUE COMPLETED UP TO DATE %
	PHYSICALLY

COMPLETED

UP TO DATE %

	
	
	
	
	
	
	


I certify that the above works are being carried out by me and that the above information is correct.

…………………………..





     ………………………

(Signature of Tenderer)





(Date)

SCHEDULE 9: FINANCIAL STANDING

1. Submit copies of audited profit and loss statements and balance sheet for the last five calendar years and estimated projection for the next two years with certified English translation where appropriate.

2. Give turnover figures for each of the last three (3) financial years. Quote in millions and decimal thereof. 

	
	Year 2017
	Year 2018
	Year 2019

	
	KShs. 
	KShs. 
	KShs. 

	Road works 
	
	
	

	Other civil Engineering works 
	
	
	

	Other (specify) 
	
	
	

	Total 
	
	
	


SUMMARY OF ASSETS AND LIABILTIES OF THE AUDITED FINANCIAL STATEMENTS OF THE LAST THREE (3) FINANCIAL YEARS. 

	
	Year 2017
	Year 2018
	Year 2019

	
	KShs. 
	KShs. 
	KShs. 

	1. Total Assets 
	
	
	

	2. Current Assets 
	
	
	

	3. Bank Credit Line Value 
	
	
	

	4. Total Liabilities
	
	
	

	5. Current Liabilities
	
	
	

	6. Net Worth (1-4)
	
	
	

	7. Working Capital (2+3-5)
	
	
	


(a) Name /Address of Commercial Bank providing credit line 

………………………………………………………………………………………………………………

(b) Total amount of credit line Kshs.............................................

Attach certified copies of financial bank statements of the last six (6) months. 

Attach a certified copy of Undertaking of the Bank to providing the credit. 

SCHEDULE 10: SCHEDULE OF LOCAL LABOUR BASIC RATES

The rates inserted in this schedule will be those used in determining changes in cost of local labour as provided in Clause 70.1 of the Conditions of Contract Part 2.

	LABOUR CATEGORY
	MONTH/SHIFT/HOUR
	UNIT
	RATE SHS

	
	
	
	


NOTE: Categories to be generally in accordance with those used by the Kenya Building Construction Engineering and Allied Trade Workers Union

I certify that the above information is correct.

…………………………….



……………………………………… 

  Date





  Signature of Bidder

SCHEDULE 11: DETAILS OF SUBCONTRACTORS

If the Bidder wishes to sublet any portions of the Works under any heading, he must give below details of the subcontractors he intends to employ for each portion. 

Failure to comply with this requirement may invalidate the bid. 

1. Portion of Works to be sublet: ..................................................................... 

(i) Full name of Subcontractor and address of head office: 

...........................................................................................................

...........................................................................................................

...........................................................................................................

(ii) Subcontractor’s experience of similar works carried out in the last 5 years with contract value: Similar Works Contract Value 

1 .......................................................................................

2 .......................................................................................

3 ....................................................................................... 

2. Portion of Works to be sublet: ........................................................................ 

(i) Full name of Subcontractor and address of head office: 

...........................................................................................................

...........................................................................................................

...........................................................................................................

(ii) Subcontractor’s experience of similar works carried out in the last 5 years with contract value: Similar Works Contract Value 
1 .......................................................................................

2 .......................................................................................

3 ....................................................................................... 

      ……………………..     






 ……………………..

 [Signature of Bidder) 







(Date) 

SCHEDULE 12: OTHER SUPPLEMENTARY INFORMATION

Financial reports for the last five years, balance sheets, profit and loss statements, auditors’ reports etc. List them below and attach copies.

…………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………

Evidence of access to financial resources to meet the qualification requirements. Cash in hand, lines of credit etc. List below and attach copies of supporting documents

…………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………

Name, address, telephone, telex, fax numbers of the Bidders Bankers who may provide reference if contacted by the Contracting Authority.

…………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………

…………………………………………………………………………………………………………………………………………………

Information on pending litigation in which the Bidder is involved.

	OTHER PARTY(IES)
	CAUSE OF DISPUTE
	AMOUNT INVOLVED (KSHS)

	
	
	


I certify that the above information is correct.

…………………………….




                  …………………………………….. 

Date








Signature of Bidder

SCHEDULE 13: WORK METHODOLOGY
Give a brief description of how you intend to carry out the work including traffic management, quality assurance of works and any designs to be carried out by the Bidder, in not less than 5 pages and not more than 15 pages.

SECTION 9: FORM OF AGREEMENT
FORM OF AGREEMENT
THIS AGREEMENT is made on the ...................day of .............................. 20....between the COUNTY GOVERNMENT OF KITUI of P. O. Box 33-90200, Nairobi, Kenya hereinafter called "the Employer" of the one-part 
And................................................................................................... 
hereinafter called “the Contractor" of the other part. 
WHEREAS the Employer is desirous that the Contractor executes CONSTRUCTION OF KAVETA-GINNERY (B7) ROAD – LOT 1, TENDER NO…………….(hereinafter called “the Works”) and has accepted a Contract by the Contractor for the execution, completion and maintenance of such works and remedying of any defects therein for the Contract price of Kshs………………………………………………………………..……….(Amount in Figures) Kenya Shillings………………………………………………..…(Amount in words) 
NOW THIS AGREEMENT WITNESSETH as follows: 

In this agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract hereinafter referred to. 

The following documents shall be deemed to form and be read and construed as part of this Agreement, viz.: 

· The Contract Agreement; 
· The Letter of award by the Employer 
· The Letter of Acceptance by the Contractor; 
· The Form of Contract and Appendix to the Form of Contract; 
· The Conditions of Contract Part I;

· The Conditions of Contract Part II; 
· The Standard Specification for Road and Bridge Construction, 1986;

· The Special Specifications;

· The Drawings;

· The priced Bill of quantities;

· Conditions to the Contract and instructions to the Contractor;

· Other documents as may be agreed and listed 

All aforesaid documents are hereinafter referred to as "The Contract". 

In consideration of the payment to be made by the Employer to the Contractor, the Contractor hereby covenants with the Employer to execute, complete and maintain the works in conformity in all respects with the provisions of the Contract. 

The Employer hereby covenants to pay the Contractor in consideration of the execution, completion and maintenance of the works for the Contract Price at the times and in the manner prescribed by the Contract. 

IN WITNESS HEREOF the parties that have caused this Agreement to be executed this 
............day of ......................, 2020. 

SEALED with the Common Seal of 

The said Employer: 

.........................................................................................

(Municipal Manager, Kitui Municipality, Kitui County) 
For and on behalf of the said Employer. 

In the presence of: 

.............................................................................

(Name and Designation of Witness) 

............................................................................ 

(Signature of Witness) 

............................................................................

(Address of witness) 

The said Contractor


.............................................................................................. 

In the presence of: 


..............................................................................................

(Name and Designation of Witness) 

............................................................ 

(Signature of Witness) 

........................................................... 

(Address of witness) 

SECTION 10: FORM OF PERFORMANCE BANK GUARANTEE AND ADVANCE PAYMENT GUARANTEE (UNCONDITIONAL)

 FORM OF PERFORMANCE BANK GUARANTEE AND ADVANCE PAYMENT GUARANTEE (UNCONDITIONAL)

To 

The Municipal Manager, 

Kitui Municipality,
P.O. Box 33-90200

NAIROBI 

WHEREAS .............................................................................. (hereinafter called “the Contractor”) has undertaken in pursuance of Contract No. ..........................................Dated .......................to execute the CONSTRUCTION OF KAVETA-GINNERY (B7) ROAD – LOT 1 (hereinafter called the “Contract”) 
AND WHEREAS it has been stipulated by you in the said Contract that the Contractor shall furnish you with a Bank Guarantee by a recognized bank for the sum specified in the Appendix to Form of Bid as security for compliance with his obligations in accordance with the Contract; 

AND WHEREAS we have agreed to give the Contractor such a Bank Guarantee; 

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you on behalf of the Contractor, up to a total of 

Kshs................................................................................(amount in figures) 

Kshs ...............................................................................................................
.....................................................(amount in words) 

and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within and up to the limits as aforesaid without your needing to prove or show grounds or reasons for the sum specified therein. 

We hereby waive the necessity of you demanding the said debt from the Contractor before presenting us with the demand. 

We further agree that no change or addition to or other modification of the terms of the Contract or of the Works to be performed thereunder or of any of the Contract Documents which may be made between you and the Contractor shall in any way release us from any liability under this Guarantee and we hereby waive notice of any such change, addition or modification 

This Guarantee shall be valid until the date of issue of Completion Certificate.

AUTHORIZED SIGNATORY OF THE BANK 

Name of Signatory……………………………………………………………………………………………………………………….. 
Name of Bank ……………………………………………………………………………………………………………………………… 

Address ………………………………………………………………………………………………………………………………………

Date ……………………………………………………………………………………………………………………………………………  

SECTION 11: STANDARD SPECIFICATION

 STANDARD SPECIFICATION

Standard Specification refers to the Ministry of Transport and Communications Standard Specification for Road and Bridge Construction, Volume III, 1986 Edition. This document shall form part of the Contract.

Work shall be carried out in accordance with the Standard Specification except as supplemented by the Special Specification.
SECTION 12: SPECIAL SPECIFICATION 
SPECIAL SPECIFICATION
CONTENTS
134SECTION 1
GENERAL


134101
Location and Extent of Site


134102
Extent of Contract


136103
Drawings


136104
Programme


136105
Order of Work


137107
Certificate of Completion


137108
Method of construction


137109
Notice of Operations


137117
Health, Safety and Accidents


137119
Use of Explosives


138120
Protections of Existing Works and Services


138121
Diversion of services


139123
Liaison with Government and Police Officials


139124
Provision of land


139125
Water Supply


139127
Information from Exploratory Boring and Test Pits


139131
Signboards


140137
Attendance upon the Engineer’s Representative


140142
Protection of the Environment


141143
Off Road Environmental Measures


142SECTION 2
MATERIALS AND TESTING OF MATERIALS


142202 
TESTING BY THE CONTRACTOR


142205
SOILS AND GRAVELS


142207
CEMENT


142224
TRIALS TO CONFIRM COMPLIANCE WITH SPECIFICATIONS


144SECTION 3
SETTING OUT AND TOLERANCES


144301
Setting Out


145SECTION 4
SITE CLEARANCE AND TOP SOIL STRIPPING


145401
Site Clearance


146SECTION 5
EARTHWORKS


146504
PREPARATION PRIOR TO FORMING EMBANKMENT


146505
CONSTRUCTION OF EMBANKMENTS


147508
COMPACTION OF EARTHWORKS


147509 
MASS HAUL DIAGRAM


147511
BORROW PITS


148514 
TOPSOILING AND GRASSING


148517
MEASUREMENT AND PAYMENT


150SECTION 6
QUARRIES, BORROW PITS, STOCKPILE AND SPOIL AREAS


150601
General


150602
Definitions


151SECTION 7
EXCAVATION AND FILLING FOR STRUCTURES


151703
Excavation of Foundations for Structures


152707
Backfilling of Excavations and Filling for structures


152708
Protection of Structures


152709
Excavations for River Training and New Watercourses


152710
Stone Pitching


154SECTION 8
CULVERT AND DRAINAGE WORKS


154804
Excavation for Culverts and Drainage Works


154805
Excavation in Hard Material


154809
Bedding and Laying of Pipe Culverts


154810
Jointing Concrete Pipes


154812
Backfill


154816
Minor Drainage Structures


155817
Mitre Drains, Cut-off Drains, Catchwater Drains, Side Drains, Culvert Outfall Drains and Earth Dams


159820
Measurement and Payments for Additional Items


160821
Cement Mortared Stone Masonry Walls


161822
Subsoil Filter Drains


161823
Gulley Pots and Chambers


161824
Pedestrian Crossings


161825
Measurement and Payment for Further Additional Items


163SECTION 9
PASSAGE OF TRAFFIC


163903
Maintenance of Existing Road


163904
Construction of Deviations


163906
Passage of Traffic through the Works


164912
Measurement and payment


165SECTION 11
SHOULDERS AND FOOTPATHS


1651107
Footpaths


1651108
Measurement and Pavement


166SECTION 12
NATURAL MATERIAL SUBBASE AND BASE


1661203
MATERIALS REQUIREMENT


1661209
MEASUREMENT AND PAYMENT


167SECTION 13
GRADED CRUSHED STONE SUBBBASE AND BASE


1671303
Material requirements


1671306
Laying and Compacting Graded Crushed Stone Subbase and Base


1681500
BITUMINOUS SURFACE TREATMENTS AND SURFACE DRESSING


1681501A
General


1681502B
Materials for Prime Coat and Tack Coat


1681504B
Spraying of Prime Coat and Tack Coat


169SECTION 16
BITUMINOUS MIX BASES, BINDER COURSE AND WEARING COURSES


1691603A
Construction Plant


1691604A
Preparation of Surface


1691601B
Definition


1691602B
Materials for Asphalt Concrete


174SECTION 17
CONCRETE WORKS


1741703
Materials for Concrete Works on Culverts and Bridges


1751704
The Design of Concrete Mixes


1761705
Mixing Concrete


1761708
Placing of Concrete


1761721
Formwork for Concrete Culvert Culverts and Bridges


1771741
Measurement and Payment


179SECTION 19
STRUCTURAL STEELWORK


1791901
General


1791902
Applicable Standards


1801903
Materials


1801904
Storage of Materials


1801905
Fabrication


1801906
Preparation of Edges and Ends of Plates


1811907
Welding


1821908
Bolting


1831909
Transportation Handling and Erection


1841910
Surface Preparation of Steelwork


1851911
Painting


1851912
Paint Systems


1851913
Damaged Surfaces


1851914
Measurement and Payment


1861915 Pre-Stress Concrete.


1871916 Prestressing Tendons – Materials


1871917 Prestressing Tendons - Handling and Storage


1871918 Prestressing Tendons - Surface Condition


1881919 Prestressing Tendons – Straightness


1881920 Prestressing Tendons – Cutting


1881922 Prestressing Tendons – Tensioning


1911923 Prestressing Tendons - Protection and Bond


1911924 Payment.


192SECTION 20
ROAD FURNITURE


1922004
PERMANENT ROAD SIGNS


1922004B
EXISTING ROAD SIGNS


1922005
ROAD MARKING


1932006
GUARDRAILS


1932007 
KERBS


1942009
RUMBLE STRIPS, ROAD HUMPS AND RAISED ZEBRA CROSSINGS


1942010
TREES


1962011
MEASUREMENT AND PAYMENT


197SECTION 22
DAY WORKS


1972201
Scope


1972202
Standards


1972203
Measurement and Payments


198SECTION 24
TRAFFIC MANAGEMENT AND DIVERSION


1982401
General


1982402
Traffic Rotary


1982403
Road Delineates


1982404
Signs, Lights, Barriers and other Traffic Control Devices


1982405
Barricades


1982406
Passage through Works


2002500
HIV/AIDS, GENDER, SOCIAL ISSUES AND LOCAL PARTICIPATION


2002501
Scope


2002502
Interpretation and Documentation


2002503
HIV/AIDS Awareness Campaign


2002505
HIV/AIDS Training


2032506
Timing


2032507
Measurement and Payment


2042600
SOFT LANDSCAPING


2042601
Scope


2042602
Site Preparations


2052603
Plant Materials


2072604
Labour-Force & Workmanship


2072605
Plants Installation (Planting)


2102606
Landscape Maintenance


2122700
SOLAR STREET LIGHTING


2122701
General


2162702
Standard of Materials


2172703
Workmanship


2172704
Shop Drawings


2172705
Record Drawings


2182706
Regulations and Standards


2182707
Setting Out Work


2182708
Positions of Solar Street Lighting


2182709
Identification of Solar Street Lighting


2182710
Tests


2192711
Rejection


2192712
Remedial Work


2202713
Ownership of Plant and Materials


2202714
Royalties


SECTION 1
GENERAL
PREAMBLE
Special Specification is supplementary to the Standard Specification and the two must be read in conjunction. In any case where there appears to be conflict between the two then the Special Specifications will take precedence.
In the absence of any definite provisions on any particular issue in the aforesaid Specifications, reference may be made to the latest codes and specifications of Design Manual for Roads and Bridges of the Ministry of Transport and communication of the Republic of Kenya, Kenya Bureau of Standards (KeBS), BS, ASTM, AASHTO and in that order. Where even these are silent, the construction and completion of the works shall conform to sound engineering practice as approved by the Engineer and in case of any dispute arising out of the interpretation of the above, the decision of the Engineer shall be final and binding on the Contractor.
Where reference is made in the Contract to specific standards codes to be met by the materials, plant, and other supplies to be furnished, and work performed or tested, the provisions of the latest current edition or revision of the relevant standards as on the date of the bid and codes/design manual in effect shall apply, unless otherwise expressly stated in the contract. Where such standards and codes/design manual are national, or relate to a particular country or region, other internationally recognised standards which ensure a substantially equal or higher performance than the standards and codes/design manual specified will be accepted subject to the Engineer’s prior review and written approval. The difference between the standards specified and the proposed alternative standards must be fully described in writing by the Contractor and submitted to the Engineer at least 28 days prior to the date when the Contractor desires the Engineer’s approval. In the event that the Engineer determines that such proposed deviations do not ensure substantially equal performance, the Contractor shall comply with the standards specified in the documents.
101
Location and Extent of Site

Kaveta – Ginnery road B7 and Kunda Kindu Bus Park project is located in Kitui Municipality, Kitui County.  The Kaveta – Ginnery (B7) Road is approximately 3.0 km. The roadside bus park at KM 2+700 LHS is approximately 100m by 30m in area. 

102
Extent of Contract

The Works to be executed under the Contract comprise of: 

(a) Kaveta – Ginnery Road section – Single carriageway- 3.0km 

Rehabilitation, expansion and capacity enhancement of the road to the design standard below: 

· 7m wide single carriageway; lanes of 3.5m wide
· Shoulder of 0.5m wide, both sides of carriageway; 

· Rectangular covered drains on one side of crossfall- 1mx1mx1m rectangular drain;

Pavement Structure Type:

Surfacing

· 50 mm Asphalt Concrete Type I - Wearing Course 0/20 

Base course

· 150 mm Graded crushed stone class A (GCS)

Subbase course

· 150 mm Graded crushed stone class B (GCS – 0/40 mm)

(b) Road side bus park at KM 2+700 LHS 

· Approximate Area: 100m x 30m 

· Pavement: Heavy duty 60mm thick paving blocks 

(c) Maintenance of existing road during the construction period, construction of diversions, management and control of traffic passing through or around the works. 

(d) Provision of road furniture including road signs, road markings, edge marker posts, guardrails and other miscellaneous works.

(e) Rectification of defects affecting the completed road for a period of 6 months. 

The Works detailed above are only indicative of the scope of works associated with this contract and the Engineer may, where necessary, substitute some of the works with others within the project areas without substantially altering the overall scope of the works. Work shall be measured and paid using the relevant rates and prices in the Bill of Quantities.

The works will also include any operations necessary for the safe and convenient passage of traffic at all times.

Compliance with Specification: All material, plant, labour and workmanship in and connected with the execution of the works shall be the best of their respective kinds without regard to any trade terms and the Contractor shall comply with these and all other respects with the relevant Clauses in the Specification and shall carry out the Contract in a proper workmanship manner and in strict accordance with Specifications, Working Drawings and Instructions of the Engineer.

102.2
Scope of Work
The scope of the work shall include the following:
1. General and Preliminaries

2. Site clearance and Topsoil stripping

3. Earthworks 

4. Excavation and filling for structures

5. Culverts and drainage structures

6. Passage of traffic (Traffic management during the works)

7. Natural Gravel for subbase

8. Graded Crushed stone

9. Asphalt Concrete and Bituminous works

10. Installation of Road furniture

7. Maintenance of the works during construction and 6 months Defect Liability Period.

8. Any other activity not listed above but deemed to be necessary by the Engineer shall be carried out subject to Engineer’s formal instructions and within the mode of payment stipulated either by day works or on measured basis.

103
Drawings

This clause shall be read as under:
The drawings provided for bidding purpose shall be as contained in Volume II of these Bid documents. The Engineer may from time to time, in order to enable satisfactory completion of works, revise, amend, or supersede any of these drawings.
It shall be the Contractor’s responsibility to construct the works in conformity with the latest revision and amendment to the drawings provided that the Engineer has given the Contractor in writing such reasonable prior notices of intention to revise, amend, or supersede as the nature of the intended change required and relevant drawings have been issued to the Contractor.
104
Programme 

The Time for Completion for the Works for each lot as defined in clause 8.2 of the Conditions of Contract is 6 months. The defects notification period is 6 months.
The Contractor shall provide detailed and resourced works programme, required under Clause 14.1 of the Conditions of Contract, within 28 days of receipt of the Engineer's Order to commence work. A cash flow projection shall also be provided.
The programme shall be coordinated with climatic and other conditions to provide for the completion of the works in the order and by the time specified.
The Contractor shall carry out the Works of the Contract in accordance with the programme agreed with the Engineer, but he shall in no manner be relieved by the Engineer's approval of the programme, of his obligation to complete the works in the prescribed order and by the prescribed completion date and he shall from time to time review his progress and make such amendments to his rate of execution of the works as may be necessary to fulfil his obligations.
The Contractor shall allow in his programme for construction of trial sections and carrying out tests upon them as directed by the Engineer in accordance with the provisions of Clause 129 of the Standard Specification. The time for completion of the Contract shall not be extended because of the time taken to carry out tests and evaluate trial sections.
At least fourteen (14) days before the work of laying any pavement layer is commenced the Contractor shall construct a trial at least 100 m in length and to the full construction width and shall be laid to the specified depth for the material. For each trial the contractor shall use the materials mix proportions, mixing laying, compaction plants and construction procedure that he proposes to use for the main work. The main work of laying the pavement layer shall not be commenced until this trial has been tested and approved by the engineer.
No variation in the construction procedure, mix proportions, size, grading or source of any of the constituents shall be made without the agreement of the Engineer who may first require new trial sections to be carried out.
105
Order of Work

In addition to Clause 105 of the Standard Specification, the Contractor shall carry out the Works such that a continuous and consecutive output of fully completed work is achieved.
Generally, the Contractor shall commence the works at the beginning of the road package and progress continuously towards the other end without leaving any isolated section or sections of road uncompleted.
107
Certificate of Completion

Wherever the “Certificate of completion” and “Period of Maintenance” are stated in the specification, these shall be read respectively as the “Taking Over Certificate” and “Defects Liability Period”.
The Taking-Over Certificate for these works shall be issued upon application by the Contractor under Clause 48.2 of the Conditions of Contract on substantial completion of the construction works. The Defect Liability Certificate will be issued after the end of the Defects Liability Period.
Release of Retention Money will be on issuance of the said certificates.
108
Method of construction

The submissions of Work Programme, Order of Work and the General Description of works shall be consistent in presentation and content when handed over for the Engineer’s approval and in accordance with programmes and schedules as stated in
Clause 14.1 of Conditions of Contract.
Notwithstanding any contrary provision contained in the last paragraph of Clause spec108 of the Standard Specification, the Engineer’s normal working hours shall be defined as 8:00 a.m. to 5:00 p.m. on weekdays, including lunch break from 1.00 p.m. to 2.00 p.m. and 8:00 a.m. to 1:00 p.m. on Saturdays, with Sunday being set aside as a day of rest. If the contractor wishes to execute permanent works outside these hours, he shall request for and obtain written permission from the Engineer at least one full working day in advance to enable the Engineer to make necessary provision for the supervision of such work. The contractor shall meet any costs arising thereof.

109
Notice of Operations
It shall be the Contractor’s responsibility to notify the Engineer when any items of the Works scheduled are completed and ready for approval, and the contractor shall give a notice of one full working day to allow control tests to be performed.
117
Health, Safety and Accidents 

In accordance with the laws of Kenya, the Contractor shall make arrangement for awareness programme for public health education and particularly for HIV/AIDS as detailed under Section 26 of this specification.
119
Use of Explosives

The Contractor shall not use explosives without prior written consent of the Engineer. Where the use of explosives is so provided or ordered or authorised, the Contractor shall comply with the requirements of the following beside the law of the land as applicable:
(a) The Contractor shall at all times make full liaison with and inform well in advance and obtain such permission as is required from all Government Authorities, public bodies and private parties whatsoever concerned or affected or likely to be concerned or affected by blasting operations.

(b) The Contractor shall pay all license fees and charges, which may be, required for storage of explosives or in respect of any other matters whatsoever.

(c) The contractor shall be solely responsible for provision, supply, handling, storage and transportation of all explosive ancillary materials and stores and all other things of every kind whatsoever required for blasting operations and shall not delegate or subcontract these activities without the approval of Engineer.

(d) Before the beginning of the Defects Liability Period the Contractor shall remove all unused explosives from the site on completion of the Works or which are ordered by the Engineer, and submit to the Engineer written confirmation of compliance with the instruction.

(e) The Contractor shall submit to the Engineer monthly returns detailing the quantity of explosives brought to the site together with the quantities used during the month and the location and quantity of rock blasted.

120
Protections of Existing Works and Services 

The cost of determining the location of the existing services together with making good or repairing of any damage caused all to the satisfaction of the Engineer shall be included in the tender rates by the Contractor.
Any damage to, or interference with, existing utilities, caused by the Contractor’s operations during the progress of the Works, shall be deemed to be the responsibility of the Contractor who shall undertake to make good at his own expense any damage so caused to the existing underground utilities or other features. The Contractor shall be liable in respect of all claims arising from such damages or interference that may occur.
The Contractor shall be responsible for arranging in liaison with the relevant authorities as soon as the requirements are known for the moving of or alterations to services including power lines, telephone lines, data cables, water mains, sewers and surface water drains which are affected by the works. The arrangements for such moving or alteration shall be subject to the agreement of the Engineer and the relevant authorities.
121
Diversion of services

i. The Contractor shall acquaint himself with the position of all existing services including sewers, water pipes, underground drains, cable for electricity and telephone lines, telephone and lighting poles before commencing any excavation or other work likely to affect these existing services.

ii. The Contractor shall pay any charges arising from the moving of such services for which Provisional Sums have been included in the Bill of Quantities. Subject to the agreement of the Engineer and upon production of receipts, the Contractor shall be reimbursed in Interim Certificates the net cost of such moving or alteration plus the percentage inserted in the Bill of Quantities for all costs and profits in making the payments.

iii. The Contractor shall be entirely responsible for and shall repair at his own cost, any services that may be damaged by his plant, equipment or personnel for not following the laid down procedure of locating and shifting services or damage that may occur subsequent to alteration of such services. The Contractor shall indemnify the Employer against claims arising from damages to existing services or works.

123
Liaison with Government and Police Officials

In addition to the requirements of maintaining liaison with Government Officials and Police, the Contractor shall be responsible for acquainting himself with all current and valid ordinances or regulations which may affect the work.
The Contractor’s attention is also drawn to his obligations with regard to inspection and examination of the site as stipulated under Clause 11 of the Conditions of Contract.
124
Provision of land

Notwithstanding the provisions of Clause 124 of the Standard Specification, all requirements of land for deviations, quarries, stockpiles, spoil areas and borrow pits when not in the road reserve but required for the construction purposes shall be approved by the Engineer, but the Contractor will make necessary arrangements with the property owners concerned and pay all charges arising thereof on or before completion of the Contract. However, the Employer shall not provide any land for the Quarries, stockpiles, spoil areas and borrow pits and access roads there to.
The Contractor shall remove all temporary works and shall restore all such land to the condition in which it was immediately prior to the occupation thereof as is reasonable and practicable. No separate payment shall be made to the Contractor on account of these items and the contractor shall make due allowances for them in his rates elsewhere.
Any encroachment of the road reserve, for example by kiosks, shall be brought to the Engineer’s attention by the Contractor at the earliest opportunity.
125
Water Supply

The Contractor at his own cost shall obtain necessary permissions from both relevant Government authorities and private parties to draw water from natural sources and private sources respectively.
127
Information from Exploratory Boring and Test Pits

i. The Materials Report prepared by the Employer does not form part of the bid documents. However, the report will be made available for the Contractor’s verification only and any conclusions in regard to suitability of material, location of borrow pits and material quantities made by the Contractor based on this information, will be his own responsibility.

ii. The Contractor shall allow in his programme for construction of trial sections and carrying out tests upon them as directed by the Engineer. Trials would normally be required at the start of each pavement layer and if change of method or equipment deems it necessary as directed by the Engineer. The time for completion of the Contract shall not be extended because of the time needed to construct trial sections and evaluate the test on them.

131
Signboards

At the commencement of works, the Contractor shall provide and erect signboards; one on each end of the proposed Project Roads and or as shall be instructed by the Engineer. The signboards shall comply with the requirements and detail shown in the Book of Drawings. Any amendments to the details in the Book of Drawings, prior to the signboards being erected, shall be with the approval of the Engineer.
137
Attendance upon the Engineer’s Representative
The Contractor maybe instructed by the Engineer to make payments every month, or as so directed, on the sums in the bills of quantities for attendance upon the Engineer’s Representative. 
142
Protection of the Environment

Further to the requirements of Sub-clause 19.1 of the Conditions of Contract, the Contractor shall be responsible for the following measures to protect the environment.
(a) Compliance with national and local statutes and regulations relating to protection of the environment. The Contractor will be responsible for familiarizing himself with all existing national and local legislation in this regard.

(b) All construction activities shall be carried out using the best possible means to reduce environmental pollution such as noise, dust and smoke. All vehicles and plant shall be regularly serviced in accordance with the manufacturer’s recommendations to ensure that they operate efficiently and without excessive noxious emissions. The Engineer will have the authority to instruct the Contractor to temporally cease operations and/or remove from the site vehicles or plant which do not comply with this requirement, until such time that he is satisfied that the best practicable means to reduce environmental pollution to a minimum are being used.

(c) The Contractor shall at all times maintain all sites under his control in a clean and tidy condition and shall provide appropriate and adequate facilities for the temporary storage of all waste prior to disposal.

(d) The Contractor shall be responsible for the safe transportation and disposal of all waste generated as a result of his activities in such a manner as will not give rise to environmental pollution in any form or hazard to human or animal health. In the event of any third party being employed to dispose of waste, the Contractor shall be considered to have discharged his responsibilities under this Clause from the time at which waste leaves sites under his control, providing that he has satisfied himself that the proposed transportation and disposal arrangements are such as will not give rise to pollution or health hazard.

(e) The Contractor shall be responsible for the provision of adequate sanitary facilities for his workforce, and that of his subcontractors at all construction and ancillary sites. The Contractor shall not allow the discharge of any untreated sanitary waste to ground water or any water of ground surface watercourse.

(f) All concrete and asphalt plants shall be operated and maintained in accordance with the original manufacturers specifications and manuals, and in such a manner as to minimize emissions of hydro-carbons and particulate if in the opinion of the Engineer the operation of such plant is causing or is likely to cause nuisance or health problems to the site staff or the general public. The Contractor shall carry out such work as is necessary to reduce emissions to an acceptable level within a time-scale agreed with the Engineer.

(g) The Contractor shall regularly spray with water all exposed dirt surfaces to reduce dust levels.

(h) The Contractor shall take all responsible measures, at all sites under his control to prevent spillage and leakage of material likely to cause pollution of water resources. Such measures shall include but not be limited to the provisions of bunds around fuel, oil and bitumen storage facilities and provision of oil and grease traps for servicing and fuelling areas. Prior to construction of such facilities the Contractor shall submit details of pollution prevention measures to the Engineer for his approval.

(i) The Contractor shall be responsible for ensuring that exposed surfaces are re-vegetated as construction progresses all to the satisfaction of the Engineer.

(j) The removal of trees shall be kept to the minimum necessary to accommodate the permanent works. Prior to the removal of any trees the contractor shall inform the Engineer of the intended operation and obtain the permission of the Engineer for the removal of the trees. If any tree is removed without permission the Contractor shall replace it with an approved tree at no additional cost to the Employer.

(k) The Contractor shall ensure that fires, except for controlled fires for burning rubbish, do not start within the Site or in the environs thereto as a result of the works or from the actions of his employees. The burning of waste, such as vehicle tyres causing noxious emissions is prohibited. The contractor shall have available at all times trained fire-fighting personnel provided with adequate fire-fighting equipment to deal with all fires. The contractor shall additionally at all times provide sufficient fire protection and fighting equipment locally to parts of the works which constitutes particular fire hazards.

No separate payment shall be made in respect of this Clause 142 and the Contractor shall be deemed to have allowed in his general rates and prices for the costs of complying with the requirements of this clause.
143
Off Road Environmental Measures

In addition to the provisions of Clause 142 above and all other requirements of the Conditions of Contract, Standard and Special Specifications, the Employer and the National Environmental Management Authority (NEMA) may order certain environmental measures to be carried out which are off the road and not specifically covered under these provisions. The Contractor shall carry out such works with equipment, labour and plant provided under the Contract or shall make such arrangements for specialized works to be carried out by a specialized subcontractor.
The Contractor shall be paid for all direct expenses under a provisional Sum in the Bill of Quantities and a percentage (%) for his handling costs and profits.
SECTION 2
MATERIALS AND TESTING OF MATERIALS

202 
TESTING BY THE CONTRACTOR

The Contractor shall together with his Programme for Execution of Works submitted within 28 days after the order to commence works, submit a Quality Management System conforming to international standards, including the Work Method Statement and Quality Audit for major items of work.
The provision of the Engineer’s laboratory and testing services does not relieve the Contractor of his obligation to provide laboratory and testing equipment and execute his own testing, in conformity with the specified requirements in the Standard Specification and Special Specifications.
The onus rests with the Contractor to produce work which confirms in quality and accuracy of detail to the requirements of the Specifications and drawings, and the Contractor must, at his own expense institute a quality control system to ensure adequate supervision and positive control of the Works at all times, and the Contractor must provide chainmen and labourers for the Engineer to carry out checks on the Works. 

205
SOILS AND GRAVELS

Whenever in the Contract Document a minimum California Bearing Ratio (CBR) is specified, the CBR of the material shall be determined at the specified state of compaction.
(i) After four days soaking in the case of virgin materials, and

(ii) After seven days curing plus seven days soaking in the case of cement/lime improved materials.
207
CEMENT
Ordinary Portland cement shall comply with Kenya Standard KS 1725 2001 CEM 1 42.5

224
TRIALS TO CONFIRM COMPLIANCE WITH SPECIFICATIONS
(b) Site Trials 

The Contractor shall allow in his programme of works described in Clause 104 of these specifications, for constructing trial sections and carrying out tests upon them as directed by the Engineer. Trials would normally be required at the start of each pavement layer and if changes of materials, method, or equipment deem it necessary, as directed by the Engineer. The time for completion of the Contract shall not be extended because of the time needed to construct trial sections and evaluate the tests on them.


At least fourteen days before the work of laying any pavement layer is commenced, the contractor shall construct trial sections of at least 100 m in length and to the full construction width and the specified pavement layer thickness. For each trial section, the Contractor shall use the materials, mix proportions, mixing, laying, compaction equipment and construction procedure that he proposes to use for the main work. The main work of laying the pavement layer shall not be commenced until this trial has been tested and approved by the Engineer.
    No variation in the construction procedure, mix proportions, size, grading or source of any of the constituents shall be made without the agreement of the Engineer who may first require new trial sections to be carried out.

    Trial sections, if found satisfactory, will be paid for under the rates in the Bill of Quantities for the appropriate items, as if the trial sections were part of the normal work. No separate payment will be made for trial sections and testing.

    The Contractor shall make good, at his own expense; any trial sections that fail to meet the specified standards. The standards shall include, but not be limited to, material quality, layer thickness, levels and compaction.

SECTION 3
SETTING OUT AND TOLERANCES

301
Setting Out

(a) General

If traverse points to be used for setting out are close to the existing carriageway and interfere with the construction works, the Contractor shall relocate them to a location where they will not be disturbed. The coordinates and heights of all transverse points so relocated shall be listed and provided to the Engineer for checking and/or approval. The Contractor shall also reference with monuments the new road centrelines every 200 m long straight sections and at all salient points along curves, consisting of a pin in a concrete beacon, before commencement of any works.
The roads reserve boundary posts shall have 12 mm diameter steel pins, 200 mm long embedded in concrete with 25 mm exposed and sticking from the top surface. This pin shall be coordinated and heightened and details of the same shall be provided to the Engineer for approval.
(b) Detailed setting out

Reference pegs shall be 50 mm x 50 mm in cross section, 600 mm long driven 400 mm firmly into the ground and painted white above ground level. The offset from the centreline shall be indicated by a small nail, 20-25 mm long, with its head driven flush with the top of the peg. Chainages, chainage offsets and reference elevation shall be clearly marked on the sides of the peg to the satisfaction of the Engineer.
SECTION 4
SITE CLEARANCE AND TOP SOIL STRIPPING

401
Site Clearance

a) Site clearance is not required over the paved width of the existing road and shoulders. No measurements and payment for site clearance will be made for this width. The remaining area within the road reserve including the sides of the existing embankments and cutting should be cleared as instructed by the Engineer. This operation shall also include the removal of selected trees as directed by the Engineer. The Contractor shall provide paint and all the assistance the Engineer may require to mark the trees which should not be removed during site clearance.
The Contractor shall take care not to uproot or damage trees which are within the road reserve but outside the construction width. After the contractor has staked out the extent of the road, the Engineer with assistance of the Contractor shall mark out the trees to be removed. After removal the trunk and branches of these trees shall be cut into pieces not more than 2.0 m in length, transported and neatly stored at the nearest Ministry of Roads camp at a position to be indicated by the Engineer. Payment for this work shall be as detailed in the Bill of Quantities. The rate inserted by the Contractor for this work shall include the cost of complying with all the requirements of this clause.
SECTION 5
EARTHWORKS

504
PREPARATION PRIOR TO FORMING EMBANKMENT

Where benching is required for existing pavement to accommodate earthworks for widening the road, the rate for compaction of existing ground shall be deemed to cover this activity.

Excavation in the pavement of the existing road shall be kept dry.  In the event of water penetrating the underlying layer, construction of the subsequent layers shall be postponed until the underlying layers are dry enough to accommodate the construction plant without deforming or otherwise showing distress.

Step construction shall be carried out per layer at the joint where excavating both vertically and perpendicular to the direction of the travel.  Bench widths shall be minimum 750mm measured perpendicular to the direction of the travel and the depth of each step shall be maximum 150mm vertical when compacted unless otherwise instructed by the Engineer.

Special care shall be taken when compacting the new material at the joint ensuring that specified density is achieved.
505
CONSTRUCTION OF EMBANKMENTS

Only material approved by the Engineer shall be used for fill in embankments. Material with high swelling characteristics or high organic matter content and low bearing capacity shall not be used. 

Material suitable for use as fill shall meet the following characteristics;-

(i) CBR of minimum 8% after 4-day soak and compaction to a dry density of 100% MDD (AASHTO T99)

(ii)  Swell less than 1%

(iii)  Plasticity Index less than 50%

(iv)  Contain not more than 5% by weight of organic matter 

Any in-situ material below formation level in cutting that does not meet the above requirements shall be removed to a depth of 300mm or such other larger depth as shall be instructed by the Engineer, and replaced with material from cuttings or borrow pits which complies.  

Subgrade shall mean upper 300mm of earthworks either insitu or in fill and subgrade shall be provided for as part of earthworks operation and payment shall be made as “fill”. The material for subgrade shall have a CBR of not less than 8% measured after a 4 day soak in a laboratory mix compacted to a dry density of 100% MDD (AASHTO T99) and a swell of less than 1%.

Improved Sub-grade

Improved subgrade material obtained from borrow pits which meets the following specifications shall be used where instructed. The material shall be deposited in layers not exceeding 150mm compacted thickness and compacted in place to 100% MDD (AASHTO T99) at 75-105% of OMC. Each layer shall extend to the full width of embankment and shall be compacted in accordance with clause 508.

(i) Improved subgrade type 1 material shall be have a CBR of min. 14% after 4-day soak and compaction to a dry density of 100% MDD (AASHTO T99)

(ii) Improved subgrade type 2 material shall be have a CBR of min. 10% after 4-day soak and compaction to a dry density of 100% MDD (AASHTO T99)

Measurement and payment shall be made per cubic metre of improved subgrade material of each type specified including all hauls. 

508
COMPACTION OF EARTHWORKS

At pipe culverts, all fill above ground level around the culverts shall be compacted to density of 100% MDD (AASHTO T.99) up to the level of the top of the pipes or top of the surround(s), if any and for a width equal to the internal diameter of the pipe on either side of the pipe(s) or surround(s) as applicable.

At locations adjacent to structures, all fill above ground level up to the underside of the subgrade shall be compacted to density of 100% MDD (AASHTO T99). In case of fill around box culverts this should be carried out for the full width of the fill and for a length bounded by the vertical plane passing through the ends of the wing walls.

Notwithstanding the provision of clause 503 of the standard Specification, Compaction of subgrade material (i.e. material immediately below formation) in cut areas shall not be carried out by the contractor in areas where the formation is formed in hard material, unless specific instructions to the contrary are issued by the Engineer.

Where improved sub-grade material shall be required, this shall be compacted and finished to the same standards and tolerances as those required for normal subgrade and clauses in the specifications applying to normal subgrade shall also apply.

509 
MASS HAUL DIAGRAM

A mass haul diagram has not been provided with the Drawings. The Contractor shall optimize his earthworks operations and locate suitable materials for constructing earthworks along the alignment to reduce haulage requirements.  

511
BORROW PITS
Fill material which is required in addition to that provided by excavation shall be obtained from borrow pits to be located and provided by the Contractor but to the approval of the Engineer.

It shall be the Contractor’s responsibility to obtain all rights of access to these borrow pits. Payment for any item in connection with prospecting, access roads, royalties etc., shall be included in the Contractor’s unit rates for supply of borrow pit materials. These shall incorporate the cost of the following:

i) Opening up the borrow area, site clearance, removal of topsoil and overburden, fencing, drainage, landscaping and top soiling upon completion and leaving neat and tidy;

ii) Constructing and maintaining access roads, complying with conditions of access, traffic control, safety and public health requirements, fencing, drainage and making good on completion and leaving neat and tidy;

iii) Excavation and selection of material, removing and spoiling of oversize material, screening, stockpiling, providing and mixing water or drying out the material, mixing, processing, spreading and compacting;

iv) Spreading, providing and admixing of fines if necessary, rolling, making good defective areas and maintenance of the surface;

v) Loading, hauling a free haul distance of 1.0 km measured from the centre of volume of the source of material and dumping the material, and 

vi) Complying with the requirements of NEMA in respect of treatment of borrow pits.

514 
TOPSOILING AND GRASSING

514.1
Erosion Protection

Where shown on the drawings or directed by the Engineer, the contractor shall lay bioengineering erosion protection measures before top soiling and grassing. The geotextile shall be anchored in to adjacent gabions, where provided. The bioengineering geotextiles shall be MACMAT TM  or equivalent and shall meet the following minimum standards:

Unit weight (g/m2)


650

Thickness (mm)


10

Tensile strength (kN/m2)

>1.6

Void space



90%

Polymer type



Polypropylene

Density(g/m3)



900

Melting point (oC)


150

Colour




black

UV Resistance



stabilised

The contractor shall supply to the engineer brochures, documents and technical support documents for materials proposed for the work.” The method of measurement shall be per m2 of geotextile, measured in like manner to other fabrics.

517
MEASUREMENT AND PAYMENT

(a)  Fill in Soft Material

Unit: m3
The rate for compaction of fill in soft material shall allow for the requirements of clause 508 of the special specification and no extra payment shall be made for compaction around pipe culverts and other structures to 100% MDD AASHTO T.99.

(e)    Overhaul
There shall be no separate payment for overhaul on earthworks, and the Contractor is deemed to have allowed for all hauls required to construct the earthworks as specified elsewhere in his rates.  

SECTION 6
QUARRIES, BORROW PITS, STOCKPILE AND SPOIL AREAS

601
General

The Employer will not make available to the Contractor any land for quarries, borrow pits, stockpile and spoil areas, except for those in the road reserves and specifically approved by the Engineer.
The Contractor will be entirely responsible for locating and providing suitable sources of materials complying with the specifications and for procurement, winning, haulage to site of these materials, rehabilitating the borrow pits, quarries, stockpile and spoil areas, and all costs involved therein. Similarly, the Contractor will be responsible for provision of areas for stock piling materials and disposal of spoil dumps or stockpiling within the road reserve. The Contractor may utilize them subject to the approval of the Engineer.
No additional payment will be made to the Contractor to cover costs arising from the requirement of this clause. The Contractor shall include the costs of complying with this clause in the rates and prices inserted elsewhere in the Bill of Quantities.
602
Definitions

(e)                Materials Report

The information on possible material sites is given for the general guidance of bidders.

However, bidders are advised to conduct their own investigation as the information contained therein is neither guaranteed nor warranted.

SECTION 7
EXCAVATION AND FILLING FOR STRUCTURES

703
Excavation of Foundations for Structures 

Unless otherwise instructed by the Engineer, all excavated surfaces in material other than hard material, on which foundations for structures shall be placed, shall be compacted to 100% MDD (AASHTO T.99) immediately before structures are constructed.
Where a combination of hard and soft materials exist in the excavated surfaces then, dependant on the proportions of existing materials, the Contractor will either, remove a minimum of 300 mm of soft material below underside of foundation and replace it with lean concrete to the top of blinding level or remove a minimum of 300mm of hard material below the underside of blinding concrete and replace it with soft material compacted to 100% MDD (AASHTO T99).

a) Preparation of Foundation and Approval
i. Preparation of Foundation

The bottom of foundations shall be levelled both longitudinally and transversely or stepped as directed by the Engineer. Where the material met with is other than rock, the same shall be compacted to at least 95% MDD. Where rock and soil are met with in part widths, the area in the soil portion shall be sub-excavated to a depth of 100 mm and backfilled with Class 15/20 concrete. All rock faces shall be freed of soft and loose material, cleared and cut to a firm surface, level, stepped or serrated as directed by the Engineer. All seams shall be cleared out and filled with cement mortar, to the satisfaction of the Engineer.
ii. Approval of Foundation

After excavation in each location is completed, the Contractor shall notify the Engineer, and no foundation concrete shall be placed until the Engineer has approved the depth of the excavation and the character of the foundation material.
b) Erosion Protection Works at Upstream and Downstream of Culverts/Bridges

i. Scope
The work shall consist of provision of erosion protection works in the form of bed flooring and curtain or cut-off walls at the upstream and downstream ends of the new as well as the existing box/pipe culverts. The work shall be carried out to such designs and at such locations as indicated on the Drawings or as directed by the Engineer.
The erosion protection works shall consist of dry rubble stone bed flooring and random rubble masonry curtain (cut-off) wall at the upstream and downstream ends of box/pipe culverts.
ii. Materials
The material for bed flooring shall be dry rubble stone, each stone weighing not less than 40 kg.
The curtain wall shall be constructed of random rubble masonry in cement mortar of 1:3.
iii. Construction Operations
(a) Curtain Wall

The trench for the curtain wall shall be excavated as per Clause 703 of the Standard Specification at such locations and to such depths shown on the Drawings or as directed by the Engineer. After preparing the foundation bed, the curtain wall shall be constructed to the thickness shown on the Drawings and to levels up to top of the bed flooring.

(b) Floor Paving

The bed for the flooring shall be prepared by excavation in accordance with Clause 703 of the Standard Specification or filling in accordance with Clause 707 of the same specification, levelled and compacted to at least 98% MDD. The top of bed shall be prepared to such levels that after construction of the bed flooring, it is in line with the invert of the culvert barrel and sloping away. The bed flooring shall end before the curtain wall.
707
Backfilling of Excavations and Filling for structures 

All filling and backfilling shall be with selected materials approved by the Engineer, brought up in horizontal layers not exceeding 150 mm compacted thickness. Each layer shall be thoroughly mixed, watered or dried as necessary, and compacted to a minimum dry density of 100% MDD (AASHTO T99).
708
Protection of Structures

Unless specific provisions for any structure in respect of cofferdams has been made in the Bill of Quantities, no payment will be made for the erection, maintenance and removal of cofferdams and the Contractor’s rates shall be deemed to be all inclusive.
709
Excavations for River Training and New Watercourses 

For culvert widening the Contractor shall inspect the structures to be widened and allow for any river training works he deems necessary in his rates for excavation.
710
Stone Pitching

Stone pitching to drains, inlets and outlets of culverts to embankments and around structures shall consist of sound un-weathered rock approved by the Engineer.
All stone for pitching shall be capable of withstanding a crushing stress of 20 N/mm² when soaked. The source of stone shall be free from overburden, mudstone, cracks, sand holes, veins, laminations or other imperfections as may be identified by the Engineer during the approval process.
The surface to receive the pitching shall be compacted and trimmed to slope and the stone laid, interlocked and rammed into the material to give an even finished surface.
In areas where stone pitching has been damaged, the Contractor shall identify such areas and notify the Engineer for his agreement of the extent of the Works required and his approval and instructions to proceed with the Works. Stone pitching repair and reconstruction shall be carried out in accordance with Clause 710 of the Standard Specification. The Works shall involve removal of the damaged stone pitching and reconstruction of the said areas in accordance with Clause 710 of the Standard Specification by the use of the sound salvaged material together with any necessary additional material where all such materials shall comply with Section 7 of the Standard Specification

SECTION 8
CULVERT AND DRAINAGE WORKS 
804
Excavation for Culverts and Drainage Works

The final excavated surface in soft material on which culverts or structures are to be constructed shall be compacted to a dry density of at least 100% MDD (AASHTO T99) to a depth of 150 mm. All particles larger than 20 mm shall be removed prior to compaction.
805
Excavation in Hard Material

In the Standard Specification, sub-clause 805 (a) and (b) delete reference to “95%” and insert “100%”.
809
Bedding and Laying of Pipe Culverts

In the Standard Specification, sub-clause 809 (a), delete reference to “95%” and insert “100%”.
(d) Laying, Bedding and Surround for Culverts Cast In-situ

In addition to the requirements of the Standard Specification, where inflatable balloon method of casting culverts in-situ is used, it is essential that thorough pre-construction trials are carried out and necessary adjustments made to ensure that:

(i) All concrete used for surround and the top 50 mm or 80 mm of bedding for culverts size 600 mm and 900 mm internal diameters respectively shall be Class 25/20 while the rest of the concrete shall be class 20/20.

(ii) The inner concrete barrel surface immediately in contact with the inflated balloon form during placing shall achieve Class F1 finish.

810
Jointing Concrete Pipes

In addition to the requirement of Clause 810 of the Standard Specification, all precast concrete pipes shall be ogee jointed pipes laid with a 1:2 (cement: sand) mortar and provided with fillets on the outside and as described in the Standard Specification.
812
Backfill

In the Standard Specification make the following amendments to this clause:
(a) Wherever the expression “dry density of 95% (AASHTO T99)” occurs, this expression shall be deleted and replaced with “dry density of 100% (AASHTO T99)”.

(b) Delete paragraph 6: “For pipes culverts…depth of 150 mm”, entirely.

816
Minor Drainage Structures 

(a) Concrete Lined Drains

The exposed surfaces of concrete lined drains shall be a class UF2 finish. Concrete lined drains shall be constructed to the same standard as the minor drainage structures.
(b) Cast in situ chutes on side slopes

Where pre cast chutes are provided, refer to Section 1 of this the specifications.
817
Mitre Drains, Cut-off Drains, Catchwater Drains, Side Drains, Culvert Outfall Drains and Earth Dams

(a) Cleaning Existing Drains

Where instructed by the Engineer, the Contractor shall clear blocked side drains and/or outfall drains to a free-flowing condition. The work shall consist of but not be limited to:
i. Stripping and removal of extraneous material including vegetation and roots to spoil 

ii. Carting away and spreading any spoil to the satisfaction of the Engineer, and 

iii. Reshaping the drains to a free-flowing profile.
(b) Cleaning of Hydraulic Structures

Where instructed by the Engineer, the Contractor shall clean the existing hydraulic structures by removing all undesirable material in the structures to ensure they are clean and free flowing. The Contractor shall dispose of all the silt and other undesirable material to spoil. After the cleaning out of structures, the Contractor shall be responsible for maintaining the hydraulic structures in a clean condition for the duration of the Contract.
(c) Removal of Existing Pipes, Inlet and Outlet Structures

The Contractor shall remove existing concrete pipes where instructed by the Engineer including bedding, surround, inlet and outlet structures. Concrete shall be disposed of as directed by the Engineer. Masonry structures where in a good condition shall be preserved to reuse as may be directed by the Engineer. Additional material shall be added to the void left after removal of these pipes and structures and shall be carefully compacted to 100% MDD (T99). The void shall then be preserved for placement of any new pipes or construction of new structures.
The existing inlet and outlets structures, where in good condition, and reusable as beds to pipe extensions, shall not be removed. Any such structures removed without the Engineer’s approval shall be restored to the original condition at the Contractor’s expense.
(d) Extension of Existing Pipes

Where shown on the drawings or instructed by the Engineer, the Contractor shall extend the existing concrete pipes. Part of the existing pipe surround shall be broken and concrete collar constructed as shown on the drawings. The extension shall be backfilled to the same standards as for new pipes.
(e) Chute drain for High Embankment Sections

i. Scope

This work shall consist of construction of chute drain on the slope of the road embankment including erosion protection works at the locations and to dimensions shown on the Drawings or as directed by Engineer. The schedule of works shall be so arranged that the drains are completed in proper sequence with roadway to ensure that no damage is caused due to lack of drainage.
ii. Materials

The drains shall be of half round pipe of 600 mm dia. formed by joining pre-cast semi-circular RCC sections at site as shown in the drawings. The RCC work shall conform to the relevant clauses of these specifications.
The toe wall below ground level shall be of brick masonry in cement mortar 1:4 or plain cement concrete of class 15/20, as shown on the Drawings.
Dumped riprap for erosion protection at ground level shall be hard, unweathered and durable rubble stone of size 150 mm to 250 mm.
iii. Construction Operations

Excavation for fixing drain sections at the locations where the chute drains are to be installed, a semi-circular cut on the side slope of the embankment along the line of the chute drain shall be made in such a way that the RCC drain sections could be fixed snugly with their edges flush with the adjoining embankment slope. The sloping bed of the drain shall be to a regular line and suitably compacted to provide a firm bed.
(f) Stone Masonry and Concrete Paving

i. Description

The work shall consist of construction of lined ditches, stone paved shoulders, hard strips, chutes, toe walls, retaining walls, slab culvert walls, head walls, wing walls, aprons and slope protection works using natural stones for stone related masonry and precast concrete blocks for concrete block masonry set in cement mortar.
ii. Materials

(i) Stones

Stones used shall be hard and durable without weak seams or cracks and of rectangular shape. The Los Angeles Abrasion Value shall not exceed 50. The apparent specific gravity shall not be less than 2.2 and water absorption when tested in accordance with AASHTO T85 shall not exceed 5 percent.

(ii) Concrete Blocks

Concrete blocks for concrete block masonry shall be precast from Class 20/20 concrete while those used for paving shall be in Class 25/20 concrete. The blocks shall, in general, have the length, width and height in the proportion of 3:1.5:1 or as ordered by the Engineer. The blocks shall be moist cured for at least 7 days, and kept under cover for another 21 days in the casting bed before being lifted for use in the works. The blocks when tested flat after 28 days of casting shall have a compressive strength not less than 125 percent of the cylindrical compressive strength specified for the class of concrete used.
(iii) Mortar

The mortar shall be made of a mixture of cement and sand in the proportion of one cement to three sand. Cement shall be Portland cement conforming to AASHTO M85, Type I or II. The sand shall be crushed stone or natural sand or a combination thereof conforming to AASHTO M45. Water added shall be just adequate for making a workable mix and shall be subject to the approval of the Engineer.

iii. Construction Requirements

(i) Stone Masonry

The stone masonry shall be used for walls of different types above the ground level. The stones shall be of regular shape with length of any stone not exceeding 3 times its height, with the breadth on the bed not less than 150 mm nor greater than three quarters of the thickness of the wall. Unless otherwise directed, the stone shall have thickness not less than 150 mm.

All stone possessing bedding planes shall be laid with its natural bed as nearly as possible at right angles to the direction of the load, and in case of arch rings, the natural bed shall be radial.

Each course shall present a uniform horizontal line of more or less equal height. Vertical joints shall be broken by the adjoining courses. All joints shall be sufficiently thick to prevent stone to stone contact and shall be completely filled with mortar. On the exposed face no part of the masonry shall deviate from the general line of the wall by more than 20 mm.

Walls of stone masonry shall be provided with weep holes as shown on the Drawings or directed by the Engineer. In continuous long structures, expansion joints shall be formed as shown on the Drawings subject to a minimum spacing of 10 m.

All face joints shall be finished almost flush with the surface of the work without covering the stones. The top surface of all walls shall be provided with 20 mm thick cement mortar coping with a cross fall for shedding rainwater.

Newly laid masonry shall be protected against the harmful effects of weather and cured for a minimum period of 4 days. All visible surfaces of the masonry shall be clean and free from mortar stains and other blemishes.

Backfill behind the stone masonry walls shall be placed only after the masonry work has been in place for at least 14 days or as directed by the Engineer.
(ii) Grouted Stone Riprap

This type of masonry that is constructed in a single layer over a bed of mortar shall be used for shoulder paving, hard strips, aprons, drainage chutes, lined ditches and slope protection. The stone shall be of regular shape and uniform thickness. Prior to laying of the stone, the base shall be brought to regular shape and levels, watered and well compacted. Where this type of masonry is to be used for paving shoulders or for carriageway widening of the existing roads, the base shall be slightly loosened, watered and compacted to 95% MDD prior to application of the riprap. The stone shall be placed over a bed of mortar about 20 mm thick. After placement of the stones by hand, all the joints shall be completely filled with cement mortar. The finished work shall present a uniform surface with no point deviating from the general line by more than 10 mm in the case of shoulder paving, and hard strips, and not more than 25 mm in other cases. The finished work shall be protected against the adverse effects of weather and cured for at least 4 days.

(iii) Dry Stone Riprap

This work shall consist of placing 150 mm to 300 mm size rubble stone on the front side of cut-off walls of culverts and Irish Crossings as erosion protection measure. The dimensions of the riprap construction shall be as shown on the drawings or as directed by the Engineer. The stone used shall be of hard and durable type as are used for stone/boulder masonry. The stone shall be so placed that major hollow spaces are avoided.

iv. Measurement and Payment

(i) Stone Masonry

The quantity to be paid will be measured by volume in m³ of stone masonry complete in place and accepted. In computing the volume for payment, the dimensions used will be limited to those shown on the Drawings or ordered in writing by the Engineer.

No deductions will be made for weep holes, drainpipe or other openings of less than 0.2 m² in the area. The cement mortar coping on top of the wall shall be included in the measurement for stone masonry.

If the masonry is for heightening or lengthening an existing wall, the work of removing the plaster, if any, on the old wall including roughening of the surface to effect good bonding shall be considered incidental to the work and shall not be paid for separately.

The quantities of excavation below ground level and backfilling will be measured as structural excavation.
(ii) Grouted Stone and Dry Stone Riprap

Grouted Stone Riprap shall be measured by m² of completed and accepted work placed to the specific thickness. Measurement shall be limited to the dimensions shown on the Drawings or as otherwise authorised by the Engineer. No measurement shall be made of unauthorised areas or for extra thickness. Toe walls and cut-off walls below ground level shall be measured in m³ and paid for as Boulder Masonry.

Where the rip-rap is used for shoulder paving or for widening carriageway of existing road, the bed preparation shall be measured as sub-grade preparation in accordance with Clause 508 of the Standard Specification. In all the other cases, slope and bed preparation shall not be measured for payment but will be considered subsidiary to the pay item.

Dry Stone Riprap shall be measured as placed in position in m³. Any excavation for making space for placing the riprap shall be measured as common excavation in accordance to Clauses 504 and 505 of the Standard Specification.

(iii) Payment

The amount of completed and accepted work as measured will be paid for at the bid unit prices per m³ for “Stone Masonry”, “Dry Stone Riprap” and “Grouted stone riprap”, used for shoulder paving, hard strips, ditch lining, aprons, drainage chutes and slope paving. These prices shall be in full compensation for furnishing and placing all materials, and for all labour, equipment, tools and incidentals necessary for completion of the work complying with the specifications.

(g) Repair of Drainage Spouts

The repair of drainage spouts shall be made by cleaning of the existing drainage pipes of all muck and replacing the broken pipes or by providing new drainage spouts in cases where the same have not been provided.
i. Materials

(i) Ordinary Portland cement 42.5 N KS 1825

(ii) Aggregates conforming to BS 5328

(iii) GI Pipes

(iv) Paint.

ii. Equipment

(i) Welding equipment

(ii) Painting brushes

(iii) Miscellaneous construction equipment

iii. Procedure

The existing drainage spouts shall be cleaned of all muck. The new GI drainage spouts shall then be replaced for the damaged spouts as per the detailed drawings.
In case where drainage spouts have not been provided, the RCC kerb shall be cast after fixing new pipes as per the detailed drawings. The casting of concrete and fixing of pipes shall be made as per the standard practice.
The GI drainage spouts shall be painted with black anticorrosive paint of approved brand and manufacture to give an even shade.
The existing reinforcement shall be realigned and additional reinforcement shall be provided as per the drawings or as directed by the Engineer.
Concrete shall be mixed and laid as per the standard practice and as per the drawings. For bonding old concrete with the new concrete, the old concrete surface shall be painted with epoxy bonding agent or polymer cement slurry before the concreting is cast.
820
Measurement and Payments for Additional Items

(r) Item: Concrete for top 50 mm or 80 mm bedding and surround for culverts cast in situ.

Unit: m³

The rate for concrete for each size of culverts instructed shall include for the cubic metre of the top 50 mm or 80 mm of concrete for bedding and surrounds, as instructed, calculated from the dimensions on the drawings or as directed by the Engineer.
The rate for concrete for bedding and surrounds for culverts cast in situ shall include for the cost of providing and placing the concrete and complying with Clauses 809, 810, 814, 819 and 1713 of the Standard Specification.
No extra payment shall be made for provision of inflatable forms and other requirements for casting culverts in-situ and the Contractor shall be deemed to have provided for these in his rates.
(s) Item: Cleaning and grading the existing outfall and metre drains

Unit: m³

Cleaning the existing drains shall be measured by the volume instructed. The volume shall be the product of the cross-sectional area of the material to be removed from the drain and the length instructed.
(t) Item: Removal of material from existing side drains

Unit: m³
Cleaning of the existing drains shall be measured by the volume instructed. The volume shall be the product of the cross-sectional area of the drain to be cleaned and the length instructed. Payment will not be made under this item where the material can be removed in conjunction with bulk earthworks.
(u) Item: Removal of the existing pipes

Unit: m³

Removal of the existing pipes shall be measured by the length of culvert removed. It shall include for breaking out where necessary and carting of the removed culvert and surrounds to spoil or stockpile as shall be directed by the Engineer. It shall also include all the costs of complying with the requirements of Clause 817.3.
(v) Item: Demolition of inlet and outlet structures

Unit: m³ of concrete or masonry

Demolition of inlet and outlet structures shall be measured by the volume of concrete or of masonry structures demolished. There will be no distinction between reinforced and un-reinforced concrete structures. The rate shall include for disposal of concrete and reuse of masonry as directed by the Engineer. Stone pitching shall not be measured separately and where it is to be removed shall be treated as normal site clearance.
(w) Item: Cleaning the existing hydraulic structures - Unit: m³

Cleaning of the existing hydraulic structures shall be measured by the volume of material removed. The rate shall include for the cost of removing all undesirable material, transporting and disposing off as well as the additional costs of gaining access to the structures as specified and maintaining the structures in a clean condition.
(x) Item: Concrete collar - Unit m³

Reinforced concrete collars shall be measured by the volume of concrete placed as shown on the drawings or instructed by the Engineer.
Where the existing culvert which is to be extended has a concrete surround, the rate shall also include for removal of this surround for the length of the collar to be placed around the existing culvert.
In all cases the rate shall also include for excavation below the culvert and the preparation and compaction of the in-situ material to form a bed for the collar.
821
Cement Mortared Stone Masonry Walls

Masonry walling shall be constructed with sound clean stone with a minimum width of 200 mm. The stone shall have a fair finish. The stone shall be individually placed to break joint and to provide a minimum of voids. The stone shall be wetted and jointed in a 3:1 (sand: cement) mortar. Exposed stone on the wall faces shall be cleaned of mortar by washing or wire brushing. The mortar shall be flush pointed to the approval of the engineer.
Weep holes shall be provided as instructed and shall be cleaned of mortar and any other clogging material that may have entered during construction.
The walling shall be protected from the weather and kept moist for a minimum of seven (7) days after completion.
822
Subsoil Filter Drains

The Contractor shall lay subsoil filter drains where shown on the drawings or instructed by the Engineer. The drain shall extend to the underside of the sub-grade or sub-base and shall consist of a perforated pipe wrapped in geotextile fabric as specified in the Standard Specifications and shown on the drawings. The pipe and fabric shall be laid on and backfilled with granular filter materials. The granular material shall comply with the requirements given in the table below.
	BS Sieve Size
	Percentage by mass Passing Sieve

	(mm)
	Minimum
	Maximum

	
	
	

	37.5
	100
	100

	20
	85
	100

	10
	50
	100

	5
	35
	90

	1.18
	15
	50

	0.600
	5
	35

	0.150
	0
	5


823
Gulley Pots and Chambers

Where shown on the drawings or instructed by the Engineer, the existing roadside gulleys and gulley pots shall be adjusted before laying final wearing course such that there are no depressions around man holes, gulleys or chambers. The beds, frames and haunches shall be adjusted with concrete Class 20/20 true to line and level and to the satisfaction of Engineer.
824
Pedestrian Crossings

Where shown on the drawings or instructed by the Engineer, the Contractor shall construct pedestrian crossings across open drains. The crossing will be 2 m wide, with culverts located as directed by the Engineer. The pedestrian crossing shall be finished to the same standards as the adjacent footpath. Where there is no footpath, the crossing shall be finished with approach path comprising 150 mm gravel base with surface dressing similar to the adjacent shoulder as directed by the Engineer.
825
Measurement and Payment for Further Additional Items

(a) Item: Preparation of bed for concrete lined open drains

Unit: m²
The unit of measurements shall be the square metre of excavation trimmed to receive concrete lining. The rate shall include for all the excavation below the finished line of the drain, providing and laying of gravel bed, and compacting and shaping to the line and level required to receive the concrete lining.
(b) Item: Cast in situ concrete chutes

Unit: m³

Cast in situ shall be read as “Pre-cast”. Pre-Cast concrete chutes shall be measured by the volume of concrete cast. The rate shall include for preparation of sides, laying, fixing and for complying with the requirements of Sections 8 and 17 of the Standard Specification.
SECTION 9
PASSAGE OF TRAFFIC
903
Maintenance of Existing Road 

The Engineer shall hand over the existing road to the contractor, in sections, at the commencement of the Contract for construction purpose. However, the Contractor shall be responsible for all repairs and maintenance of the entire road package for the duration of the Contract. The existing road is bituminous and the Contractor shall maintain it with asphalt materials or other materials similar to those of the existing pavement layers. The Contractor shall regularly inspect the road and carry out such repairs and maintenance to the satisfaction of the Engineer. If at any time the Engineer draws the Contractor’s attention to a road section which requires maintenance the Contractor shall promptly repair the section. The Contractor shall be legally responsible for any accident or damage attributable to his failure to maintain the road.
(a) Maintenance of Right of Way

Throughout the period of the Contract the Contractor shall at all times maintain public vehicular access to the right of way, within the right of way and from the right of way to all public and private land, as it was immediately prior to his commencement of the Works.
The Contractor may, on submission of written request to the Engineer, including a drawing, programme and specification, be given approval to operate:
i. A road diversion suitable for the road traffic and suitable width or

ii. Traffic on a one-way system using manual coordinated direction control or automatic traffic lights having a secure source of power.

Applications for approval shall show every detail of the proposals including road construction cross section including pavement, surfacing, profile and drainage, road signing, communication between the ends of the controlled section lighting and the proposed period of operation.
One-way systems shall be provided with adequate sign posting and the Contractor shall limit delays to any traffic to the minimum and with the approval of the Engineer. The travelling public shall be notified by signs, of exceptional delay well in advance of the site of delay, as required by the Engineer.
Payment for temporary diversions, traffic provisions and maintenance of roadways shall be as provided in the Contract and as instructed by the Engineer.
904
Construction of Deviations

The Contractor shall programme his works in such a way that traffic shall not be required to pass over more than 1.5 km at any one time unless otherwise approved by the Engineer.
906
Passage of Traffic through the Works 

The Contractor shall be deemed to have inspected the site and satisfied himself as to the adequacy of his bid for these works and no additional payments will be made for any expenditure on traffic control. Should the Contractor propose any other method of passage of traffic including construction of traffic deviations and use of the existing roads the Contractor shall investigate the alternatives, construct and maintain them to the satisfaction of the Engineer. The Employer shall not be liable for investigations or costs arising from the alternatives methods of traffic control proposed by the Contractor. Deviations or other measures for traffic control where proposed by the Contractor shall meet the requirements of the specifications and drawings and be approved by the Engineer.
The Contractor shall ensure that the workforce and site supervisory staff at all times wear high visibility garments when work is carried out on or adjacent to a section of the road open to traffic. The Contractor shall ensure that the supervisor or person in charge of the work force is readily recognized from the rest of the workforce. In addition, the Contractor shall provide a full-time traffic safety officer to coordinate aspects of road safety for the whole site.
The Contractor shall be deemed to have included all costs related to employing the traffic safety officer and for all the duties performed by him in his rate for passage of traffic.
912
Measurement and payment

(b) Item: Construct Deviation 

The rate for construction of deviation shall include provision, placing, forming and compaction of gravel sub-base, stone base and bituminous wearing courses.
(c) Item: Provide and Maintain Road Signages

Unit: Lump Sum

Payment of the lump sum shall be through equal monthly instalments over the period of the Contract on a pro rata basis subject to the approval of Engineer.
(d) Item: Maintain existing Roads and deviations

Unit: Lump Sum

Payment of the lump sum shall be paid per kilometre length the period of the Contract, excluding the Defects Liability Period provided that the total sum of instalments paid shall not exceed the lump sum; and

(i) If any month the Engineer is not fully satisfied that the Contractor has fully complied with all the provisions of this sub-section, the Employer shall withhold the whole of the instalments due to the Contractor and the Engineer shall, in addition, deduct from any monies due to the Contractor a sum of Kshs 150,000 per day for the period of non-compliance from the date of the Engineer’s notice for that month.
(ii) Where notified by the Engineer the contractor shall complete maintenance on a section or sections of the road so notified within 14 days. Provided further that, if the Contractor fails to complete maintenance on any section within 14 days of the Engineer’s notification thereof, the Engineer shall deduct Kshs. 200,000 for delay per day.
SECTION 11
SHOULDERS AND FOOTPATHS

1107
Footpaths

Where shown on the drawings or directed by the Engineer, footpaths shall be constructed. The Footpaths shall be constructed using the precast concrete paving blocks as the finish or asphalt or gravel wearing course. The line of the footpaths shall be as shown on the drawings or as directed by the Engineer.
a) Pre-cast Concrete Paving Blocks

Precast concrete blocks shall be hydraulically pressed, complying with BS 7263: Part 1. Blocks shall be laid in accordance with BS 7263: Part 2 to the required cross fall.
b) AC Surfacing for Footpaths and other Paved Areas

AC surfacing for footpaths and paved areas shall be laid in compliance with section 16 of the Standard Specification.
Surfacing shall be laid true to level and cross fall as shown on the drawing or instructed by the Engineer. Payments for flexible surfacing on footpaths will be measured and paid in accordance with the provisions of section 16 of Standard Specification.
1108
Measurement and Pavement

(a) Item: Precast Concrete Paving Blocks

Unit: m2
Precast concrete blocks shall be paid by the area measured on plan. The rate shall include for supplying, laying the bedding, jointing, compacting, laying at kerbs and radii and all the Contractor’s obligations with respect to this clause.
SECTION 12
NATURAL MATERIAL SUBBASE AND BASE
1203
MATERIALS REQUIREMENT

Natural gravel material for subbase and base pavement layer shall have a minimum CBR of 30% at 95% MDD (AASHTO T180) and 4-day soak, plasticity index maximum 15% and plasticity modulus max 250 and shall meet all other requirements given in clause 1203 (c) of the Standard Specification.

1209
MEASUREMENT AND PAYMENT


(a) Natural material for sub-base and base: 


Unit: m3

Measurement and payment shall be by Method A as described in the Standard Specification

(b) Overhaul: 


There shall be no overhaul on natural material for sub-base.

SECTION 13
GRADED CRUSHED STONE SUBBBASE AND BASE

1303
Material requirements

The material for graded crushed stone sub-base/base shall comply with requirements for Sub-base stone Class A 0/40 and that for the Base stone Class A 0/30. After compaction and compliance with the requirements of Clause 1306 of this specification below, the Sub-base/Base graded crushed stone material shall have a maximum of 8% of particles smaller than 0.075 mm and the resultant layer shall comply with all requirements of Section 13 of the Standard Specification.
The crushing ratio for all graded crushed stone pavement materials shall be minimum 100%.
1306
Laying and Compacting Graded Crushed Stone Subbase and Base

Graded crushed stone shall be laid by a paving machine.
1500
BITUMINOUS SURFACE TREATMENTS AND SURFACE DRESSING
1501A
General

PART B – PRIME COAT

1502B
Materials for Prime Coat and Tack Coat

The surface of the base layer shall be primed with a prime coat binder and shall be a medium-curing cutback MC 30 and/or MC 70 as directed by the Engineer. 
The tack coat to be applied prior to laying bituminous mixes shall be 60/70 penetration grade bitumen (CEN Specification 50/70) penetration grade bitumen unless otherwise directed by the Engineer. 

1504B
Spraying of Prime Coat and Tack Coat

The rate of spray of bituminous prime coat refers to the gross volume of the cut-back bitumen, that is to say the volume of the bitumen sprayed per m2.  It will generally be between 0.8-1.2 litres/square metre.
The rate of spray of the tack coat binder shall be as instructed by the Engineer and shall generally be within the range 0.3-0.8 litres/square metre.

SECTION 16
BITUMINOUS MIX BASES, BINDER COURSE AND WEARING COURSES

PART A – GENERAL

1603A
Construction Plant

(d)
Compaction Plant
The Contractor shall provide sufficient rollers of adequate size and weight to achieve the specified compaction.  Prior to commencing the laying of bituminous mixes in the permanent Works, the Contractor shall carry out site trials in accordance with clause 1606A and Section 2 of the Standard Specification to demonstrate the adequacy of his plant and to determine the optimum method of use and sequence of operation of the rollers.

It is important to achieve as high a density as possible at the time of construction and it is essential that thorough pre-construction trials are carried out to ensure that:-

a) The roller is set up to have the optimum amplitude and frequency of vibration for the particular material being laid,

b) That the roller does not cause breakdown of the aggregate particles,

c) That the optimum compaction temperatures are established which allow compaction without causing ripple effects or other distortions of the surfacing.

1604A
Preparation of Surface

A tack coat shall be applied prior to laying the bituminous mix or between layers of the bituminous mix, in accordance with Section 15 of the Specifications.  

PART B - ASPHALTIC CONCRETE FOR SURFACING

1601B
Definition

The Asphalt Concrete shall be both Type I (high stability) and Type II (flexible type), as directed by the Engineer, and complying with the requirements contained hereunder.

1602B
Materials for Asphalt Concrete

(a) Penetration grade bitumen

Bitumen for asphalt concrete shall be 60/70 penetration grade (or CEN Specification 50/70). 

(b) Aggregate

Coarse aggregate (retained on a 6.3mm sieve) shall consist of crushed stone free from clay, silt, organic matter and other deleterious substances. The aggregate shall be Class ‘A’ and shall comply with the requirements given in Table 16b-1(b):

TABLE 16B-1(b) Requirements for coarse aggregate

	Coarse Aggregate (retained on a 6.3 mm sieve)

	Test
	Maximum value

	LAA
	30

	ACV
	25

	SSS
	12

	FI
	20


The coarse aggregate shall be entirely crushed rock, with a crushing ratio not less than 60%. 


Fine aggregate (passing a 6.3 mm sieve) shall consist entirely of crushed rock free from clay, silt, organic and other deleterious matter and shall be non-plastic. The Sand Equivalent of the fine aggregate shall not be less than 40 and the SSS not more than 12.

(c) Mineral filler

Mineral filler shall consist of finely ground particles of limestone, hydrated lime, Ordinary Portland cement or other non-plastic mineral matter. It shall be thoroughly dry and free from lumps. At least 75 % (by weight) shall pass a 0.075 mm sieve and 100% shall pass a 0.425rnm sieve. It shall have a bulk density in toluene measured in accordance with BS 812 of between 0.5 and 0.9 g/ml.

TABLE 16B-1 (a) GRADING REQUIREMENTS FOR ASPHALT CONCRETE

	Sieve size (mm)
	Percentage by weight passing
	Percentage by weight passing

	
	Type I 
	Type II 

	
	Wearing  course
	Wearing  course

	
	0/14
	0/14

	28
	-
	-

	20
	100
	100

	14
	90 -100
	90 -100

	10
	70 - 90
	70 - 95

	6.3
	55 - 75
	55 - 85

	4
	45 - 63
	46 - 75

	2
	33 - 48
	35 - 60

	1
	23 - 38
	25 - 45

	0.425
	14 - 25
	14 - 32

	0.300
	12 - 22
	11 - 27

	0.150
	8 - 16
	6 - 17

	0.075
	5 - 10
	3 - 8


1603B
Grading Requirements
The grading mixture of coarse and fine aggregate shall be within and approximately parallel to the grading envelopes as given in Table 16B-1(a) for 0/14 mm Type I and Type II asphalt concrete wearing course. In addition, the material shall comply with the requirements below.

The Contractor shall investigate a number of gradings so that a workable mix, which also retains a minimum of 3% voids in mix (VIM) at refusal density, is identified. As guidance towards identifying a suitable grading, recommendations are provided in Tables 16B-1(c) and (d).

TABLE16B-1(c) SUPERPAVE aggregate grading control points
	Nominal Maximum Size
	Sieve size
	Control Point
(per cent passing)

	(mm)
	(mm)
	Minimum
	Maximum

	37.5
	0.075
	0
	6

	
	2.36
	15
	41

	
	25.0
	-
	90

	
	37.5
	90
	100

	
	50.0
	100'
	-

	25.0
	0.075
	1
	7

	
	2.36
	19
	45

	
	19.0
	-
	90

	
	25.0
	90
	100

	
	37.5
	100
	-

	19.0
	0.075
	2
	8

	
	2.36
	23
	49

	
	12.5
	-
	90

	
	19.0
	90
	100

	
	25.0
	100
	-

	12.5
	0.075
	2
	10

	
	2.3s
	28
	58

	
	9.5
	-
	90

	
	12.5
	90
	100

	
	19.0
	100
	-


TABLE 16B-1 (d) SUPERPAVE boundaries of aggregate restricted zone

	Sieve size within restricted zone
(mm)
	Minimum and maximum boundaries of sieve size for nominal maximum aggregate size. 
(Minimum/Maximum percent passing)

	
	37.5
	25.0
	19.0
	12.5

	4.75
	34.7-34.7
	39.5-39.5
	-
	-

	2.36
	23.3-27.3
	26.8-30.8
	34.6-34.6
	39.1-39.1

	1.18
	15.5-21.5
	18.1-24.1
	22.3-28.3
	25.6-31.6

	0.6
	11.7-15.7
	13.6-1 7. 6
	16.7-20.7
	19.1-23.1

	0.3
	10.0-10.0
	11.4-11.4
	13.7-13.7
	15. 5-15.5


Note (1) - The SUPERPAVE definition of 'Nominal Maximum Size of Aggregate' is one sieve size larger than the first sieve to retain more than ten per cent of the aggregate.

It is recommended that where possible the largest particle size used should not be more than 25rnm so that the requirements of the Marshall test method can be complied with.

Mixes identified for compaction trials shall be manufactured to the laboratory design bitumen content and two other bitumen contents of + 0.5% and + 1.0% additional bitumen. Cores will be cut to determine the density of compacted material. The core will then be reheated to 145 ± 5oC in the appropriate mould and compacted to refusal in the vibrating hammer test. The cores cut from the compaction trial must have a density equivalent to 95% refusal density.

The compaction trials will identify a workable mix which can be made to a bitumen content which gives minimum 3% Voids in Mix (VIM) at refusal density.
1604B
Requirements for Asphalt Concrete
The mixture shall comply with the requirements given in Table 16B-2.

TABLE 16B-2 REQUIREMENTS FOR ASPHALT CONCRETE

	Asphalt Type
	No. of blows Marshall compaction
	Minimum Stability
(kN)
	Flow
(mm)
	Voids 
(%)

	Type I
	2x751
	4 - 9
	2 - 4
	3-5

	Type II
	2x751
	4 - 9
	3 - 5
	3-5


Note1: Satisfactory volumetric composition must be confirmed by refusal density testing 

The nominal binder content shall be 5.0%. In addition to the requirements given in Table 16B-2, the maximum Marshall Stability for 2x75 blows shall be 18 kN, and at compaction to refusal shall ensure minimum 3% VIM.

In order to determine the suitability of a coarse aggregate source a Marshall Test programme shall be carried out. It will be advantageous to use a crushed rock which is known from past experience: to give good results in this test procedure. A grading conforming to the Type 1 Binder Course detailed in Table 16B-1(a) 0/20 of this Specification should be tested (but with 100% passing the 25 mm sieve) and it shall meet the requirements of Table 16B-2 of this Specification.

Having established the suitability of the aggregate source several gradings shall be tested in the laboratory, including that used for the Marshall test, to establish relationships between bitumen content and VIM at refusal density. For each mix, samples will be made up to a range of bitumen contents and compacted to refusal using a gyratory compactor and a vibratory hammer in accordance with the procedure described in BS 598 (Part 104: 1989), with one revision;

It should first be confirmed that compaction on one face of the sample gives the same refusal density as when the same compaction cycle is applied to both faces of the same sample. The procedure which gives the highest density must be used.

From the bitumen content-VIM relationship it will be possible to identify a bitumen content which corresponds to a VIM of 3%. If it is considered that the workability of the mix may be difficult then compaction trials should be undertaken. It is advisable to establish two or more gradings for compaction trials.

The mixes identified for compaction trials should be manufactured to the laboratory design bitumen content and to two other bitumen contents of +0.5% and +1 % additional bitumen. Cares will be cut to determine the density of the compacted material; having completed the core will then be reheated to 145+/- 5°C in the appropriate mould and compacted to refusal in the vibrating hammer test. To be acceptable the cores cut from the compaction trial must have a density equivalent to at least 95 % of refusal density.

The compaction trials will identify a workable mix which can be made to a bitumen content which gives 3% VIM at refusal density.

1605B
Mixing and Laying Asphalt Concrete
The temperature of the bitumen and aggregates when mixed shall be 110 ± 3oC above the softening point (Ring and Ball) of the bitumen.

Compaction shall commence as soon as the mix can support the roller without undue displacement of material and completed before the temperature of the mix falls below 900C.

The mixing and placing of asphalt concrete must be carried out only under favorable weather conditions. Mixing and placing of asphalt concrete will not be allowed if the moisture content of aggregate affects the uniformity of temperature, or if free water is present on the working surface. Mixing shall not be allowed to take place more than two hours before placing begins unless provision had been made for storing. Storage of mixed materials will only be permitted in insulated hot mix bins. In any case storage will not be permitted for a period longer than 12 hours after mixing, unless otherwise approved by the Engineer. 

1606B
Compaction
Rolling shall be continued until the voids measured in the completed layer are in accordance with the requirement for a minimum mean value of 95 per cent of refusal density (with no value less than 93 per cent).

SECTION 17
CONCRETE WORKS
1703
Materials for Concrete Works on Culverts and Bridges

(a)
General

This work shall consist of furnishing, mixing, delivering and placing of the concrete for the construction of box culvert walls and slabs, in accordance with these Specifications and in conformity with the requirements shown on the Drawings.
Concrete class 30/20 shall be used for box culvert walls and slabs.
(b)
Cement 
Cement shall be Ordinary Portland Cement type and shall conform to the requirements of Kenya Standard “KS 1725 2001 CEM 1 42.5N”
The contractor shall select only one type and brand of cement.  Changing of type or brand of cement will not be permitted without a new mix design approved by the Engineer.  All cement is subject to the Engineer’s approval; however, approval of cement by the Engineer shall not relieve the Contractor of the responsibility to furnish concrete of the specified compressive strength.
Conveyance of cement by jute bags shall not be permitted.  Storage in the Contractor’s silo or storehouse shall not exceed two (2) months, and age of cement after manufacture at mill shall not exceed four (4) months.  The Contractor shall submit to the Engineer for his approval the result of quality certificate done prepared by the manufacturer.
Whenever it is found out that cement have been stored too long, moist, or caked, the cement shall be rejected and removed from the project.
(c) 
Fine aggregate

Fine and coarse aggregate must be clean, hard, strong and durable, and free from absorbed chemicals, clay coating, or materials in amounts that could affect hydration, bonding, strength and durability of concrete.
Grading of aggregates shall conform to the following requirements:

Grading of Fine Aggregate

	Sieve Size
	Percentage by Weight Passing

	10  mm

5 mm

2.5   mm

1.2   mm

0.6   mm

0.3   mm

0.15 mm
	100

89-100

60-100

30-100

15-  54

5-  40

0 - 15



Other requirements for aggregates are as follows:


Fine Aggregates

Fineness Modulus, AASHTO M-6

            :  2.3 – 3.1


Sodium Sulphate Soundness, AASHTO T104         :  Max. 10% loss


Content of Friable Particles AASHTO 112
 :  Max 1% by weight


Sand Equivalent, AASHTO T176

            :  Min. 75
(d) 
Coarse Aggregates


Grading of Coarse Aggregates

	Size of Coarse Aggregate
	Amounts finer than each standard sieve percentage by weight

	
	40      30       25        20          15         10              5              2.5

	
	100     -           -         90-100        -        30-69       0-10          -



Other requirements for aggregates are as follows:


Coarse Aggregate

Abrasion, AASHTO T96


            :  Max. 40% loss


Soft Fragment and shale, AASHTO M80
            : Max.  5% by weight


Thin and elongated Pieces, AASHTO M80
 :  Max. 15%
(g) 
Water for concrete and mortar 

All sources of water to be used with cement shall be approved by the Engineer.  Water shall be free from injurious quantities of oil, alkali, and vegetable matter and salt as determined by the Engineer.
(h) 
Admixture 

Only admixture, which have been tested and approved in the site laboratory through trial mixing for design proportion shall be used.
Before selection of admixture, the Contractor shall submit to the Engineer the specific information or guarantees prepared by the admixture supplier.  
The contractor shall not exclude the admixture from concrete proportions. 
1704
The Design of Concrete Mixes 

(a) 
Classes of concrete 

Concrete class 30/20 shall be used for box culvert walls and slabs.  The requirements of Concrete class 30/20 are provided as follows unless otherwise the Engineer will designate any alteration.
Design compressive strength (28 days)

       

 : 30N/mm2
Maximum size of coarse aggregates


      
 : 20mm

Maximum water/cement ratio of 45% with slump of 80mm

 (b) 
Design of proposed mixes 

The Contractor shall consult with the Engineer as to mix proportions at least thirty (30) days prior to beginning the concrete work.  The actual mix proportions of cement, aggregates, water and admixture shall be determined by the Contractor under supervision of the Engineer in the site laboratory.

The Contractor shall prepare the design proportions which has 120% of the strength requirement specified for the designated class of concrete.

No class of concrete shall be prepared or placed until its job-mix proportions have been approved by the Engineer.

1705
Mixing Concrete 

                (i)  Batching

Batching shall be done by weight with accuracy of:


Cement


: 0.5 percent


Aggregate


: 0.5 percent


Water and Admixture
: 1 percent.
Equipment should be capable of measuring quantities within these tolerances for the smartest batch regularly used, as well as for larger batches.
The accuracy of batching equipment should be checked every month in the presence of the Engineer and adjusted when necessary.

 (ii)
Mixing and delivery  

Slump of mixed concrete shall be checked and approved at an accuracy of +25mm against designated slump in these specifications.
1708
Placing of Concrete 

(i) Concrete in hot weather

No concrete shall be placed when the ambient air temperature is expected to exceed thirty-three degrees Celsius (330c) during placement operations).

(ii) Concreting at night

No concrete shall be mixed, placed or finished when natural light is insufficient, unless an adequate approved artificial lighting system is operated, such night work is subject to approval by the engineer.

(iii) Placing

In preparation of the placing of concrete, the interior space of forms shall be cleaned and approved by the engineer prior to placing concrete. All temporary members except tie bars to support forms shall be removed entirely from the forms and not buried in the concrete.  The use of open and vertical chute shall not be permitted unless otherwise directed by the engineer.

The Contractor shall provide a sufficient number of vibrators to properly compact each batch immediately after it is placed in the forms.
1721
Formwork for Concrete Culvert Culverts and Bridges

This work shall consist of all temporary moulds for forming the concrete for culvert walls and slabs together with all temporary construction required for their support.  Unless otherwise directed by the Engineer all formworks shall be removed on completion of the walls and slabs.

Materials: 
Forms shall be made of wood or metal and shall conform to the shape, lines and dimensions shown on the Drawings.

All timber shall be free from holes, loose material, knots, cracks, splits and warps or other defects affecting the strength or appearance of the finished structure.

Release Agents – Release agents shall be either neat oils containing a surface activating agent, cream emulsions, or chemical agents to be approved by the Engineer.

1741
Measurement and Payment 


(a) 
Item: Concrete


Unit:   m3 of each class 

Measurements for the concrete of each class for bridges, box culvert walls and slabs shall be made in cubic metre for the walls and slabs actually constructed, measured from their dimensions shown on the Drawings.  The rate for the concrete includes for the full compensation for furnishing all materials of the concrete mixing, delivering, placing and curing the concrete, equipment and tools, labour and other incidentals necessary for the completion of the work in accordance with the Drawings and these Specifications and as directed by the Engineer.

SECTION 19
STRUCTURAL STEELWORK 

1901
General 
The fabrication and erection of all structural steelwork shall be under the constant supervision of competent and experienced personnel. All workmanship shall be in accordance with the best modern workshop practice and only skilled workers trained and experienced in steel fabrication and erection shall be employed.

1902
Applicable Standards

The supply, fabrication and erection of structural steelwork shall be in accordance with the provisions of the relevant clauses of the following British Standards: -

BS 4-1:2005
Structural steel sections

BS 4848
Hot rolled structural steel sections

BS 153
Steel girder bridges, part 1- Materials and workmanship and part 2 – Weighing, shipping and erection

BS 4360
Weldable structural steels

BS 4395
High strength friction grip bolts and associated

Parts 1&2
nuts and washers for structural engineering (metric series).

BS 4604
The use of high strength friction grip bolts in structural steelwork.

BS 2708
Unified black square and hexagon bolts, screws and nuts (UNC and UNF threads).

BS 4190
ISO metric black hexagon bolts screws and nuts.

BS 3692
I.S.O metric precision hexagon bolt screws and nuts.

BS 3692
I.S.O metric precision hexagon bolt screw and nuts

BS 4320
Metal washers for general engineering purposes.

BS 5135
Metal arc welding of carbon and manganese steels

BS 638
Arc welding plant, equipment and accessories.

BS 639
Covered electrodes for the manual metal-arc welding of mild steel and medium tensile steel.

BS 4870
Approved testing and welding procedures, part 1 Fusion welding of steel

BS 4871
Approval testing of welders working to approved welding procedures, part 1 Fusion welding of steel.

BS 5493
Protective coating of iron and steel structures against corrosion.

1903
Materials

All structural steel shall be to the Grade as defined on the Drawings and shall comply with the requirements of BS 4360 in every respect Mill certificate shall be supplied to the Engineer in duplicate to confirm the mechanical and chemical properties.

Steel for headed stud shear connectors shall have a minimum yield stress of 385 N/mm² and a minimum tensile strength of 495N/mm².

1904
Storage of Materials

Structural steelwork whether plain or fabricated shall be stored above ground on platforms, skids or other supports and in such way as to prevent pools of water forming on the ground. It shall be kept free from dirt, grease and other deleterious material and shall be protected as far as is practicable from corrosion. The time limits for outside storage of unpainted or primed steelwork shall be as detailed in the Special Specification.

1905
Fabrication

Fabrication shall generally be in accordance with the requirements of BS 153 part 1, workmanship. Rolled material, before being processed, must be straight or flat. Straightening of flattening, where required and where permitted by the Engineer, shall be accomplished by a process not harmful to the material.

The contractor shall submit to the Engineer for his approval two sets of shop drawings with calculations as appropriate and the contractor shall not commence fabrication until written approval has been given by the Engineer. The Engineer will give comment or approval within 28days after receipt of the shop drawings and calculations. Such approval shall not relieve the contractor of any of his responsibilities under the contract.

Following approval of the shop drawings the Contractor shall supply to the Engineer a further four copies of each drawings for the use of the Engineer and the Employer.

The components of various members of the structure shall be placed in jigs of approved design and all welding shall be carried out in accordance with clause 1907. Every precaution shall be taken to prevent distortion.

1906
Preparation of Edges and Ends of Plates

Edges and ends shall be either:

(a) Left as rolled, sawn, machine cut, machine flame cut;

(b) hand flame cut and ground to a smooth profile; or

(c) for stiffeners and gussets not exceeding 12mm thick, sheared and subsequently ground to a smooth profile.

Where ends of stiffeners are required to be fitted, they shall be ground to be in contact with the flanges over 80% of the area of stiffener.

After shearing or flame cutting of plates, one of the following requirements shall be satisfied:

(a) the hardness of the cut edge shall not exceed 350HV 30 of BS 427;

(b) the cut edge is incorporated in a weld;

(c) the material from the edge is removed by machining or grinding to demonstrate that the hardness of the edge is less than 350HV 30 of BS 427;

(d) the edge is softened by an approved heat treatment and is shown to be free from cracks by crack detection procedures; or

(e) the material is Grade 43 steel and is not greater than 40mm thick and the edge preparation is by machine flame cutting.

1907
Welding

Welding will be permitted only where shown on the Drawings, and the agreed shop drawings.

All welded operations shall comply with the requirements of BS 5135

The details of all welds shall be arranged to achieve the most satisfactory welding procedure. The details of the welding procedure shall be submitted to the Engineer for his approval and no welding may commence without the prior approval of the Engineer. No departure from an approved procedure may be made without prior approval of the Engineer. Welding procedure details to be submitted to the Engineer shall include the following;-

i. Welded position.

ii. Fusion face preparation

iii. Pre-heating

iv. Electrode make, type and size and mechanical properties

v. Number and arrangements of runs

vi. Welding current

vii. Arc energy

viii. Method of back gouging and sealing

ix. Proposed methods of quality control and testing of welds

Welding shall be carried out under the supervision of an experienced and competent supervisor in accordance with the requirements of BS 5135. The welders shall be tested in accordance with the requirements of BS 4871 prior to the commencement of the work.
The Contractor shall carry out trials of the welding procedure in accordance with the requirements of BS 4870
Welding plant and accessories shall comply with the requirements of BS 638 and shall be used in accordance with the manufacturer’s instructions. The welding plant shall be capable of maintaining at the weld the current and voltage specified by the manufacturer and in accordance with the welding procedure.

The electrodes shall be selected with regard to the quality of the material to be welded and the optimum performance with the welding procedures and shall comply with the requirements of BS 639. All electrodes shall be stored in their original packets in a dry and preferably heated place adequately protected from the weather and shall be handled with care and in accordance with the manufacturer’s instructions. Electrodes and fluxes that show signs of moisture, damage or deterioration shall be used.

Welds shall be subject to non-destructive examination and testing as specified in the Special Specification.

Welded fabrications and weld quality shall comply with the requirements of the American Welding Society Specification ANSI/AWS DI.1.81, Section 9,

PART D

Stud shear connectors shall be subjected to the following tests:-

(a) The fixing of studs after being welded in position shall be tested by striking the side of the head of the stud with a 2 kg hammer and shall pass such test if no part of the weld shows fracture or is dislodged thereby

(b) Any stud selected by the Engineer shall be capable of being bent by striking the side of the head of the stud with a 6kg hammer until its head is displaced laterally a distance of approximately 0.25 times the height of the stud from its original position. The stud weld shall not show any signs of cracking or lack of fusion. Satisfactory studs shall not be bent back again.

(c) Studs whose welds have failed the tests given in (a) and /or (b) above shall be replaced according to a procedure to be agreed with the Engineer

1908
Bolting

(a) Black Bolts

All mild steel bolts, washers and nuts shall be of the grade as specified on the Drawings and shall comply with the requirements of BS 4190, BS 2708 or BS 3692 as appropriate.

All holes shall be drilled or drilled small and reamed and shall be clean cut without torn or rages edges. The holes shall be perpendicular to the member and not more than 2mm larger than the nominal diameter of the bolt.

In all cases where the full bearing area of the bolt is to be developed the bolt shall be provided with a steel washer under the nut to avoid any threaded portion of the bolt being within the parts bolted together. Tapered washers of the correct angle of taper shall be provided under all bolt heads and nuts bearing on beveled surfaces.

(b) High Strength Friction Grip (HSFG) Bolts

HSFG bolts shall comply with the requirements of BS 4395 parts 1 and 2 and shall be used in accordance with the provisions of BS 4604 Parts 1 and 2.

HSFG bolts, nuts and washers shall be supplied cadmium plated to BS 3382 to a thickness marked with a suitable and permanent mark and

the contractor shall obtain the written approval of the Engineer to the proposed marks before commencement of the work.

Each HSFG shall be supplied complete with its nut screwed on. Washers may be supplied on the bolt or separately and bolts and washers shall be packed in the manufacturers works and delivered to site in waterproof containers and stored under cover in these containers until required for use.

The method of tightening HSFG bolts shall be either the part turn method, the torque control method or with the use of load indicating washers in accordance with the following:-
	HSFG bolts complying with standard
	Permissible methods of tightening

	BS 4604 part 1 and 2
	1) Part turn for bolts M16 and above Torque control Load indicating washers

	BS 4604 part 2 Higher Grade (parallel shank
	1) Torque control
2) Load indicating washers


Whatever method of tightening is adopted, the contractor shall supply to the Engineer full details of the procedures to be adopted which shall be in accordance with the requirements of BS 4604, together with details of the tools and equipment he will be using at site and the tests to be carried out to determine the load/ torque/shank tension characteristics of the tools, bolts and the load indicating washers. No bolting shall commence until the Contractor has carried out sufficient site tests to confirm the load/torque/shank tension characteristics of the tools and bolts.

In the case of torque control tightening methods, calibration of the equipment shall be carried out daily before commencing bolting operations in accordance with the requirements of BS 4604.

Where load indicating washers are used they shall be of a type approved by the Engineer and used in accordance with the manufacturer’s instructions. The general requirements of BS 4604 shall apply to the assembly and use of HSFG bolts with load indicating washers including check testing to confirm the minimum shank tension is being achieved.

HSFG bolts that have been slackened off after final tightening by any method shall be removed, discarded and replaced.

1909
Transportation Handling and Erection

Erection shall be in accordance with BS 153 part 2, Weighing, shipping and Erection. Structural steel shall be handled with due care at all times and in such a manner as not to cause damage to the steelwork or its protective coatings.

The Contractor shall submit to the Engineer for his approval two sets of drawings and calculations and details showing his proposed methods for transport, handling and erection of structural steelwork including all part, temporary supports and bracings required to ensure stability and safety during erection. The contractor shall erect the steelwork, removed the temporary supports and do all the work required to complete the works in accordance with the Drawings and this Specification. The work shall be carried out in such a manner as will not injure, overstress or disfigure any part of the structure or the foundations and any part injured, overstressed or disfigured shall be removed and replaced or rectified to comply with the requirements of this specification.

The steelwork shall be temporarily erected at the fabrication works and be subjected to inspection by the Engineer before being dispatched to site. Drift pins will be allowed only for bringing together the several parts of the structure, and shall no be used in such a way as to distort the work or enlarge the bolt holes.

Bolts in site connections shall not be finally tightened until sufficient of the structure is properly plumbed, aligned and levelled and no subsequent straining into position will be allowed. Finally, all bolts and connections shall be systematically checked and tightened.

1910
Surface Preparation of Steelwork

Surface preparation of steelwork shall be by blast cleaning in accordance with the requirements of BS 4232, second quality. The maximum amplitude of the blast cleaned surface shall not exceed 0.1mm.

Manual cleaning of structural steelwork including mechanical wire brushing, chipping hammers, vibratory needle guns and the like shall not be permitted except for small parts and then only with the prior written permission of the Engineer.

Surfaces shall be painted with the specified primer paint within four hours of having been blast cleaned.

As soon as the first undercoat has dried, a further stripe coat of paint shall be applied by brush to all edges, corners, and crevices, exposed parts of bolts, rivet head and welds. The stripe coat should have the same specification as the undercoat but be a contrasting shade.

Painted surfaces shall be cleaned of dust immediately prior to the application of further paint. All loose paint, dirt and grit shall be removed and areas contaminated with oil and grease shall be cleaned with emulsion cleaners followed by washing and rinsing with clean fresh water and allowed to dry thoroughly before paint is applied.

In the case of painted steelwork where the interfaces of HSFG bolts are bare steel, the primer coat shall be taken between 10mm and 20mm inside the perimeter of the joint area.

Where paints are to be applied to parent surfaces before making of a joint they shall be stepped back at 30mm intervals commencing at 80mm from welded joints and 10mm from the perimeter of all other joints.

All bolted joints shall be sealed against the ingress of water. Gaps at joints shall be plugged with approved filler and the perimeter of all joints shall be sealed with subsequent coats of paint.

All joints, welds and surfaces affected by welding shall receive the same protective system as applied to the parent surfaces.

Within 14days of a joint being made and accepted by the Engineer, the parent material, exposed parts of bolts, nuts and washers, weld and affected areas shall be prepared and painted.

1911
Painting

All paint used in the works shall be subject to the approval of the Engineer.

All paint shall be supplied from the store to the painters ready for application. Any addition of thinners must be made in the store under the supervision of the Engineer and only as permitted by the manufacturer’s data sheet. All the requirements of the manufacturer’s data sheet shall be strictly complied with.

Paint shall be applied to surfaces which have been prepared and cleaned in accordance with the requirements of clause 1910

The use of rollers shall not be permitted for the application of paint.

Paint shall not be applied under any of the following conditions: -

(a) When the ambient temperature is less than 4ºC.

(b) When the relative humidity is greater than 90%

(c) During for, rain or mist

(d) When any moisture is present or likely to condense on the steel.

Each coat of paint shall be free from surface defects.

Successive coats of paint shall have different shades for identification.

The contractor shall ensure that the proposed application rates shall enable the specified minimum dry film thickness to be achieved. If the total dry film thickness is less than the specified minimum, an extra finishing coat or coats shall be applied until the specified dry film thickness is obtained.

1912
Paint Systems

The paint system to be used on structural steel work shall be as specified in the Special Specification.

1913
Damaged Surfaces

Any areas of paint which have been damaged following application shall be cleaned down to bare metal and the full specified painting system shall be re-applied. The new paint shall overlap the existing paint by at least 50mm all-round the affected area.

Galvanised surfaces damaged shall be repaired either by the use of low melting point zinc alloy repair rods or powders made specifically for this purpose or by the use of at least two coats of a good quality zinc rich paint to BS 4652

1914
Measurement and Payment

(a)
Item:
Structural Steelwork


Unit:
tonne

Structural steelwork shall be measured by the tonne and shall be the weight calculated from the approved shop drawings excluding bolts, welds, washers and all other fixings required. No deduction shall be made in the measurement for splay cuts, notches and holes providing that the area of each is less than 0.1square metres. No allowances shall be made in the measurement for rolling margin or cutting to waste. The density of steel shall be taken as 7850 kilograms per cubic metre.

The rate for structural steelwork shall include for the cost of the following: -

(i) Design, submission of orders, fabrication drawings, details, calculations and certificates.

(ii) Provision of all structural steelwork, materials, bolts, nuts, washers, welding rods, and all other fixings; fabrication, including drilling, machining and welding; testing of welds and welders.

(iii) Temporary erection at the fabrication works for inspection by the Engineer.

(iv) Surface preparation, painting with specified paint system

(v) Inspection, and submission of test reports and certificates

(vi) Marking, handling, packing, transporting and storage.

(vii) Erection, bolting, welding, including temporary bracings guys, and craneage.

(viii) Complying with all the requirements of section 19 of this specification.

1915 Pre-Stress Concrete.

Description. 

Shall include Furnish, store, and handle prestressing materials and perform prestressing of precast members and cast-in-place structural units. For this Item, the following definitions apply:

i. Prestressing. The introduction of internal stresses (pre-tensioning or post-tensioning) into a structural member by tensioning and anchoring strands, bars, or wires to counteract the stresses resulting from the applied load.

ii. Pre-tensioning. The application of prestressing force to the tensioning devices before casting concrete.

iii. Post-Tensioning. The application of prestressing force to the tensioning devices after concrete has hardened.

iv. Tendon. Any single unit used to apply prestressing force to the member. For posttensioned units, a tendon is a bar, group of wires, or group of strands having common end anchorage.

v. Post-Tensioning System. A complete tendon with couplers, end anchorage, and all other necessary hardware.

Furnish materials that meet requirements of the following Items:

· "Concrete Structures"

· "Hydraulic Cement Concrete"

· "Elastomeric Bridge Bearings"

· "Reinforcing Steel"

· "Metal for Structures"

· "Grouts for Post-Tensioning"

· "Joint Sealants and Fillers."
1916 Prestressing Tendons – Materials

Steel Wires and Strands

1. Steel wires and strands shall comply with BS 5896 and shall be obtained from an organization holding a valid CARES product acceptance scheme certificate of approval for the production of prestressing steel wires and strands (PT6-PT8), or equivalent scheme.
Cold Worked High Tensile Alloy Bar

2.  Cold worked high tensile alloy steel bars for prestressed concrete shall comply with BS 4486 and shall be obtained from an organization holding a valid CARES product acceptance scheme certificate of approval for the production of prestressing steel bars (PT7), or equivalent scheme.
Sampling and Testing

3. When it is proposed to use other than the lowest strength diameter wire or strand complying with BS 5896, the following shall apply:

(i)
A sample shall be taken from each reel of material proposed for use in the works.

(ii)
A reel shall only be accepted if both the breaking load and the 0.1% proof load of the sample exceeds the specified characteristic loads given in BS 5896. 
4. The Contractor shall arrange for samples of the steel intended for use in the permanent works to be tested at a testing laboratory appropriately accredited.
5. Testing of prestressing steel bar, wire and strand shall be performed in accordance with BS EN ISO 15630-3.
1917 Prestressing Tendons - Handling and Storage

1.  Prestressing tendon shall not be mechanically damaged, work‑hardened or heated during handling. All prestressing tendons shall be stored clear of the ground and protected from the weather, from splashes from any other materials, and from splashes from the cutting operation of an oxy-acetylene torch, or arc-welding processes in the vicinity.

2. In no circumstances shall prestressing tendons after manufacture be subjected to any welding operation, or heat treatment or metallic coating such as galvanizing. This does not preclude cutting as described in Clause 1722.

1918 Prestressing Tendons - Surface Condition

Prestressing tendons and internal and external surfaces of sheaths or ducts shall be clean and free from pitting at the time of incorporation in the works. Slight surface rusting is generally acceptable, unless in environmentally severe sites (marine or industrial).
1919 Prestressing Tendons – Straightness

Wire

Low relaxation and normal relaxation wire shall be in coils of sufficiently large diameter to ensure that the wire pays off straight, except that in cases where straight as-drawn wire is not essential, wire in small-diameter coils (corresponding to the diameter of the blocks in the drawing machine) may be used.

Strand

Prestressing strand, however manufactured, shall be in coils of sufficiently large diameter to ensure that the strand pays off straight.

Bars

Prestressing bars as delivered shall be straight. Any small adjustments for straightness that are necessary on Site shall be made by hand. Bars bent in the threaded portion shall be rejected. Any straightening of bars shall be carried out cold but at a temperature of not less than 5°C. Any necessary warming shall be by means of steam or hot water.

1920 Prestressing Tendons – Cutting

All cutting of wire, strand or bar shall be carried out after gradual release of the tension in the tendons to be cut. Cutting shall be executed using either:

i. a high-speed abrasive cutting wheel, friction saw or equivalent mechanical method at not less than one tendon diameter from the anchor; or

ii. an oxy-acetylene cutting flame, using excess oxygen to ensure a cutting rather than a melting action, not less than 75 mm from the anchor. The temperature of the tendon adjacent to the anchor shall not be greater than 200°C. Neither the flame nor splashes from the cutting operations shall come into contact with the anchorages or uncut tendons.

1921 Prestressing Tendons - Positioning of Tendons, Sheaths and Duct Formers

· Tendons, sheaths and duct formers shall be accurately located and maintained in position both vertically and horizontally as shown on the drawings. The position shall be within the tolerances given in sub-Clause 1728.3.
Where tendons are described in the Contract as debonded from the concrete they shall be covered with suitable sleeves. The ends of the sleeves shall be taped to the tendon to prevent the ingress of grout.

Joints in sheaths shall be securely taped to prevent penetration of the duct by concrete or laitance, and ends of ducts shall be sealed and protected after the stressing and grouting operations. Joints in adjacent sheaths shall be spaced at least 300 mm apart.

1922 Prestressing Tendons – Tensioning

General

All wires, strands or bars stressed in one operation shall be taken, where possible, from the same parcel. Each cable shall be tagged with its number from which the coil numbers of the steel used can be identified. Cables shall not be kinked or twisted. Individual wires and strands for which extensions are to be measured shall be readily identifiable at each end of the member. No strand that has become unravelled shall be used. Strands of the same diameter but with different strength grades must not be used in the same beam.

Tensioning Apparatus

The tensioning apparatus shall meet the following general requirements:

(i)
The means of attachment of the tendon to the jack or tensioning device shall be safe and secure.

(ii)
Where two or more wires or strands are stressed simultaneously, they shall be approximately of equal length between anchorage points at the datum of load and extension measurement. The degree of variation shall be small compared with the expected extension.

(iii)
The tensioning apparatus shall be such that a controlled total force is imposed gradually and no dangerous secondary stresses are induced in the tendons, anchorage or concrete.

(iv)
The force in the tendons during tensioning shall be measured by direct-reading load cells or obtained indirectly from gauges fitted in the hydraulic system to determine the pressure in the jacks. Facilities shall be provided for the measurement of the extension of the tendon and of any movement of the tendon in the gripping devices. The load measuring device shall be calibrated to an accuracy within ± 2% and checked at frequent intervals. The valid calibration records shall be available on site before tensioning starts. Elongation of the tendon shall be measured to an accuracy within 2% or 2 mm, whichever is the greater.

(i) The tensioning equipment shall be calib0.

(ii) rated before the tensioning operation and subsequently at frequent intervals.


Pre-tensioning

Where pre-tensioning methods are used, the tension shall be fully maintained by some positive means during the period between tensioning and transfer. The transfer of stress shall take place slowly to minimize shock.

(i)
Straight tendons. In the long-line method of pre-tensioning, sufficient locator plates shall be distributed throughout the length of the bed to ensure that the wires or strands are maintained in their proper position during concreting. Where a number of units are made in line, they shall be free to slide in the direction of their length and thus permit transfer of the prestressing force to the concrete along the whole line. In the individual mould system, the moulds shall be sufficiently rigid to provide the reaction to the prestressing force without distortion.

(ii)
Deflected tendons. Where possible, the mechanisms for holding down or holding up tendons shall ensure that the part in contact with the tendon is free to move in the line of the tendon so that frictional losses are nullified. If, however, a system is used that develops a frictional force, this force shall be determined by test and due allowance made. For single tendons the deflector in contact with the tendon shall have a radius of not less than 5 times the tendon diameter for wire or 10 times the tendon diameter for strand, and the total angle of deflection shall not exceed 15°. The transfer of the prestressing force to the concrete shall be effected in conjunction with the release of hold-down and hold-up forces.

Unless otherwise described in contract specific Appendix 1700, concrete shall not be stressed until it has reached at least the age at which 2 test results from specimens taken from it (each obtained from the average of two test cubes made from one concrete sample) attain the specified characteristic compressive strength at the time when the concrete is subjected to the prestressing force. Testing shall be as described in Annex B.5 of BS 8500-1 and Annex B of BS EN 206-1. The samples shall be taken as described in BS EN 12350-1 and the test cubes shall be made and tested as described in BS EN 12390-2 and BS EN 12390-3 respectively. They shall be cured in similar conditions to the concrete to which they relate. The Contractor shall cast and test sufficient cubes to demonstrate that the required strength of the concrete at transfer has been reached.

Post-tensioning

In addition to the present Clause, the installation of post-tensioning systems shall comply with the requirements of Clause 1711.

(i)
Arrangement of tendons. Where wires, strands or bars in a tendon are not stressed simultaneously, the use of spacers shall be in accordance with the recommendations of the system manufacturer.

(ii)
Anchorages. Prestressing anchorages for post-tensioning systems shall be in accordance with Clause 7.2 of BS EN 13670 and shall be supplied by organisation certificated with the CARES product acceptance scheme for the Production and Supply of Prestressing Anchorages for Post-tensioning Systems (PT3), or an equivalent scheme. Anchorages shall comply with the minimum performance requirements of BS EN 13391. For each anchorage system used in the works, the characteristic value for anchorage efficiency shall be not less than 95%. Proprietary anchorages shall be handled and used strictly in accordance with the manufacturer’s instructions and recommendations.

(iii)
Deflected tendons. The deflector in contact with the tendon shall have a radius of not less than 50 times the diameter of the tendon, and the total angle of deflection shall not exceed 15°.

(iv)
(05/04) Tensioning procedure. Before tensioning, the Contractor shall demonstrate that all tendons are free to move in the ducts unless the geometry of the ducts makes this impracticable. Tensioning shall be carried out in such a manner that the stress in the tendons increases at a gradual and steady rate. Tensioning shall not be carried out at a temperature below 0°C.

Unless otherwise described in contract specific Appendix 17/4, concrete shall not be stressed until it has reached at least the age at which 2 test results from specimens taken from it (each obtained from the average of two test cubes made from one concrete sample) attain the specified characteristic compressive strength at the time when the concrete is subjected to the prestressing force. Testing shall be as described in Annex B.5 of BS 8500-1 and Annex B of BS EN 206-1. The samples shall be taken as described in BS EN 12350-1 and the test cubes shall be made and tested as described in BS EN 12390-2 and BS EN 12390-3 respectively. They shall be cured in similar conditions to the concrete to which they relate. The Contractor shall cast and test sufficient cubes to demonstrate that the required strength of the concrete at transfer has been reached.

The Contractor shall ensure that those carrying out the stressing are provided with particulars of the required tendon loads, order of stressing and extensions. Allowance shall be made during stressing for the friction in the jack and in the anchorage, although the former is not necessary when using load cells, and for draw-in of the tendon during anchoring.

Stressing shall continue until the required extension and tendon load are reached. The extension shall allow for any draw-in of the tendon occurring at a non-jacking end, but measurement shall not commence until any slack in the tendon has been taken up.

Immediately after anchoring, the forces in the prestressing tendons shall not exceed 70% of their characteristic strength. During stressing the value may exceed 70% of their characteristic strength but shall not exceed 80%.

After the tendons have been anchored, the force exerted by the tensioning apparatus shall be decreased gradually and steadily so as to avoid shock to the tendon or the anchorage. Full records shall be kept of all tensioning operations, including the measured extensions, pressure-gauge or load-cell readings, and the amount of draw-in at each anchorage. When requested copies of these records shall be provided within 24 hours of each tensioning operation.

Tendons shall not be cut within 3 days of their being grouted; however, in the case of deviation from the planned performance during tensioning, cutting of the tendons, grouting and work which can impair the re-tensioning shall not take place until the causes have been investigated and revised tensioning report has been approved.
1923 Prestressing Tendons - Protection and Bond

The prestressing tendons shall be protected in their permanent positions from both mechanical damage and corrosion as described in contract specific Appendix 17/4.

Grout and grouting operations for filling ducts and anchorages of post-tensioned bonded tendons (internal or external) shall be in accordance with Clause 1711.

Grease and wax for the protection of sheaths and anchorages of unbonded tendons shall be in accordance with Clauses 7.2 and 7.6 of BS EN 13670.

Vents, grout inlets and outlets and anchorages shall be sealed to assure corrosion protection equivalent to that provided along the tendon. Anchorage zones shall be protected from drainage water.

Unbonded tendons shall be sealed throughout their length against penetration of moisture.
1924 Payment. 

The work performed and materials furnished in accordance with this Item and measured as provided under "Measurement" will be paid for at the unit price bid for "Post- Tensioning (Grouted)" or "Post-Tensioning (Un-grouted)." This price is full compensation for prestressing steel, fabrication, transportation, erection, post-tensioning, encasing ducts, grout fittings, grout, end anchorages, bearing plates, equipment, labor, materials, tools, and incidentals. 

Materials furnished for testing will not be paid for directly. Post-tensioning of precast concrete members and all pre-tensioning will be measured and paid for as specified.

SECTION 20
ROAD FURNITURE
2004
PERMANENT ROAD SIGNS

Permanent Road Signs shall be provided as directed by the Engineer and in compliance with the requirements of the "Manual for Traffic Signs in Kenya" Part II and standard Specification clause 2004.

2004B
EXISTING ROAD SIGNS

Where directed by the Engineer, the Contractor shall take down road signs including all posts, nuts, bolts and fittings, and remove and dispose of the concrete foundation and backfill the post holes. The signs shall clean and stored as directed by the Engineer.

 Measurement and payment for taking down road signs shall be made on dayworks basis.

2005
ROAD MARKING

Material

Paint for road marking shall be internally reflectorized hot applied thermoplastic material complying with KS 2157-1:2009.

The material shall be of a type approved by the Engineer. The Contractor shall, prior to delivery, submit samples of his proposed thermoplastic material for road marking to the Engineer for approval at least 3 months prior to the proposed use. 

The thermoplastic material and marking shall comply with the following requirements; -

(a) Composition

The thermoplastic material shall consist of light coloured aggregate, pigment and extender bound together with resin plasticized with oil as necessary, in the following proportions;

· Aggregate, including glass beads 
60%

· Pigment and extender 

20%

·  Binder 



20%

The maximum size of the aggregate shall be 2mm.

The binder shall be plasticized synthetic resin and the material shall be reflectorized by mixing in 20% by mass class A glass beads.

The material shall have a minimum softening point of 85OC.

(b) Reflectorization

(i) Internal Reflectorization

Reflectorization shall be by glass beads to Australian/New Zealand Standard AS/NZ 2009:2006, which shall be made up of approximately 20% of the total mix, and shall be treated as part of the aggregate. The glass beads shall be reasonably spherical and free from flows and of a size suitable for this method of Reflectorization, subject to a maximum size of 2mm.

(ii) Surface Reflectorization (drop on glass beads) 

Surface Reflectorization of the paint shall be by application of ballotini beads to Australian Standard ASE42 as the paint is applied at a spread rate of 0.5 – 0.7 kg of ballotini beads for each kilogram of applied paint.

The ballotini shall be reasonably spherical and free from flaws and of a size suitable for this method of Reflectorization, subject to a maximum nominal size of 0.8mm.

(c) Thickness

The thickness of the road marking shall be 4.5mm with a tolerance of ±0.5mm.

(d) Colour

The colour of applied marking shall be bright white or yellow.

The colour of yellow marking material shall be to BS Colour no. 08E51 or BS 4800 and having luminance factor of 49 – 51%.

The colour of white marking s shall be to BS Colour no. 00E55 of BS 4800 and having a luminance factor of not less than 70%.

(e) Skid resistance

The skid resistance of all types of marking materials shall comply with the requirements of BS 7941 – 1:2006 or BS 7941-1:2000 or equivalent.

Application Equipment

The thermoplastic road marking material shall be applied to the pavement in a molten state by mechanical means. The equipment used shall have a pressurized method of application with a computerized mode of selecting spray rate and line width. 

The rates inserted in the Bills of Quantities for road marking shall include for prior application of approved tack coat.

Retroreflective delineators (road studs) 

Road studs shall be of an approved type conforming to the requirements of BS EN 1463-1:1998 and BS EN 1463-2:2000 to be installed in accordance with the drawings and as instructed. Measurement and payment shall be by the number installed and the rate shall include for the cost of provision and transport of all materials, preparation of the road surface, application of adhesives and full compliance with the manufacturer’s instructions.

2006
GUARDRAILS

(a) Materials

(i) Beams for guardrails shall be "Armco Flex beam" or similar galvanised steel W-beams obtained from a manufacturer approved by the Engineer complying with the requirements of AASHTO M180. 

(ii) Guardrail posts shall be standard galvanised steel RSJ Post 127X76mm of 1.8m length or approved equivalent tubular hollow section CHS set vertically into the shoulder support as directed by the Engineer. 

(iii) Spacers shall be galvanised steel 150x75x5mm sections or equivalent blocks shall also be made of concrete or tubular hollow section CHS. 

2007 
KERBS 
Precast kerbs and channels shall comply in all respects with the requirements of BS 7263 Part 3. The mean bending strength of kerbs or channels submitted to transverse testing shall not be less than 4.2 MPa and no individual result shall be less than 3.4 MPa.

Vertical Joints: Vertical joints between adjacent kerbs shall not be greater than 5 mm in width and shall be filled with a mortar consisting of 1:3 cement: sand by volume.

2009
RUMBLE STRIPS, ROAD HUMPS AND RAISED ZEBRA CROSSINGS  

Where directed by the Engineer, the Contractor shall provide, place, trim, shape and compact to line and level asphaltic concrete rumble strips on the finished shoulders or road humps and raised flat–top zebra crossing on the carriageway all to the respective dimensions shown on the drawings. 

Road humps shall be painted with white thermoplastic paint 45o diagonal stripes as shown on the drawings. Raised flat–top zebra crossing shall be painted with white thermoplastic paint transverse stripes as shown on the drawings. 

2010
TREES

(a) Plantation of Trees and Hedges

(a) Scope

The work shall consist of:
i. Planting of tree saplings in median or other designated locations, and 
ii. Planting of hedges within median area.
(b) Materials

(i) Dump Manure
Dump manure shall be of well decayed (at least six months) organic or vegetable matter, obtained in the dry state from the municipal dump or other similar sources approved by the Engineer. The manure shall be free from earth, stone, brickbats or other extraneous matter.

(ii) Farmyard Manure
Farmyard Manure shall be well decayed (should be at least 6 months covered in dump), free from grits and any other unwanted materials.

(iii) Good Earth
The soil shall be agricultural soil of sandy-loam texture, free from grit, marrum, shingle, stone, brickbats, building rubbish and any other foreign matter. The earth shall be free from clods or lumps of sizes bigger than 75 mm in any direction. It shall have PH value ranging between 6 and 8.5.

(iv) Oil Cake (Neem/Castor/Groundnut)
The cake shall be free form bush, dust, grit and any other foreign matter.

(v) Sapling of Trees
The sapling of trees shall be of medium height, leafy type and draught resistant variety native to the area and be of good quality of minimum of 2 m height or calliper diameter of 25 mm as directed by the Engineer.
(vi) Sapling of Hedges
The saplings shall be of draught resistant variety normally grown for hedges in the area, approved by the Engineer.

(c) Construction Operations

(i) Tree Planting and Refilling Earth after Mixing with Oil Cake, Manure and Watering

Holes of circular shape of 900 mm diameter and 1000 mm in depth in ordinary soil shall be excavated and the excavated soil, broken to clods of sizes not exceeding 75 mm in any direction, shall be stacked outside the hole. Stones, brickbats, unsuitable earth and other rubbish, all roots, weeds and other undesirable growth encountered during excavation shall be separated out and unserviceable material removed from the site as directed by the Engineer.

Useful material, if any, shall be stacked properly and separately. Good earth in quantities required to replace such discarded stuff shall be brought and stacked at site by the Contractor, with a depth not more than 500 mm from ground level. The pit shall be treated for termite by raking the soil up to 50 mm and treated with 5% Aldrin or Chloradang dust in soil.

The tree hole shall be manured with powdered neem/castor oil cake along with farm yard manure/dump manure screened through 16 mm sieve and these shall be uniformly mixed with the excavated top soil after the manure has been broken down to powder (size of particles not to exceed 6 mm in any direction) in equal proportion. A 2 m high sapling of trees shall be placed at the centre of the hole and then the mixture shall be filled into the hole up to the level of adjoining ground and then profusely watered to enable the soil to subside. The refilled soil shall then be dressed evenly with its surface about 50 mm to 75 mm below the adjoining ground level or as directed by the Engineer.

The planting shall be completed soon after completion of the median.

(ii) Circular Mild Steel Tree Guard with Bars The tree guard shall be 900 mm in diameter. The tree guards shall be formed of:

a) 3 № 25 mm x 25 mm x 3 mm angle iron verticals 1.95 m long excluding splayed outward at lower end up to an extent of 50 mm
b) 3 № 25 mm x 5 mm MS flat rings fixed as per the design
c) 5 № 1.55 m long 6 mm diameter bars. Each ring shall be in two parts in the ratio of 1:2 and their ends shall be turned in radically for a length of 40 mm at which they are bolted together with 8 mm diameter and 30 mm long MS bolts and nuts.
The vertical iron shall be welded to rings along the circumference with electric plant. 15 № bars shall be welded to rings at equal spacing along the circumferences of ring. The lower end of the angle iron verticals shall be splayed outwards up to an extent of 50 mm. The lower end of the flat of lower ring shall be at the height of 1.95 m. The middle ring shall be in the centre of top and lower ring. The bars shall be welded to the rings as directed by the Engineer. The entire tree guard shall be given two coats of paint of approved brand and of required shade over a priming coat of ready mixed primer of approved brand. The design of the tree guard shall be approved by the Engineer.
(iii) Planting of Hedges

The hedges saplings shall be planted in two rows, one each along each edge of the median. Bed for the saplings shall be prepared with necessary manuring, and the live saplings shall be planted in lines parallel to the median edge to the directions of the Engineer. Spacing between saplings in a row shall be such that a thick hedge can be grown, and this shall generally be not farther away than 300 mm.

The planting shall be completed soon after completion of the medians.

(iv) Grassing of Median Area

The area of the median between the hedges shall be seeded and mulched to develop grass cover as directed by Engineer.

(d) Maintenance

The saplings of trees and hedges planted shall be watered and maintained by the Contractor till issuance of the final certificate at the end of the Defects Liability Period. This shall also include watering, weeding out of undesirable plants and replacement of dead plant, manuring and trimming of the hedges.
2011
MEASUREMENT AND PAYMENT

(d)
Item: Reflective road studs
Unit: No

Reflective road studs shall be measured by the number instructed. The rate shall include for the cost of provision and transport of all materials, preparation of the road surface, application of adhesives and full compliance with the manufacturer’s instructions.

(o)
Item:  Rumble strips, road humps, raised zebra crossing
Unit: linear m for each type

Rumble strips, road humps, raised zebra crossing shall be measured by the length of each type installed. The rate shall include for provision, installation and compaction to the satisfaction of the Engineer and removal of surplus material.
SECTION 22
DAY WORKS
2201
Scope 
This specification covers instructions that may be issued by the Engineer as additional or substituted work to be executed on a day work basis by the Contractor or by his sub-contractors.
2202
Standards
All codes and standards mean the latest. Where not specified otherwise the installation shall generally follow the Kenyan Standard Specification for Road and Bridge Construction
2203
Measurement and Payments
Measurement and payment for all day works items shall be in accordance with the items listed in the Bill of Quantities, the preamble to Bill of quantities and the specifications above and cover the payment of plant, labour and materials for work executed in accordance with the Engineer’s instructions.
SECTION 24
TRAFFIC MANAGEMENT AND DIVERSION
2401
General
The Contractor shall prepare and submit to the Engineer within 2 weeks of the date of commencement of the works a detailed traffic management plan as per the requirement of traffic authorities. The Contractor shall have to carry out the modifications in the traffic diversion plan at various stages of work as required. The Contractor shall maintain liaison with the traffic/highway police/authorities so as to ensure smooth flow of traffic at all stages of the work without causing inconveniences to the traffic.
2402
Traffic Rotary
The Contractor shall provide traffic rotary showing traffic direction made up of four blinders mounted on M.S. Frame of 5-x50 mm x 6 mm size 250 Hz frequency electrically operated at both ends of the cordoned area for help and guidance of road users. Necessary arrangements for supply of electricity shall be made by the Contractor.
2403
Road Delineates
Road delineates as per the relevant codes and as per the relevant drawings and as directed by Engineer shall be fixed at suitable intervals to have a suitable guidance to the road users at the night time for smooth flow of traffic. Delineators shall be fixed firmly in the ground. Also, red flags and cat eye reflectors shall be fixed on the barricades. Alternative arrangements shall also be kept ready in case of failure of electricity.
2404
Signs, Lights, Barriers and other Traffic Control Devices
Signs, lights, barriers and other traffic control devices shall be provided and maintained in a satisfactory condition till such time that they are not required as directed by the Engineer, so as to ensure smooth and safe traffic on the road throughout the length of the project road.
2405
Barricades
The barricades erected on either side of the carriageway/portion of the carriageway closed to traffic, shall be of strong design to resist violation, and painted with alternate black and white stripes. Red lanterns or warning lights of similar type shall be mounted on the barricades at night and kept lit throughout from sunset to sunrise.
At the points where traffic is to deviate from its normal path, whether on temporary diversion or part width of the carriageway, the channel for traffic shall be clearly marked with the aid of pavement markings, painted drums or similar devices to the directions of the Engineer. At night, the passage shall be delineated with lanterns of other suitable light source.
2406
Passage through Works
a) One-Way Traffic Operation

One-way traffic operation shall be established whenever the traffic is to be passed over part of the carriageway inadequate for two-lane traffic. This shall be done with the help of temporary traffic signals or flagmen kept positioned on opposite sides during all hours. For regulation of traffic, the flagmen shall be equipped with red and green flags and lanterns/lights.
b) Two Way Traffic Operation

On both sides, suitable regulatory/warning signs as approved by the Engineer shall be installed for the guidance of road users. On each approach, at least two signs shall be put up, one close to the point where transition of carriageway begins and the other 120m away. The signs shall be of approved design and of refectory type, if so directed by the Engineer.
c) Traffic Control Devices

Signs, lights, barriers and other traffic control devices, as well as the riding surface of diversions shall be maintained in a satisfactory condition till such time that they are not required as directed by the Engineer. The temporary travelled way shall be kept free of dust by frequent applications of water as necessary.
The details of work which is to be carried out by the Contractor as part of the traffic management during the construction period are given under Bill № 9 of the Bill of Quantities.

2500
HIV/AIDS, GENDER, SOCIAL ISSUES AND LOCAL PARTICIPATION

2501
Scope

This specification sets out the Contractor’s obligations with regard to on-site HIV/AIDS awareness campaign and preventive measures which are to be instituted.
2502
Interpretation and Documentation

The following documents shall inter-alia be read in conjunction with this specification

· The instruction to bidders
· The Conditions of Contract

· The drawings
2503
HIV/AIDS Awareness Campaign

The Contractor shall institute an HIV/AIDS awareness campaign amongst his workers for the duration of the Contract. As part of the Campaign the Contractor will be required to display AIDS awareness posters in all buildings frequented by workers employed on the Contract where such buildings fall under the control of the Contractor. In addition, at least ten (10) of the Contractor’s vehicles, regularly used on site shall display HIV/AIDS awareness posters. The posters shall be printed on gloss paper and shall be at least A1 size on building and A3 size or other approved size on vehicles. The message on the posters shall be supplied by the Employer through the Engineer before the posters are printed.

AIDS awareness shall also be included in the orientation process of all workers employed on the Contract.

In the awareness campaign, the Contractor shall employ and designate a safety officer who will undertake and coordinate all aspects of the HIV/AIDS awareness campaign.

2504
AIDS Prevention Campaign
The Contractor shall institute an HIV/AIDS prevention campaign amongst his workers for the duration of the Contract. As part of the campaign the Contractor will be required to make condoms available to workers. The condoms shall be from an approved manufacturer and comply with the current ISO Standards or WHO/UNAIDS Specifications and Guidelines for condoms, 1998, or any more recent equivalent publication. The Contractor shall make available at least 1,000 condoms every month, through dispensing machines or other approved method of distribution. The Contractor shall at all times keep the site adequately supplied with condoms.

As part of the campaign the Contractor shall operate at least one STD and HIV/AIDS clinic on site or make alternative arrangements with an existing suitably qualified and equipped Local clinic. The clinic shall have a minimum of two rooms each at least 10 m² with ablution and washroom. The clinic shall be suitably staffed and equipped for screening, diagnosis and counselling of STD and HIV/AIDS of the project staff and labour. The Contractor shall cover the costs of the clinic to provide free treatment for general STD cases, whereas workers with HIV/AIDS shall be referred to the national HIV/AIDS programme coordinated by the Ministry of Health.
2505
HIV/AIDS Training

a) Objective

The objective of the AIDS/HIV training programme is to reduce the risk of exposure to and spread of the HIV virus in the Area influenced by the construction project. The target group will be local labourers and their superintendents employed by the works Contractor. The wider community will benefit indirectly through their normal day-to-day interaction with the target group.
b) Scope of activities

Activities for HIV/AIDS awareness and prevention will be broad-based, targeting both individuals and groups. They may consist of:

i. Information posters in public places, both on and offsite (eating houses, bars and guest houses) and on the Contractor’s vehicles
ii. Availability of socially marketed condoms

iii. Peer educators (reference people) drawn from the local labour and educated in HIV/AIDS issues for discussion with colleagues (estimate 1 per 100 employees).

iv. Small focus group discussions to disseminate information covering key issues

v. Theatre groups and video presentations

vi. Promotional events (such as football matches) to encourage openness and discussion of HIV/AIDS issues.

vii. Promotional bill boards to raise awareness of the integration of construction and HIV/AIDS activities

viii. Inclusion of HIV/AIDS activities at site meetings with the Local Aids Committees and other approved representatives.

ix. Availability of promotional materials including T-shirts, caps, bumper stickers and key rings.
The scope of activities may be tailored as required to meet the perceived needs and priorities of the labourers and should involve participatory approaches to ensure that they are appropriate and have a public health impact. The scale and frequency of activities may also be adjusted to suit the requirements of the target group. The education will cover:
i. Preventive behaviour including partner reduction, condom use, awareness and appreciation of the importance of treatment of sexually transmitted incidences (STIs)
ii. Skills including negotiating safer sex, correct condom use, purchase of condoms without embarrassment, and
iii. Referral to local health centres and available services.
iv. Tasks to be undertaken to support the above activities services shall include:

v. Establishing the status and focus of all current and planned HIV/AIDS activities in the area to ensure complementarities and determining potential involvement in project activities
vi. Carrying out brief review of regional activities combining road construction with HIV/AIDS campaigns to determine options, best practice key issues and constrains

vii. Reviewing of Information, Education and Communication (IEC) materials available and their relevance to road construction, making recommendations for future development of IEC materials

viii. Providing education and training for the site personnel, superintendents and peer educators for the scope of activities as above.

ix. Providing supervision for peer educators to ensure sustained quality of education and provision of incentives for the scope of activities as above.

x. Providing Mechanism for the social marketing of condoms and distribution of materials

xi. Monitoring activities regularly to assess effectiveness and impact. This should include an initial, interim and final assessment of basis knowledge, attitude and practices (KAP) taking account of the existing data sources and recognizing the limitations due to the short time frame to show behavior change. The KAP shall be supported by qualitative information from focus group discussion.
c) Collaboration

HIV/AIDS activities are coordinated nationally by the National Aids Control Council (NACC). The Kitui County Government in consultation with NACC and the Ministry of Health (MOH) shall coordinate with the local representatives. Representatives of Local Health Authorities shall be invited to attend training and communication activities.

Activities on the construction site shall be linked as far as possible with the on-going HIV/AIDS awareness and prevention in the area. This will ensure complementary of approaches, reinforcing education and minimizing duplication, in addition, these links will ensure that the target group will have access to continued information after the end of the construction period.

d) Contractor’s Responsibilities

The Contractor will employ and designate a qualified HIV/AIDS expert, to be approved by the Engineer, who will work closely with the Employer, Ministry of Health and other implementing agencies to support the HIV/AIDS awareness and prevention activities. This will ensure maximum effectiveness and integration with construction activities. Specific but not exclusive, issues to be addressed by the Contractor shall include:
i. Scheduling appropriate timing and durations of the implementation of HIV/AIDS activities as part of work plan for labourers and superintendents
ii. Designated rest times such as lunch breaks and paydays shall be excluded.
iii. Identification of suitable individuals from recruitment records for education with the implementing organization
iv. Provision of suitable sites for communication activities and for condom distribution
v. Monitoring of the implementation of peer educator activities, and
vi. Provision of support as necessary to the implementing organization.
e) Inputs

An organization experienced in the provision of HIV/AIDS awareness and prevention activities shall be selected as a subcontractor to provide the above scope of activities on behalf of the main Contractor.
f) Reporting

The implementing organization shall produce the following reports to be submitted to the Contractor, Consultants, Ministry of Roads, Kitui County Government and NACC:
i. Monthly progress briefs for inclusion in site meetings discussions
ii. Quarterly reports detailing activities carried out, issues and follow ups
iii. A review report of activities in the road construction sector

iv. A review report of the existing IEC materials with recommendations for development of materials specifically for the road sector
v. A final report detailing the methodology and activities carried out under this project including lessons learnt, impact, liaison with the Contractor and other parties.
In addition, a report with the recommended approach for integration of HIV/AIDS awareness and prevention activities in the road construction sector shall be produced. This shall be a synthesis of project activities including contractual approaches, communication activities, availability of materials and liaison with the existing organizations. It shall be developed with all parties involved in the construction activities to ensure that the wide range of views and experiences are gained.

The final report and recommended approach will be presented to the Kitui County Government, NACC and other interested organizations including private sector, funding agencies and Non-Governmental Organizations.

2506
Timing

Activities shall commence at the start of the construction period and continue throughout the Contract period to ensure that a sustained impact reporting and dissemination activities shall continue for three months after the project is completed to ensure integration into the current practice.
2507
Measurement and Payment

The payment items in this Clause shall include full compensation for all work associated with the provision of HIV/AIDS related services as specified.
Item:
Instituting an HIV/AIDS awareness campaign

Unit:
Months
The unit of measurement shall be the calendar month or part thereof, measured over the duration of the campaign. The rate shall include for providing a Safety Officer to deal with HIV/AIDS together with his/her transport requirements. The payment shall be made monthly, pro-rata for parts of a month, from the date of appointment of the officer until the completion of the works or substantial demobilization of the local workforce whichever comes first.

Item:
Instituting an HIV/AIDS prevention campaign

Unit:
Months

The unit of measurements shall be the month. The rate shall include the cost of providing a clinic or make alternative suitable arrangements, running the clinic, providing condoms as per the specifications and meeting all the costs of time related costs.

The payment shall be made monthly, pro-rata for parts of a month, from the date of establishing the clinic until the completion of the works or substantial demobilization of the local workforce whichever comes first.
Payment shall only be made for periods during which the Contractor has effectively provided the services.
Item:
HIV/AIDS training
Unit:
Provisional Sum
Payment shall be made for the actual expenditure incurred by the Contractor for which receipted vouchers shall be produced. The rate shall include full compensation for equipment, labour and material required for the provision of the services.

In addition, the Contractor will be paid for handling, overheads and profit at a percentage (%) rate of the receipted expenses incurred.

2600
SOFT LANDSCAPING

2601
Scope

This specification sets out the Contractor’s obligations with regard to Landscaping.
2602
Site Preparations

a) Site Inspection

The Contractor shall be deemed to have visited the site and familiarized him/herself with the nature and position of the site, site conditions e.g. soils to be excavated and the amount of rubbish or debris to be cleared away before commencement. No claim will be allowed for traveling or other expenses which may be incurred by the Contractor in visiting the site. 

b) Site Clearance

Site clearance shall include clearing the site of all debris, rubble, deleterious material, rubbish, unwanted bushes, undergrowth vegetation, as well as grubbing up old roots and carting away from the site to environmentally approved dumpsite shall be at contractors’ cost.   

c) Site Excavation

Overall site excavations shall be executed by ploughing or hoeing, and are to be carried out to an average depth of 300mm, as described in the Bills of Quantities. The Landscape Architect may however order deeper excavations where site conditions dictate. 

d) Grading and Leveling  

Grading and leveling of planting areas shall involve both rough and fine grading and shall be read in conjunction with item 2.1 of pat 2 of the BOQ.

i. Rough Grading 

This shall entail breaking excavated soil lumps and freeing the soil of turf, weeds, rubbish, stones, debris, rubble, sticks, roots and any deleterious material excavated from the site. It shall also include leveling the soil and collecting the aforementioned waste together and carting away from site.   

ii. Fine Grading 

Upon completion of rough grading, the contractor shall perform all fine grading required, as described in planting areas and shall include raking and fine leveling of the ground ready to receive a mixture of red soil and farmyard manure. The contractor must ensure that all natural slopes of the land avoid any dishing or other depressions where water may collect. 
e) Soil Preparation  

This shall involve mixing of top/red soil and well decomposed farmyard manure at specified ratios of 1:3 in readiness for application on planting areas and pits. 

i. Top/Red Soil 

Road main contractor shall hoard all the top soil excavated at depths not exceeding 600mm in the process of the road works for HIS rough grading works and application in all areas that would be landscaped. It shall be free of stones, debris, rubble, roots, sticks, grass, weeds and any deleterious material. No soils shall be used on the gardens until they are approved by the Landscape Architect.  Accordingly, soils that do not meet the above-mentioned conditions shall be rejected and removed from site at the contractor’s cost. 

ii. Farmyard Manure  

Manure to be used in the garden/planting areas and pits shall be well rotten, matured with no domestic refuse or waste foods, and be approved by the Landscape Architect.  

f) Preparation of Red soil/ Manure Mixture  

Mix red soil and farmyard manure at ratios 3:1 and apply the mixture on all planting areas at average depths of 100mm. The Contractor shall however ensue the soil depth as done by the Main Contractor is at an average depth of 500mm where possible.  

g) Spreading and Mixing of Well Decomposed Manure

Spread and mix the well decomposed manure evenly over all planting areas to attain a uniform or the required level. In grass areas the level of topsoil is to be 25 mm below all paved edges road and or 150mm below the finished floor level of abutting buildings.  

h) Finishing Grading 

The Contractor shall grade the topsoil to the approved standard.  All subsoil will be broken up as described and the contractor must remove from site all stones, debris, roots, timber and any other foreign objects larger than 100mm in any dimension which might be uncovered.   Final grading and leveling of the top is to be executed by raking to ensure a fine and true specified level and slope; and also to avoid dishing or other depressions where water may collect. Under no circumstances must the contractor carry out these works when the soil is in a saturated or unworkable condition.    
The Contractor is also to check that the reduced levels in all planting areas are satisfactory prior to commencing any landscape works. All raised planters shall be backfilled with specified top-soil and manure mix to within 50mm of the planter top. The backfill must be free of any roots, construction waste materials e.g. cement, stones etc., and/or any other foreign objects.    
i) Pits Excavation 

Pits for installation of plant materials (Groundcovers, Shrubs and Trees) are to be excavated as described or outlined in the Bills of Quantities. The Landscape Architect may instruct larger tree pits to be dug where site conditions require.  No pits shall be dug until final tree positions have been pegged out and positions agreed by the Landscape Architect.  Depending on root container’s size the pits may need to be larger with the minimum tree pit having a depth of 900mm to attain 2.16 CM and a minimum of 5.0CM where rockery exists or backfill is not good.
2603
Plant Materials

a) Grass Seedlings/ Cuttings 

All grass seedlings or cuttings shall be true to name as specified in the Bills of Quantities and shall be free from any weeds or foreign grass. The contractor shall avail enough grass to cover all lawn designated areas.  

b) Plant Materials

The contractor shall provide all plant materials as indicated on the drawings and in the plant quantity section of the Bills of Quantities. The documents submitted by the contractor shall mention all plants not available and the sizes, species or quantity available as scheduled at the time of tendering.  
c) Other Plant Materials 

The contractor subject to the approval of the Landscape Architect shall select all plant materials, not specifically described but required for a complete installation.  

d) Plant Condition and Size 

Plants shall conform to normal habit of the particular species, and the Landscape Architect shall approve their variety and plant size.  Plants shall conform to measurements and requirements specified here and/or in the plant list. 

a. Sizes of groundcovers shall be approved individually but shall generally be mature enough for transplanting. 

b. Sizes of shrubs and herbaceous plants will be approved individually but all tall growing shrubs shall be at a minimum height of 600mm at planting time. 

c. Trees indicated in the drawings shall be at a minimum of 1,800mm in height at time of planting. 

e) Sample Plant Materials 

The contractor shall on request, deliver to the site and at his/her own cost, samples of all plants to be planted. This shall be done sufficiently in advance for Landscape Architect’s approval.  

f) Quality of Plant Materials 

All plants delivered to site for planting shall be of good health, qualities and kinds specified herein and equal to the approved samples. The plants shall therefore be true to name; and in all cases, botanical names shall take precedence over common names except where botanical names are not used.  

g) Inspection of Plant Materials 

All plant materials delivered to the site should be in their original containers and should be intact at the time of inspection prior to commencement of planting.  No plant materials shall be planted until fully inspected and approved by the Landscape Architect.  Consequently, all plant materials which are not approved i.e. those which are not true to name, or might be damaged or of low quality or have deteriorated in any way or do not comply in any way with the requirements of this specification, shall be rejected and shall be immediately removed from the site at the Contractor’s expense. 

h) Storage /Maintenance of Plant Materials  

The contractor shall use all means necessary to protect grass and other plant materials before, during, and after installation.  Immediately upon delivery of plant nursery stock to the site and its approval by the Landscape Architect, the Contactor shall heel-in all bare roots and balled material with damp soil to protect from sun and wind effect.   The Contactor shall then regularly water all nursery stock in containers, and place them in a cool area protected from sun and dry winds.   

i) Shrub/Tree Support 

The contractor shall provide bamboo stakes 30mm to 50mm diameter or rough-sawn tree stakes, of thickness 50mm x 50mm for the support of the shrub or tree. The height of the stake should be no less than 600mm higher than the shrubs/tree and should go into the ground at least 600mm deep.  All trees to have two number ties each fixed to approved methods and standards.  
j) Existing Trees and Shrubs 

Existing trees on site shall be retained at Landscape Architect's discretion with client's approval. Thus, the contractor shall NOT cut down or remove any shrubs and trees unless where directed by the Landscape Architect.   The contractor shall further be held responsible for any damage caused by his/her operations to shrubs and trees on site. 
2604
Labour-Force & Workmanship

a) Qualification of Workmen/ Workwomen 

Generally, the contractor shall provide enough and competent workforce so as to accomplish landscaping task within stipulated time schedule. The workers shall at least have some basic knowledge in landscaping particularly in soil preparation/leveling, plants care/maintenance, and installation. 
The contractor must however provide at least one person, a Registered Landscape Architect who shall be present at all times during execution of the work. He/she shall be thoroughly familiar with the type of materials being installed and must be conversant with the proper methods of their installation, and shall direct all work performed on site under this section.  

b) Workmanship/Applicable Standards 

The Contractor shall provide materials which must meet or exceed the specified quality and standard.  Proof of such quality and standard will be in the form of certified copies of reports on tests conducted by testing agency approved for that purpose by the Landscape Architect before use. The Landscape Architect reserves the right to reject items incorporated into the work that fail to meet the specified minimum requirements.   
The Landscape Architect further reserves the right without prejudice to other recourse to accept non-complying items subject to an adjustment in the contract amount as approved by the Landscape Architect and the client. The Contractor will provide specified standards associated with known agencies and organizations. 
2605
Plants Installation (Planting)

a) Planting Areas 

The contractor is requested to examine all areas and conditions under which landscaping work is to take place, correct conditions detrimental to the works and not to proceed until unsatisfactory conditions have been corrected.  

b) Planting of Grass

All areas to be grassed shall be cleared of all rubbish including; soil lumps, stones, debris, rubble, sticks, roots and any deleterious material, and dug up to a depth of 150 mm. The said areas shall also be free of weeds and brought up to a fine tilth before grass seedlings or cuttings are planted.  Where outcrops of rock or murram occur, these will be covered with suitable soil to a depth of 150 mm before any grassing takes place.  

Grassing 

All grass seedlings or cuttings to be planted should be free from any weeds and foreign grass. Water the ground thoroughly and allow the soil to settle for three days before commencement of planting. Plant the seedlings and/or cuttings 100mm deep and 100mm apart as outlined in the Bills of Quantities.  

Maintenance of Grass 

The contractor shall, during the period of the Contract, water, weed and tend well the whole grassed area till grass is well established or until they are handed over at the end of the defects liability period.  Two to three weeks after planting of grass, and in the opinion of the Landscape Architect to have established, all areas planted with grass are to be rolled and cross rolled with a lightweight roller and again two weeks later. This operation must not take place when the ground is in a saturated condition.  
After the Landscape Architect has approved the grass has fully established and taken root it will be maintained at a maximum height of 50mm for the duration of the contract period.  Areas where grass fails to establish uniformly shall be replanted with grass cuttings at the Contractor’s expense and maintained until all the designated areas are covered with grass. The contractor shall properly water, mow, edge trim and otherwise maintain the grass until acceptance and handover of the contract areas.       

Watering of Grass  

Although the planting programmes for plants and grass to be coincident with rainy seasons, the contractor will be required to water all grassed areas daily or as necessary or as directed by the Landscape Architect.   Newly – planted grass must be watered daily and twice a week thereafter. This should be done before 9.30 am and/or from 4.00 pm during the hot seasons.  

c) Planting of Groundcovers, Shrubs & Trees 

Plant Inspection 
In addition to the normal progress inspections schedule, the contractor shall conduct the following formal inspections with the Landscape Architect: 

i. Inspection of all plants in container prior to planting. 

ii. Inspection of plant locations, to clarify compliance with the drawings. 

iii. Final inspection after completion of planting.  This inspection may be conducted within 24 hours after completion of planting. 

iv. Final inspection at the end of the maintenance period provided all previous deficiencies have been rectified

(i) Planting of Groundcovers 

Ground preparation 

Rake soils smooth and free from all soil lumps, stones, debris, rubble, sticks, roots and any deleterious material.  

Planting/Installation of groundcovers 

Space the ground cover evenly at 300mm center to center as indicated on the drawings. The contractor may however be required to adjust or vary planting distances as advised by the Landscape Architect.   Planting holes should generally be 300mm in diameter by 350 to 500mm in depth as indicated in the Bills of Quantities.  Ensure that the planting medium (soil/manure mixture) is moist but friable, never wet or soggy.  In case of planting in the open on hot days, shorten the time between planting and watering. 
(ii) Planting of Shrubs and Trees 

Excavation of Planting Pits 

Provide planting holes or pits of the following dimensions: 

i. Shrubs: For shrubs provide planting holes 600mm diameter by 600mm deep. 

ii. Trees: For trees and large shrubs provide holes 1,200mm by 1,200 by 1,500mm deep Minimum. 

 The Landscape Architect may instruct larger tree or shrub pits to be dug where site conditions require or depending on root container size of the shrub or tree to be installed. The pits are to be excavated and all debris, builders’ rubble and weeds removed.   
The contractor shall generally ensure that excavation work will not interfere with or damage the existing cables, pipes or other services above or below ground levels.  Any damage to the existing services caused by the contractor shall be rectified at his/her expense.  Set out dimensions should be followed wherever possible
(iii)  Planting/Installation of Shrubs & Trees 

Prior to installation of the tree/shrub, the Contractor shall loosen the base of the pits to a depth of 150mm to allow penetration of moisture.  He/she shall also provide strong bamboo stakes or any approved equal, adequate in thickness for each tree and generally between 30mm and 50mm diameter. The height of each stake should be no less than 600mm higher than the shrub/tree. These should be driven into the base of planting pits or holes before backfilling though can also be driven into the planting pit after backfilling/planting but the stakes should go into the ground at least 600mm deep. Care must however be exercised so as not to damage the tree while driving in the stake into the ground.  Fill to proper height with the specified red-soil and manure mixture in the ratios prescribed by the Landscape Architect and water well, and then allow the same to settle for 3 days before planting.  
(iv)  Setting of Shrubs and Trees 

Partially dig out some backfill mixture from each backfilled tree/shrub pit to allow for placement of the shrub/tree. The partially dug out pits should have a sufficient width and depth adequate to accept the shrub/tree root ball. Carefully remove the root ball from its container so as to cause minimum disturbance to the fibrous roots and set plant in upright position in the center of partially dug out pits, and then compact the backfill mixture around the root ball.
Ensure that the shrubs/trees are planted at the same depth at which they were previously growing. Accordingly, ensure that the stem base is slightly above ground level, in order to allow for any latent settlement. Further, the Contractor will be required to make any necessary adjustments to plants in order to correct any sinkage or effects due to weather conditions.  Thoroughly water each plant when the pit or hole is 2/3 full.  After watering, completely backfill each shrub or tree pit and tamp the soil in place until the surface of the backfill is level with the surrounding areas.
Clear up any excess topsoil/manure mixture for re-use elsewhere on the site.  Build up a temporary-watering basin or ‘’saucer’’ around the base of each tree and shrub to allow for optimal water flow towards roots. Place a layer of 50mm dried grass leaf cutting over the soil in the prepared ‘’saucers’’ and cover that whole area to reduce moisture loss during hot weather.  Securely tie the shrub or tree firmly to the bamboo stakes or any approved equal with strong band near the top of the stakes with Hessian wrapped around the tree stem. All trees/shrubs to have two number ties each fixed to approved methods and standards. The contractor must ensure that the stake does not chafe or scratch the tree stem, especially in windy conditions.  
(v) Watering of Installed Plants 

Planting programmes for all plants is generally to coincide with rainy seasons. Nevertheless, the contractor will be required to water all planting areas including backfilled tree pits and shrub beds as necessary or as directed by the Landscape Architect. This is critical especially during planting operations. During the hot seasons watering should be carried out before 9.30 am and / or from 4.00 pm
2606
Landscape Maintenance

a) Maintenance Period  

The contractor shall maintain all planting, starting with the planting operations and continuing through to the maintenance period after all planting is complete and approved by the Landscape Architect. The maintenance period shall be THREE (3) months from the date of practical completion.  
b) General Maintenance Practices 

Generally, the contractor shall keep planted or landscaped areas neat, attractive and free of weeds and diseases during the maintenance period.        

Grass   
The grass should be mown regularly during the growing season.  In dry season mow to 50 mm in heights and in the wet season mow to 25mm in height.   It shall also be weeded regularly to prevent it from being choked by weeds.  The edges of the lawn must be trimmed and kept tidy to prevent the grass from creeping into shrub beds. This shall be done with edging shears and not a panga.  The lawn should meet shrubs with no expanse of bare soil in between.

Groundcovers, Shrubs and Trees 

Maintenance work for these categories of plants shall entail but not limited to watering, weeding, and control of insects, fungus and other disease. This shall be done by the means of spraying with an approved insecticide and other fungicide in order to keep the plant materials in a healthy growing condition.  The contractor shall also provide all equipment and means for carrying out maintenance work including hose pipes for proper application of water to those areas not equipped with any watering systems. He/she shall further protect all planted areas against damage, including erosion and trespassing, by providing and maintaining proper safeguards.  

c) Special Maintenance Practices 

a)  Shrubs & Trees  

i. Pruning and Repairs  

Upon completion of planting work on the contract, shrubs/trees may be pruned and any injuries repaired, where necessary. The amount of pruning shall be limited to the minimum necessary to remove dead or injured twigs and branches and compensate for the loss of roots as a result of transplanting operations. Pruning shall be done in such a manner as not to change the natural habit or shape of the trees.   All cuts should be made flush leaving no stubs. On all cuts over 75 mm diameter and on bruises or scars on the bark, the injured cambium shall be smoothed and shall be so as living tissue and removed. Wounds shall be smoothed and shall be so as not to retain water and the treated area   shall be coated with Arbex or other approved tree wound paint

b) Grass  

i. Top Dressing  

This is to be done in April after the first rains and to be repeated in October after the start of the rains.  Apply a top dressing of 3-part fertile red topsoil and half-clean sand (well mixed together) to the lawn to a depth of half inch.    Rake top dressing over lawn and use it to fill any uneven patches.  If there is no rain, water heavily after the application. Repeat top dressing application in October after the start of the rains.  

ii. Application of Compound Fertilizer 

In June / July, apply a compound chemical fertilizer (20-10-10) and bone meal mixed together. This can be done by hand at a rate of 2 tablespoons per square meter.  

iii. Application of Ammonium Sulphate 

Every two to three months apply Ammonium Sulphate at a rate of 1 tablespoon per square meter and then water thoroughly after application.   NOTE: Heavy watering after application of fertilizer is essential to prevent “burning”.  

iv. Aeration 

Apply a layer of coarse sand 5mm deep in March to improve aeration.  Spike the lawns with a spiked roller to aerate the lawn, holes should be spaced 100mm apart throughout the whole lawn. Do not spike in very wet weather or very dry weather.  

v. Replacement of Dead Plants 

At the end of the maintenance period, all plant material shall be in a healthy growing condition.  In the event of any probability of drying, immediately replace the affected plant with a new and healthy one of the same type and size, without any additional cost to the Employer/Client.  

vi. Extension of Maintenance Period 

The Contractor will be expected to continue with the maintenance at no additional cost to the employer until all previously noted deficiencies have been rectified, at which time the final inspection will be carried out and landscaped areas handed over to the Client.

2700
SOLAR STREET LIGHTING
2701
General
This section gives specifications for lighting columns and brackets made from steel including lighting columns mounted on other structures, Solar panels, LED lighting, batteries, Controllers and other accessories.  The specification stipulates the minimum requirements for street lighting accessories, for use in the project and it shall be the responsibility of the supplier to ensure adequacy of the design, good engineering practice, adherence to the specification and applicable standards and regulations as well as ensuring good workmanship in the manufacture of the items. The Engineer could give additional instructions to supplement the specification. 
This specification is to be read in conjunction with the drawings which are issued with it. Bills of quantities shall be the basis of all additions and omissions during the progress of the works. This specification defines minimum requirements, but tenderers who offer superior facilities will be considered.
This specification covers the following items:

a) Battery

b) Solar panel

c) LED Light

d) Controllers

e) PV Bracket, Lamp Pole and Ancilliary Equipment
a) Battery

The battery shall be rated 12/24V and charge capacity as specified in the bills of quantities. The battery shall be of long-lasting maintenance free capable of a 10-year optimal operation.

Any tender which does not comply with the minimum requirements will be rejected. 
The battery shall meet the following minimum requirements.

	a) Battery technology:
	NIMH or Nickel Alloy, or equivalent

	b) Voltage:
	12/24V dc

	c) Operating temperature:
	from -40°C to +70°C

	d) Battery capacity:
	312/624/936/1248 Wh Based on Contractor’s sizing calculation to rationalize chosen/indicated battery capacity.

	e) Service life:
	>3650 cycles – i.e. service life of 10 years

	f) Warranty (manufacturer):
	5 years on the battery (Contractors to provide warranty document from manufacturer) and 10-year floating design life

	g) Battery box
	· The battery must be held in a box independently from the solar panel

· The battery box must be BS-IP 65 rated and made of high strength polypropylene with anti-UV treatment.

· The battery housing/box must be independently installed on the pole away from the solar panel and the luminaire/LED fixture and appropriately ventilated. 

· The battery technology and the energy management system should have a remote monitoring system for ease of remote system operational oversight.

	h) Battery position:
	Battery shall be installed on top of the pole as an anti-theft mechanism and offer safety.

	i) Weight
	low weight <15kgs

	j) anti-theft and anti-vandalism design 
	Battery charge and discharge unique control system have a mechanism to deter theft and vandalism


b) Solar Panel

The panel shall be capable of providing power output at maximum solar input (at midday). The minimum power output at the lowest level of sunlight (sunset or cloudy weather shall not be below the specified output.)
The panel shall be fixed securely on a platform. It shall be installed titled at the specified angle designed to maximum sunlight such that the entire sun rays are approximately directly perpendicular the panel throughout the day.
For the purpose of this specification the sizes of the panels shall be as below: -

a) 305-watt peak (Wp) panels 

b) 260-watt peak (Wp) panels 

c) 140-watt peak (Wp) panels 
Panels shall be tested under Standard Test Conditions (STC) at 1000W/M² at air mass of 1.5kg/m3 and cell temperature of 25ºC. The result shall be presented in a current/voltage curve or graph.
The nominal peak power for each module as measured in the test in watts peak (WP) shall not be below 16 – 18 Volt range.
Each module shall have at its output terminals Blocking diodes connected in series with a string to protect the module from reverse current flow from either the adjacent module or battery bank.
The panels shall be protected from lightning and surges. The surge protecting devices shall be Circuit Breakers installed at the final output of PV array. It shall protect the array from reverse surges from battery bank or inverters.
Bypass diodes may be placed around a module that is likely to have localized shading. It provides a current path around such a shaded module.
The panels shall be installed tilted to reduce dust accumulation and allow for self-cleaning. The panel should be tilted at a minimum 15º due south. Dust may cause power reduction of about 10% Tilts also allow for rain cleaning of the panels. However, the panels shall be cleaned immediately the works are completed and approved.
The solar panel shall meet the following minimum requirements.

	a) Technology:
	Monocrystalline silicon

	b) Nominal power:
	Min 305/260/140-watt peak (Wp) Based on attached system sizing Calculation supplied by Contractors to rationalize their chosen Wp

	c) Efficiency:
	Minimum 18%

	d) IP rating:
	IP67

	e) Service life:
	> 25 years

	f) Panel Warranty:
	5-year

	g) Production Warranty:
	Minimum 10-year manufacturer of 90% minimal rated power output with working life of more than 25 years.

	h) Solar panel frame:
	Anodized aluminum alloy frame

	i) Temperature tolerance:
	40 - 850C

	j) Marking:
	EC

	k) STC irradiance:
	1000w/m2, cell temperature 250 centigrade.

	l) Standards:
	IEC-61215 IEC-61730 I and II with a global 3rd party certification of the indicated standards.

	m) Clearance of Deposits at the bottom plane
	Clear of any obstruction at the bottom of inclination avoid accumulation of deposits  

	n) Bird anti-patch mechanism
	Include Bird anti-patch mechanism at the bottom of inclination i.e. bird electric shock, gauge


c) LED Light

The lamps shall be patented all in one design 20/40/60watts LED (Light emitting diode) street light. The LED light shall have the following features

•
Chips outstanding energy saving performance

•
Instant start and flicker free to reduce the eye strain

•
Very even light distribution and high uniformity, no glare to eyes

•
Good colour rendering, vivid colours under the light

•
5to10 year warranty

The LED light shall meet the following minimum requirements.
	a) LED chip brands:
	30/40/60watts LED.

	b) Nominal power:
	30/40/60watts LED

	c) Voltage:
	DC-12V/24V

	d) Lamp location:
	Independent from the solar panel, on a horizontal arm, at the top of the pole

	e) Light efficiency:
	>180 lumens / Watt

	f) CRI (Color rendering index):
	>75

	g) Color temperature:
	>4000K

	h) Operating temperature:
	-30°C/+70°C

	i) IP rating:
	IP 65

	j) Manufacturer on life span:
	>50 000 h

	k) Assembly of the lamp:
	on a powder-coated steel arm

	l) Heat management 
	Extruded aluminum heat sink and the heat sink must be in direct contact with the open air

	m) Luminaire Shape
	Anti-bird shape.

	n) Certification
	3rd party certification of the LED fixture specs


d) Controller

The controller should meet the following minimum requirements.

	a) Device:
	Management electronic card

	b) Material:
	Composite of reinforced epoxy resin FR4 or equal and approved

	c) Coating:
	Tropicalized, double-varnishing

	d) LED control:
	DC-DC drivers integrated to the electronic card

	e) Lighting program:
	Permanent according to the program to Engineer’s approval

	f) Manufacturer life span to exceed:
	3 years with a 6-year working life

	g) IP rating:
	IP 68 waterproofing with external temperatures sensors (working temperature -35 to +60)

	h) Operation indicator:
	Light signal/sensor on the electronic card automatically tracing solar panel max charging current

	i) Operation indicator:
	Light signal/sensor on the electronic card automatically tracing solar panel max charging current

	j) Load control
	Protection against overloads

Protection against overheating 

Optimized load control 

Automatic balance of the cells

Evaluation of the battery state of charge with high precision 

Management and control of the energy: 

Automatic switch on and off by twilight detection or programmable according to required light profile.

Anti-blackout system integrated to the battery on tropicalized circuit board

	k) Battery autonomy:
	guaranteed lighting 365 nights per year every night (7 No. days of autonomy)


e) PV Bracket, Lamp Pole And Ancillary Equipment

The equipment should meet the following minimum requirements.

a. Minimum Manufacturer warranty of 10 years with a working life 25 year.

b. Anti-rust Q235 steel pole hot dip galvanized surface treatment along with additional polyester powder coating minimum 3.0mm thickness.

c. Compliant with IEC 60598 public lighting safety requirements

d. Anti-toppling foundation pole with ability to resist wind speeds exceeding 100 km/hr.

e. High visibility anti-accident reflector painting on poles base.

f. Battery enclosure to be at the top of the pole.

g. A specialized security system individual to each installation preventing theft of components.

h. 8.0m high with single/double horizontal arm of at least 80 cm (as specified in the B.Q.)

i. *1.0 m advertisement provision as indicated in the drawings

j. Cylindrical-conical pole 8 meters (inside & outside as per BSEN ISO 1461 steel pole with additional polyester coating. 6mm thick, top plate diameter of 85mm and root diameter of 247mm with a reflective paint at the bottom with single/double arm and tube 3mm thick,60mm diameter and 800mm long, in hot-dipped galvanized steel with anchor bolts.

k. Foundation kit, 1200mm deep with a radius of 450mm.casted with class 20 concrete reinforced with 100kg of steel work per cm3 of concrete. 

l. The pole shall be anchored with 4No. 20mm diameter J – bolt.

2702
Standard of Materials

The Contractor shall adhere to the material and equipment specifications described and named in this Specification. Should the Contractors install any material not specified herein before receiving approval from the proper authorities, the Engineer shall direct the Contractor to remove the material in question immediately. The fact that this material has been installed shall have no bearing or influence on the decision by the Engineer.

All materials condemned by the Engineer as not approved for use, are to be removed from the premises and suitable materials delivered and installed in their place at the expense of the Contractor. All materials required for the works shall be new and the best of the respective kind and shall be of a uniform pattern.
The Contractor shall carry out the manufacture of Plant, the production and manufacture of Materials, and all other execution of the Works:
a. in the manner (if any) specified in the specifications, 

b. in a proper workmanlike and careful manner, in accordance with recognized good practice, and 

c. with properly equipped facilities and non-hazardous materials, except as otherwise specified in the specification.

The Contractor shall submit the following samples of Materials, and relevant information, to the Engineer for consent prior to using the Materials in or for the Works: 

a. manufacturer's standard samples of Materials and samples specified in the bid documents, all at the Contractor's cost, and 

b. additional samples instructed by the Engineer as a Variation. Each sample shall be labelled as to origin and intended use in the Works. The Engineer's Personnel shall at all reasonable times:

c.  have full access to all parts of the Site and to all places from which natural Materials are being obtained, and 

d. during production, manufacture and construction (at the Site and elsewhere), be entitled to examine, inspect, measure and test the materials and workmanship, and to check the progress of manufacture of Plant and production and manufacture of Materials.

e.  The Contractor shall give the Engineer's Personnel full opportunity to carry out these activities, including providing access, facilities, permissions and safety equipment. No such activity shall relieve the Contractor from any obligation or responsibility.
2703
Workmanship
The workmanship and method of installation shall conform to the best standard practice. All work shall be performed by a skilled tradesman and to the satisfaction of the Engineer. Helpers shall have qualified supervision.

The Contractor shall give notice to the Engineer whenever any work is ready and before it is covered up, put out of sight, or packaged for storage or transport. The Engineer shall then either carry out the examination, inspection, measurement or testing without unreasonable delay, or promptly give notice to the Contractor that the Engineer does not require to do so. If the Contractors fail to give the notice, he shall, if and when required by the Engineer, uncover the work and thereafter reinstate and make good, all at the Contractor’s cost.

Any work that does not in the opinion of the Engineer conform to the best standard practice will be removed and reinstated at the contractor expense.

Permits, Certificates or Licenses must be held by all tradesmen for the type of work; in which they are involved where such permits, certificates or licenses exist under Government legislation.

2704
Shop Drawings

Before manufacture or fabrication is commenced the Contractor shall organize for a Factory Acceptance Test in addition to the  submission of two copies of detailed drawings of all Battery, Solar panel, LED light, Intelligent management and control system, PV bracket, Lamp pole and Ancillary equipment including their components showing all pertinent information including sizes, capacities, construction details, etc., as may be required to determine the suitability of the equipment for the approval of the Engineer. Approval of the detailed drawings shall not relieve the contractor of the full responsibility of errors or the necessity of checking the drawings himself or of furnishing the materials and equipment and performing the work required by the plans and specifications.

2705
Record Drawings

These diagrams and drawings shall show the completed installation including sizes, and arrangements of the installation. The drawings shall be to scale not less than 1:50 and shall include plan views and section.

The drawings shall include all the details which may be useful in the operation, maintenance or subsequent modifications or extensions to the installation.
Three sets of diagrams and drawings shall be provided, all to the approval of the Engineer. One coloured set of line diagrams relating to operating and maintenance instructions shall be framed and, mounted in a suitable location.
Solar PV design drawings, manuals and software must be provided.
2706
Regulations and Standards

All work executed by the Contractor shall comply with the current edition of the “Regulations” for roads and public lighting, issued by the British and European standards (EN40 and EN 13201), and with the Regulations of the Local Electricity Authority or equal and approved codes, or the competent Authority. 
Where the two sets of regulations appear to conflict, they shall be clarified with the Engineer. All materials used shall comply with relevant Kenya Bureau of Standards Specification.
2707
Setting Out Work

The Contractor’s at his own expenses; is to set out works and take all measurements and dimensions required for the erection of his materials on site; making any modifications in details as may be found necessary during the progress of the works, submitting any such modifications or alterations in detail to the Engineer before proceeding and must allow in his bid for all such modifications and for the provision of any such sketches or drawings related thereto.
2708
Positions of Solar Street Lighting

The position of all solar street lighting columns shall be as indicated in the Engineers drawings and as agreed with the Engineer. These positions shall be clearly marked on site to prevent obliteration before any work is carried out.
2709
Identification of Solar Street Lighting

The Contractor shall supply and install identification labels to all plant and to all switches and items of control equipment with, where no excessive heating is involved, white Traffolyte or equal labels engraved in block lettering denoting the name/function and/or section controlled. Where heating is likely to distort Traffolyte, approved alluminium labels with stamped or engraved lettering shall be used.

The labels shall be mounted on equipment and in most suitable positions. They shall be in English or in internationally understood symbols capable of being read without difficulty. The labels shall conform to descriptions used on record drawing. Details of the lettering of the labels and the method of mounts or supporting shall be forwarded to the Engineer for approval prior to manufacture
2710
Tests

a) General 

Installation tests shall be carried out throughout the works, whenever it is necessary, and at the end of the works. Tests shall be consistent with the specifications of the bid document and the standards in force.
The Contractor shall supply, without any additional payment, all equipment, analytical instruments, and labour necessary for conducting these tests. Analytical instruments shall be sealed and supplied with recent calibration certificates provided by an official laboratory. All tests shall be carried out on the responsibility of the Contractor.
In the event of a failure of the tests, tests shall be repeated after the Contractor has carried out the necessary repairs or replacements.
The results of the tests shall be set out in a report signed by the Engineer or his representative and by the Contractor.
b) Types of Tests

Tests shall comprise, but shall not be limited to, the following:

(i) Visual Inspection

· Checking the state of the equipment and the quality of work;

· Checking levels and alignments;

· Verifying the effective characteristics of the equipment. 

· Measurement of the Insulation and Circuitry Continuity

This test shall be conducted on the various circuits after receivers have been removed.

(ii) Operation Tests

All electrical equipment shall be tested when operating in order to verify conformity with the specifications of the tender document and the installation regulations.

(iii) Performance Tests

These tests shall be conducted in order to verify the features of the installations and conformity with the standards in force.

The Contractor shall conduct any other test deemed necessary by the Engineer in order to verify the condition and the functioning of the installations.

2711
Rejection

If, as a result of an examination, inspection, measurement or testing, any Plant, Materials or workmanship is found to be defective or otherwise not in accordance with the bid documents, the Engineer may reject the Plant, Materials or workmanship by giving notice to the Contractor, with reasons. The Contractor shall then promptly make good the defect and ensure that the rejected item complies with the bid documents. 
If the Engineer requires this Plant, Materials or workmanship to be retested, the tests shall be repeated under the same terms and conditions. If the rejection and retesting cause the Employer to incur additional costs, the Contractor pay these costs to the Employer in accordance to the with the bid documents. 

2712
Remedial Work

Notwithstanding any previous test or certification, the Engineer may instruct the Contractor to: remove from the Site and replace any Plant or Materials which is not in accordance with the bid documents, remove and re-execute any other work which is not in accordance with the Contractor, and execute any work which is urgently required for the safety of the Works, whether because of an accident, unforeseeable event or otherwise. 
The Contractor shall comply with the instruction within a reasonable time, which shall be the time (if any) specified in the instruction, or immediately if urgency is specified this bid documents. 
If the Contractor fails to comply with the instruction, the Employer shall be entitled to employ and pay other persons to carry out the work. Except to the extent that the Contractor would have been entitled to payment for the work, the Contractor shall pay to the Employer all costs arising from this failure in accordance to the with the bid documents.

2713
Ownership of Plant and Materials 

Except otherwise specified in the bid documents, each item of Plant and Materials shall, to the extent consistent with the Laws of the Country, become the property of the Employer at whichever is the earlier of the following times, free from liens and other encumbrances: 

(a) when it is incorporated in the Works; 

(b) when the Contractor is paid the corresponding value of the Plant and Materials 
2714
Royalties 

Unless otherwise stated in the Specification, the Contractor shall pay all royalties, rents and other payments for: 

a. Natural Materials obtained from outside the Site, and 

b. The disposal of material from demolitions and excavations and of other surplus material (whether natural or manmade), except to the extent that disposal areas within the Site are specified in the bid documents.

SECTION 13: BILLS OF QUANTITIES 
 BILLS OF QUANTITIES
PREAMBLE TO BILL OF QUANTITIES

1) The Bills of Quantities forms part of the Contract Documents and are to be read in conjunction with the Instructions to Bidders, Conditions of Contract Parts I and II, Specifications and Drawings. 
2) The brief description of the items in the Bills of Quantities is purely for the purpose of identification, and in no way modifies or supersedes the detailed descriptions given in the conditions of Contract and Specifications for the full direction and description of work and materials. 
3) The Quantities set forth in the Bills of Quantities are estimated, representing substantially the work to be carried out, and are given to provide a common basis for bidding and comparing of Bids. There is no guarantee to the Contractor that he will be required to carry out all the quantities of work indicated under any one particular item or group of items in the Bill of Quantities. The basis of payment shall be the Contractor's rates and the quantities of work actually done in fulfilment of his obligation under the Contract.
4) The prices and rates inserted in the Bills of Quantities will be used for valuing the work executed, and the Engineer will only measure the whole of the works executed in accordance with this Contract. 
5) A price or rate shall be entered in ink against every item in the Bills of Quantities with the exception of items that already have Provisional sums affixed thereto. The bidders are reminded that no “nil” or “included” rates or “lump-sum” discounts will be accepted. The rates for various items should include discounts if any. Bidders who fail to comply will be disqualified. 
6) Provisional sums (including Dayworks) in the Bills of Quantities shall be expended in whole or in part at the discretion of the Engineer. 
The price and rates entered in the Bills of Quantities shall, except insofar as it is otherwise provided under the Contract, include all Constructional plant to be used, labour, insurance, supervision, compliance testing, materials, erection, maintenance of works, overheads and profits, taxes and duties together with all general risks, liabilities and obligations set out or implied in the Contract, transport, electricity and telephones, water, use and replenishment of all consumables, including those required under the contract by the Engineer and his staff. 
Errors in the pricing of the Bills of Quantities will be corrected in accordance with Clause (28) of instructions to bidders.

[image: image12.emf]Bill No  Description  Total Amount

1 General 

4 Site Clearance and Top Soil Stripping 

5 Earthworks

7 Excavation and Filling for Structures 

8 Culvert and Drainage Works 

9 Passage of Traffic 

12 Natural Material for Base and Subbase 

13 Graded Crushed Stone Base and Subbase 

15 Bituminous Surface Treatments and Surface Dressing 

16 Bituminous Mix Base and Wearing Courses 

20 Road Furniture 

22 Dayworks  

25 HIV AIDS Compaign 

A SUB-TOTAL(A) 

B ADD 16.0% VALUE ADDED TAX (C) 

NET BID PRICE CARRIED FORWARD TO FORM OF BID 

(A+B) 

SUMMARY OF BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

SUMMARY 


[image: image13.emf]ITEM DESCRIPTION

UNIT QUANTITY

RATE(KSHS)

AMOUNT (KShs)

1.01

Allow a PC sum of Kshs. 2,000,000,000 for 

the laboratory testing services for the  

Engineer's quality control in accordance with 

Specifications.

P.C. Sum 2,000,000.00

1.02

Extra over item 1.01 for Contractor's profit and 

overheads

%

1.03

Allow a PC sum of Kshs. 2,000,000,000 for 

removal and alteration of services inclusive of 

liason with the appropriate bodies in 

accordance with Specifications

P.C. Sum 2,000,000.00

1.04

Extra over item 1.03 for Contractor's profit and 

overheads

%

1.05

Allow a provision sum of Kshs 6,000,000 for 

attendance to employer's representative

P.C. Sum 6,000,000.00

1.06

Extra over Item 1.05 for Contractor's profit and 

overheads

%

1.07

Provide, erect and maintain project sign boards 

in accordance with Specifications

No.  2

1.08

Environental Issues

Allow for:-

a)

Provisional sum of Kshs 300,000 for 

environmental mitigation plan measures;



P.C. Sum 300,000.00

b)

Provisional Sum of Kshs 200,000.00 for safety 

awareness campaigns.

P.C. Sum 200,000.00

1.09

Extra over Items 1.08 (a), (b) and (c) for 

Contractor's profit and overheads

%

Bill total to Summary Page  

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 1 - General 


[image: image14.emf]ITEM DESCRIPTION

UNIT QUANTITY

RATE(KSHS)

AMOUNT (KShs)

4.01

Clear site including removal of hedges,bushes, trees 

(except those designated to remain by the engineer) and 

other vegetation and objectionable materials in 

accordance with the sppecifications

 ha. 0.50

4.02

Removal of topsoil not exceeding 200mm depth to spoil 

or stockpile for re-use as directed by the Engineer 

m

3

1,000

4.03

Dismantling of structures on the roadway including 

sorting out the dismantled material, disposal of 

unserviceable material and utilising the serviceable 

material free of cost in permanent works as directed by 

the Engineer with all leads and lifts etc complete, in 

accordance with cl. 403 of the specifications. (All 

quantities in bill item No. 4.03 are Provisional )

a) Brick masonry

m

3

10

b) Stone Masonry

m

3

10

c) Plain Concrete

m

3

10

d) Reinforced Concrete

m

3

5

e) Removal of Pavement

(i) Bituminous Pavement

m

3

150

(ii) Granular Pavement

m

3

150

f) Dismantling 

(i) Footpaths and Medians

m

2

150

(ii) Concrete pipe culverts (excavation of earth, 

dismantling of head walls, bedding , surround and 

disposal)

m 20

From 600 to 900 mm diameter m 20

Above 900 mm m 20

Extra over Item 4.03 for Contractor's profit and 

overheads

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 4 - Site Clearance and Top Soil Stripping 

Bill total to Summary Page 


[image: image15.emf]ITEM DESCRIPTION UNIT QUANTITY RATE (KSHS) AMOUNT (KShs)

NOTE: No overhaul will be paid for these 

items and shall be deemed to have been 

included in the Contractor's rates

5.01

Fill in soft material and compact to at least 

100% MDD (AASHTO T.99) 

m

3 

4,400

5.02

As Item 5.01 but in hard material including 

excavating from cutting, loading, 

transporting, depositing in areas fill is 

required, breaking down material, production 

of rock fragments, trimming, shaping and 

compacting in accordance with the 

specifications

m

3 

220

5.03 Cut to spoil in soft material 

m

3 

440

5.04 As Item 5.03 but in hard material 

m

3 

44

5.05

Compaction of existing ground below 

fills/cuts to at least 100% MDD (AASHTO 

T.99) including all necessary scarifying and 

water to a depth of 150mm below ground 

level. 

m

3 

750

5.06

Compaction of the 300mm below formation 

level in cutting to 100% MDD (AASHTO 

T99) 

m

3 

900

5.07

Extra over item 5.01 for compaction of top 

300mm to 100% MDD (AASHTO T99)

m

3 

440

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 5 - Earthworks 

Bill total to Summary Page 


[image: image16.emf]ITEM Description  UNIT QUANTITY RATE(KShs)  AMOUNT (KShs)

7.01 Excavate for structures in soft material 

m

3

100

7.02 As item 7.01 but  in hard material 

m

3

40

7.03 Excavate for river training in soft material 

m

3

50

7.04

Extra over Item 7.02 for excavation in hard 

material 

m

3

30

7.05

Provide selected granular material for backfill 

around structures. 

m

3

100

7.06 Provide and place porous filter material

m

3

30

7.07

Prepare ground as necessary, provide all 

materials and construct 225mm thick stone 

pitching to side slopes of channels, natural 

ground faces, inlets and outlets of culverts 

including carting away any excess material to 

spoil as directed by the Engineer 

m

2

160

7.08 Extra over Item 7.05 for grout 

m

2

200

7.09 Excavate for gabions in soft material 

m

3

300

7.1

Extra over for item 7.07 for excavation in hard 

material

m

3

55

7.11 Provide and place gabion mesh 

m

2

300

7.12  Provide and place rockfill to gabions 

m

3

300

7.13

Provide and place filter fabric under and/or 

behind gabions (250g/m2) 

m

2

200

7.14

Provide, place and compact rock fill below 

structures

m

3

50

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 7- Excavation and Fillling for structures

Bill total to Summary Page 


[image: image17.emf]ITEM DESCRIPTION

UNIT QUANTITY

RATE(KSHS)

AMOUNT (KShs)

NOTE: No separate payment shall be made 

for the haulage of surplus or unsuitable 

material and the cost of such haulage for 

disposal shall be included in the rates. 

8.01

Excavate in soft material for pipe culverts and 

drains in soft material including support of 

trench sides, dewatering and carting away surplus 

material to spoil. 

m

3

3,630

8.02

Excavate in soft material for minor drainage 

structures 

m

3

100

8.03

Excavate for inlet, outfall, mitre and catchwater 

drains in soft material

m

3

100

8.04 Excavate in soft material for channels 

m

3

50

8.05 Excavate for cut-off drains in soft material 

m

3

70

8.06

Extra over Items (8.01- 8.05) for excavation in 

hard material 

m

3

80

8.07

Provide, place and compact to 95% MDD 

AASHTO T.99 selected backfill material. 

m3 

100

8.08 Provide and lay ogee jointed concrete pipes 

a)600 mm dia. Single m

50

b)900 mm dia. Single m

20

8.09

Provide, place and compact concrete class 15/20 

to beds, surrounds and haunches to concrete 

pipes 

m

3

35

8.10

Provide, place and compact concrete class 20/20 

inclusive of reinforcements and reinforcements 

to headwalls, wingwalls, aprons and other minor 

drainage structures as shown on the drawings or 

as directed by the Engineer 

m

3

56

8.11 (a)

Provide for a lumpsum cost for 1050 x 1000mm  

concrete U-drain channel and cover slabs to be 

supplied by the Employer from the Kitui Youth 

Fund 

Lumpsum

19,440,000.00 19,440,000.00

8.11 (b)

Transport, lay, joint and bacfill ffor the item 8.11 

(a)

m

3,300

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 8- Culvert and Drainage Works

Bill total to Summary 


[image: image18.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

9.01

Construct 7m wide deviations 

with a 150mm thick gravel 

wearing course. 

km  2

9.02 Maintain the passage of traffic  Lump Sum 100,000 100,000.00

9.04

Provide all the necessary signs 

and barriers 

km  2

Bill total to Summary Page 

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 9- Passage of Traffic


[image: image19.emf]ITEMDESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

NOTE: No overhaul will be paid for these 

items and shall be deemed to have been 

included in the Contractor's rates

12

Provide, lay and compact natural grave 

material for base for buspark pavement (95% 

Modified AASHTO T180) 

m

3 

400

12

Provide, lay and compact natural gravel 

material as improved subgrade pavement 

(95% Modified AASHTO T180) 

m

3 

900

12 Sand filler for concrete paving blocks

m

3 

60

BILL 12- Natural Materials for Base and Subbase

Bill total to Summary Page 

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1


[image: image20.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

13.01

Provide spread, water and compact 

graded crushed stone for subbase. 

m

3 

450

13.02

Provide spread, water and compact 

graded crushed stone for base. 

m

3 

450

BILL 13- Graded Crushed Stone Base and Subbase

Bill total to Summary Page

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1


[image: image21.emf]ITEMDESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

15

Prepare surface of road base and 

shoulders, provide, heat and spray 

bituminous binder type MC70 (prime 

coat) at a rate of 0.8 - 1.2 l/m2. 

litre  4,320

15

Provide and spray bituminous binder tack 

coat type 60/70 penetration grade 

bitumen (CEN Specification 50/70)  at a 

rate of 0.3 - 0.8 l/m

2

.

litre 3,072

BILL 15- Bituminous Surface Treatment and Surface Dressing

Bill total to Summary Page 

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1


[image: image22.emf]ITEM DESCRIPTION

UNIT QUANTITY

RATE(KSHS)

AMOUNT (KShs)

16.01

Provide, mix, place and compact 

50mm  Asphalt Concrete Type 1 

(19mm grading), 5.3% nominal 

binder content, to surface of 

carriageways, shoulders, busbays 

and junctions.

m

3 

1,260

BILL 16- Bituminous Mix Base and Wearing Courses

Bill total to Summary Page 

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1


[image: image23.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

20.01 Warning signs - 750mm size  no.  2

20.02 Priority signs - 750mm size  no.  2

20.03 Prohibitory signs - 600mm size  no.  2

20.04 Standard informatory signs - 400mmx300mm size  no.  2

20.05 Road marking in yellow paint - line 100mm wide 

m

2 

341

20.06 Road marking in white paint - line 100mm wide 

m

2 

682

20.07

Provide and erect flex beam guardrails including end 

pieces complete with steel posts, spacers, nuts, bolts and 

fittings. 

m 100

20.08 (a)

Provide for a lumpsum cost for precast concrete channel 

blocks to footpaths, busbays,  etc, to be supplied by the 

Employer from the Kitui Youth Fund

m  Lumpsum 1,980,000.00 1,980,000.00

20.08 (b)

Transport, excavate for, lay, joint, concrete and haunch 

for the item 20.08 (a) above. 

m  6,600

20.09 (a)

Provide for a lumpsum cost for precast concrete raised 

straight kerbs to be supplied by the Employer from the 

Kitui Youth Fund

m  Lumpsum 2,970,000.00 2,970,000.00

20.09 (b)

Transport, excavate for, lay, joint, concrete and haunch 

for the item 20.09 (a) above. 

m  6,600

20.10

Provide materials and construct rumble strips on 

shoulders and carriageway

m  60

20.11

Provide all material and construct 300mm concrete 

service ducts

m  80

20.12

Provide all material and construct 150mm 100mm PVC 

ducts

m  50

20.13 Duct marker posts  No.  30

20.14 Provide materials and construct speed bumps  m  80

20.15 (a)

Provide for a lumpsum cost for Heavy Duty Precast 

concrete paving blocks  100 x 200mm to buspark areas to 

be supplied by the Employer from the Kitui Youth Fund  

Lumpsum 4,200,000.00 4,200,000.00

20.15 (b)Transport, lay for the item 20.15 (a) above m² 3,300

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 20- Road Furniture

Bill total to Summary Page 


[image: image24.emf]ITEM DESCRIPTION UNIT QUANTITYRATE(KSHS) AMOUNT (KShs)

EQUIPMENT: Rates inserted herein for 

equipment shall include for all operational and 

maintenance costs such as fuels, oils, water, 

grease, drivers, operators and turn boys etc. 

22.01

Crawler dozer with hydraulic attachments - 

100kw-135kw rated flywheel power

 hr.  1.5

22.02

As Item 22.01 but 136kw - 185kw rated 

flywheel power. 

hr.  1.5

22.03

As Item 22.01 but 186kw - 250kw rated 

flywheel power. 

hr. 1.5

22.04

Motor Grader - 80kw -110kw rated flywheel 

power 

hr.  1.5

22.05

As Item 22.04 but 111kw - 120kw rated 

flywheel power. 

hr.  1.5

22.06

As Item 22.04 but 121kw - 160kw rated 

flywheel power. 

 hr. 1.5

22.07

Rollers, towed vibratory including tractor - 

6.5t-8.8t unballasted weight 

hr.  1.5

22.08 As Item 22.07 but 8.9t - 11.7t unballasted weight.  hr. 1.5

22.09

Rollers deadweight (3-wheel include. Tractor) - 

6.5t-8.8t unballasted weight 

hr.  1.5

22.10

As Item 22.09 but 8.9t - 10.5t unballasted 

weight. 

 hr.  1.5

22.11

Pneumatic tyre rollers, self propelled - Up to 

1.0t per wheel 

hr. 1.5

22.12 As Item 22.11 but 1.1t - 2.0t per wheel.  hr. 1.5

22.13

Rollers, vibratory single drum, rubber tyred, 

self propelled - 8.3t-10.5t unballasted weight 

hr.  1.5

22.14

Rollers, vibratory pedestrian twin drums, self 

propelled - 651kg-1.3t unballasted weight 

 hr. 1.5

22.15

Towed grid roller of up to 10t unballasted dead 

weight. 

hr. 1.5

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 22- Daysworks

Subtotal to next page 


[image: image25.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

22.16

Vibratory sheep-foot roller, self propelled or 

towed and up to 10t unballasted weight. 

 hr.  1.5

22.17

Vibrating plate compactor, 114kg - 200 kg 

operating weight. 

 hr.  1.5

22.18 Motor scraper of up to 15 Cu.m capacity   hr.  1.5

22.19 As Item 22.18 but up to 25 Cu. m capacity  hr.  1.5

22.20

Compressors, rated by normal delivery of free 

air per minute at 7 kg/m2, complete with tools, 

hoses, steel etc. - 6.0-7.4m3/min 

 hr.  1.5

22.21 As Item 22.20 but 7.5 - 9.7 m3/min.   hr.  1.5

22.22 As Item 22.20 but 9.8 - 25 m3/min.  hr.  1.5

22.23

Wheel loaders, 4WD articulated - 1.5 -2.0 m3 

SAE rated capacity 

 hr.  1.5

22.24

As Item 22.23 but 2.01 - 3.4 m3 SAE rated 

capacity. 

 hr.  1.5

22.25

As Item 22.23 but 3.41 - 5.35 m3 SAE rated 

capacity 

 hr.  1.5

22.26

Crawler loader - 0.8 -1.3m3 SAE rated 

capacity 

 hr.  1.5

22.27

As Item 22.26 but 1.31 - 1.90 m3 SAE rated 

capacity. 

 hr.  1.5

22.28

As Item 22.26 but 1.91 - 2.50 m3 SAE rated 

capacity. 

 hr.  1.5

22.29

Cranes, mobile rubber tyred, rough terrain type 

of 23.0 - 40.0t max. working load. 

 hr.  1.5

22.30

Cranes; excavator cranes, tracked wheels - 20-

28t working load

 hr.  1.5

22.31 As Item 22.30 but 28.1t - 36.0t working load.   hr.  1.5

22.32

Excavators; hydraulic crawler or wheel 

mounted full circle slew - 14-17t nominal 

weight of the machine 

 hr.  1.5

Brought Forward From Previous Page

BILL 22- Daysworks

Subtotal to next page

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1


[image: image26.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

22.33

Excavators; hydraulic wheeled dual purpose 

(backhoe/loader) - 0.6-0.8m3 rated bucket 

capacity 

 hr.  1.5

22.34

As Item 22.33 but 0.81 - 1.0 m3 rated bucket 

capacity. 

 hr.  1.5

22.35

Tractors; rubber tyred including trailers - 50kw-

75kw rated flywheel power 

 hr.  1.5

22.36

Pumps (inclusive of all hoses) - 50-76mm 

delivery 

 hr.  1.5

22.37 As Item 22.36 but 77 mm to 101 mm delivery.   hr.  1.5

22.38 Concrete mixer - capacity up to 100 litres   hr.  1.5

22.39

As Item 22.38 but Capacity 101 litres to 200 

litres. 

 hr.  1.5

22.40 As Item 22.38 but 201 litres to 300 litres.   hr.  1.5

22.41

Small dumpers - 750 kg to 1.2 tones maker's 

rated payload. 

 hr.  1.5

22.42 Concrete vibrator, poker type.   hr.  1.5

22.43

lorries, ordinary - upto 7.5t gross vehicle 

weight 

 hr.  1.5

22.44

As Item 22.43 but Over 7.5t gross vehicle 

weight. 

 hr.  1.5

22.45

Lorries, tipper - Up to 11.0t gross vehicles 

weight. 

 hr.  1.5

22.46

As Item 22.45 but 11.1 t to 17.0t gross vehicle 

weight. 

 hr.  1.5

22.47

As Item 22.45 but 17.1t to 25.5 t gross vehicle 

weight. 

 hr.  1.5

22.48

Van, pickup or similar utility vehicle - Up to 

1.0t carrying capacity. 

 hr.  1.5

22.49

As Item 22.48 but 1.1t to 2.6t carrying 

capacity. 

 hr.  1.5

22.50

Water tanker, self propelled - 3500 litres to 

4550 litres capacity. 

 hr.  1.5

BILL 22- Daysworks

Subtotal to next page 

Brought Forward From Previous Page

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1


[image: image27.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

22.51

As Item 22.50 but 4551 litres to 7000  litres 

capacity. 

 hr.  2

22.52

As Item 22.50 but 7001 litres to 12000 litres 

capacity 

 hr.  2

22.53

Pressure bitumen distributor - 3500 litres to 

4500 litres capacity. 

 hr.  2

22.54

As Item 22.53 but 4500 litres to 8000 litres 

capacity. 

 hr.  2

22.55 Mechanical broom.    hr.  2

22.56 4WD saloon vehicle or station wagon.   hr.  2

22.57

Bitumen hand sprayer of 200 litres carrying 

capacity. 

 hr.  2

22.59 Hand compactor, whacker or equivalent.   hr.  2

22.60 Chip spreader.  hr.  2

22.61 Pulvimixer.   hr.  2

22.62

LABOUR: Rates inserted shall include all 

costs of labour such as insurance, 

accommodation, travelling time etc. 

22.63 Unskilled labour.   hr.  20

22.64

Mason/Artisan/Carpenter/Storeman/Pi 

pelayer/Concreter (i.e. Skilled Labour) 

 hr.  20

22.65 Blaster   hr.  20

22.66 Watchman.   hr.  20

MATERIALS: Rates inserted are to include 

for the delivery to the site, storage, 

handling etc. 

22.67 Ordinary Portland Cement.  t  1

22.68 Hydrated lime.  t  1

22.69 Aggregate for concrete - fine (sand)  m

3 

5

22.70

As Item 22.68 but coarse (nominal size 10-40 

mm) 

m

3 

5

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILL 22- Daysworks

Subtotal to next page 

Brought Forward From Previous Page


[image: image28.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

22.71 Timber shuttering - for Class F1 finish

 m

2 

2

22.72 As Item 22.70 but for Class F2 finish 

 m

2 

2

22.73

Mild Steel Reinforcement - Up to and 

including 16mm diameter. 

t  0.5

22.74 As Item 22.72 but over 16 mm diameter.  t  0.5

22.75

High Yield Steel Reinforcement - Up to and 

including 16 mm diameter. 

 t  0.5

22.76 As Item 22.74 but over 16 mm diameter.  t  0.5

22.77 Chippings - Class 2, nominal size 14/20 mm 

m

3 

0.5

22.78

As Item 22.77 but Class 2, nominal size 3/6 

mm. 

m

3 

0.5

22.79

Bitumen and emulsions - bitumen penetration 

grade 80/100 

litre  50

22.80 As Item 22.79 but bitumen cut-back MC3000  litre  50

22.81 As Item 22.79 but bitumen cut-back MC70   litre 50

22.82 As Item 22.79 but bitumen cut-back MC30  litre 50

22.83 Gabion mesh 

 m

2 

10

22.84 Rockfill for gabions 

m

3 

5

BILL 22- Daysworks

Bill total to Summary Page 

BILLS OF QUANTITIES 

KAVETA - GINNERY (B7) ROAD - LOT 1

Brought Forward From Previous Page


[image: image29.emf]ITEM DESCRIPTION UNIT QUANTITY RATE(KSHS) AMOUNT (KShs)

25.01

Instituting an HIV/AIDS awareness 

campaign 

month  6

25.02

Instituting an HIV/AIDS prevention 

campaign 

month  6

25.03

Allow a provisional sum of 

HIV/AIDS training 

P.C. 

Sum 

100,000 100,000.00

25.04

Extra over item 25.01- 25.03 for 

Contractor's profit and overheads 

%

BILL 25-HIV AIDS Compaign

Bill total to Summary Page 

KAVETA - GINNERY (B7) ROAD - LOT 1

BILLS OF QUANTITIES 











Copies of the FIDIC Conditions of Contract can be obtained from:








FIDIC Secretariat


 P.O. Box 86 


1000 Lausanne 12


 Switzerland 


Facsimile: 41 21 653 5432 


Telephone: 41 21 653 5003












Issued by County Government of Kitui
2


